## P&G - Section 1
OR TAMBO DISTRICT MUNICIPALITY
MTHATHA CENTRAL CORRIDOR REGIONAL BULK WATER SUPPLY – PHASE 1
CONSTRUCTION OF BULK GRAVITY MAIN FROM LINDILE TO TSHEMESE - CONTRACT 2
MIS 535 774 B
SECTION 1: PRELIMINARY AND GENERAL
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | [5 empty] | R
1 | SANS 1200 A | PRELIMINARY AND GENERAL - CONTRACT 2
1.1 | 8.3 | Scheduled Fixed-Charge and Value-Related Items
1.1.1 | 8.3.1 | Contractual Requirements | Sum | 1
Provision for the site facilities:
1.1.2 | 8.3.2.1 | a) Facilities for the Engineer | Sum | 1
1.1.3 | 8.3.2.2 | b) Facilities for the Contractor | Sum | 1
1.1.4 | 8.3.3 | General reponsibilities and other fixed charge obligations. | Sum | 1
1.1.5 | 8.3.4 | Removal of site establishment on completion of the project | Sum | 1
1.1.6 |  | Compliance with the OHS Act regulations (Rate to include for risk assessment of Ependemic and other adjustments to ensure compliance for the assignment including maintenance of a register for workers contacts.) | Sum | 1
1.1.7 |  | Preparation of a OHS Plan | Sum | 1
Costs of medical certificate and Medical Surveillance including Screenings of Employees.
1.1.8 |  | a) Initial (baseline) medical examinations | No. | 25
1.1.9 |  | b) Exit examinations | No. | 25
Environmental Managemant
1.1.10 |  | a) Compliance with Environmental Management plan including waste management Bins | Sum | 1
1.1.11 |  | Provision of survey equipment for the use of the Engineer | No | 1
1.2 | 8.4 | SCHEDULED TIME-RELATED ITEMS
1.2.1 | 8.4.1 | Contractual requirements | Sum | 1
1.2.2 | 8.4.2 | Occupation and maintanance of the site facilities
1.2.3 | 8.4.2.1 | a) Facilities for the Engineer | Sum | 1
1.2.4 | 8.4.2.2 | b) Facilities for the Contractor | Sum | 1
1.2.5 |  | General responsibilities and other time related abligations . | Sum | 1
Carried Forward
Brought Forward
1.2.6 |  | Compliance with the OHS Act regulations (Rate to include risk assessment for Ependemic and other adjustments to ensure compliance for the assignment including maintenance of a register for workers contacts.) | Sum | 1
1.2.7 |  | Contractors supervision for the duration of the contract | Month | 10
1.2.8 |  | Full time Health and Safety Officer for the duration of the contract | Month | 10
1.3 |  | SUMS STATED PROVISIONALLY BY THE ENGINEER
1.3.1 |  | Employment of CLO for the duration of the Contract (R8500 pm plus R500 pm cellphone allowance) | Prov. Sum | 1 | 90000 | 90000
1.3.2 |  | Contractors markup on item 1.3.1 | % | 90000
1.3.5 |  | Allow for 3x Civil Engineering trainee | Prov. Sum | 1 | 285000 | 285000
1.3.6 |  | Contractors markup on item 1.3.5 | % | 285000
1.3.7 |  | Allow for accommodation for site personnel for the full duration of the contract | Prov. Sum | 1 | 100000 | 100000
1.3.8 |  | Contractors markup on item 1.3.7 | % | 100000
1.3.9 |  | Provision of Laptop computers and printer for the use of the RE and ARE for the full duration of the contract | Prov. Sum | 1 | 20500 | 20500
1.3.10 |  | Contractors markup on item 1.3.9 | % | 20500
1.3.11 |  | Allow for Data and Airtime to the Engineers site personnel for the duration of the Contract | Prov. Sum | 1 | 20000 | 20000
1.3.12 |  | Contractors markup on item 1.3.11 | % | 20000
1.3.13 |  | Provision of Engineering Survey as instructed by the Engineer | Prov. Sum | 1 | 30000 | 30000
1.3.14 |  | Contractors markup on item 1.3.13 | % | 30000
1.3.15 |  | Allow for the provision of the Engineer's Bakkie for the duration of the Contract. The amount allowed for is inclusive of fuel | Prov. Sum | 1 | 200000 | 200000
1.3.16 |  | Contractors markup on item 1.3.15 | % | 200000
Carried Forward
Brought Forward
1.3.17 |  | Payment of PSC members for attendance of meetings for the duration of the contract (10 No members at R500 per member per meeting) | Prov. Sum | 1 | 50000 | 50000
1.3.18 |  | Contractors markup on item 1.3.17 | % | 50000
1.3.19 |  | Amount provisionally allowed for the procurement and management of SMME contractors | Prov. Sum | 1 | 100000 | 100000
1.3.20 |  | Management fee on item 1.3.19 | % | 100000
1.3.21 |  | Additional allowance for full time site supervision (Assistant Resident Engineer) for the full duration of the contract | Prov. Sum | 1 | 1155060 | 1155060
1.3.22 |  | Contractors markup on item 1.3.21 | % | 1155060
1.3.23 |  | Additional Allowance for Occupational Health and Safety Agent Monitoring for the duration of the contract | Prov. Sum | 1 | 250000 | 250000
1.3.24 |  | Handling costs and profit in respect of 1.3.23 | % | 250000
1.3.25 |  | Additional Allowance for Institutional Social Development (ISD Agent) Services for the duration of the Contract | Prov. Sum | 1 | 250000 | 250000
1.3.26 |  | Handling costs and profit in respect of 1.3.25 | % | 250000
1.3.27 |  | Additional Allowance for Environmental Control Officer as instructed by Engineer | Prov. Sum | 1 | 250000 | 250000
1.3.28 |  | Handling costs and profit in respect of 1.3.27 | % | 250000
Temporary Works
1.3.29 |  | Maintain all roads where construction activities will take place | Prov. Sum | 1 | 50000 | 50000
1.4 | 8.7 | Dayworks
1.4.1 |  | Foreman | hr | 75
1.4.2 |  | Skilled | hr | 75
1.4.3 |  | Semi-skilled | hr | 75
.
1.4.4 |  | Unskilled | hr | 75
Total Carried Forward To Summary

## Site Clearance - Section 2
OR TAMBO DISTRICT MUNICIPALITY
MTHATHA CENTRAL CORRIDOR REGIONAL BULK WATER SUPPLY – PHASE 1
CONSTRUCTION OF BULK GRAVITY MAIN FROM LINDILE TO TSHEMESE - CONTRACT 2
MIS 535 774 B
SECTION 2 : SITE CLEARANCE
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | [5 empty] | R
2 | SANS 1200 C | SITE CLEARANCE - CONTRACT 2
2.1 |  | CLEAR SITE
2.1.1 | 8.2.1 | Clear and grub vegetation in strip 2m wide on pipe route. Rate to include for trees of girth up to and including 1m. | m | 8207
2.1.2 | 8.2.2 | Where instructed remove and grub large trees and tree stumps of girth:
2.1.2.1 | 8.2.2(a) | over 1m and up to 2m. | No. | 10
2.1.3 | 8.2.10 | Remove topsoil in 600mm wide strip to depth of 150mm, stockpile, maintain and reinstate. | m3 | 861.735
2.1.4 |  | Remove existing gravel layer works to stockpile and maintain (for use as selected layers) as instructed by the Engineer.
2.1.4.1 |  | Gravel layer works to District Roads. | m³ | 50
2.1.4.2 |  | Fill material | m³ | 25
2.1.4.3 |  | Relocation of existing fences | km | 0.667
2.1.4.4 |  | Working adjacent to existing services (stormwater pipes, stormwater v-drains, water pipes and electrica and telecommunication services) | m | 410.35
2.1.4.5 |  | Working parallel to existing services (stormwater pipes, stormwater v-drains, water pipes and electrica and telecommunication services) | No | 33
Total Carried Forward To Summary

## Pipe trenches - Section 3
OR TAMBO DISTRICT MUNICIPALITY
MTHATHA CENTRAL CORRIDOR REGIONAL BULK WATER SUPPLY – PHASE 1
CONSTRUCTION OF BULK GRAVITY MAIN FROM LINDILE TO TSHEMESE - CONTRACT 2
MIS 535 774 B
SECTION 3 : PIPE TRENCHES
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | [5 empty] | R
3 | SANS 1200 D & 200 DB | PIPE TRENCHES - CONTRACT 2
3.1 | 8.3.2 | Excavation
3.1.1 | 8.3.2(a) | Excavate in all materials for trenches backfill, compact, and dispose of surplus/unsuitable material, for pipes:
3.1.1.1 |  | Up to and including 350mm ND for total trench depth:
3.1.1.1.1 |  | Exceeding 0,0m but not exceeding 1.5m | m³ | 17234.7
3.1.1.1.2 |  | Exceeding 1.5m but not exceeding 3.5m | m³ | 4308.675
3.1.1.1.3 |  | Extra over item for 3.1.1.1.1 for hard rock (Prov) | m³ | 5170.41
3.1.1.1.4 |  | Extra over item for 3.1.1.1.1 for bolder excavation (Prov) | m³ | 1723.47
3.1.1.1.5 |  | Extra over item for 3.1.1.1.1 for blasting to remove rock | Prov, Sum | 1 | 50000 | 50000
3.2 |  | Slope Protection (Provisional)
3.2.1 |  | Earth diversion berms as instructed by the Engineer | No. | 164.14
Total Carried Forward to Summary

## Gabions & Pitching - Section 4
OR TAMBO DISTRICT MUNICIPALITY
MTHATHA CENTRAL CORRIDOR REGIONAL BULK WATER SUPPLY – PHASE 1
CONSTRUCTION OF BULK GRAVITY MAIN FROM LINDILE TO TSHEMESE - CONTRACT 2
MIS 535 774 B
SECTION 4: GABIONS AND PITCHING
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | [5 empty] | R
4 | SANS 1200 DK | GABIONS AND PITCHING - CONTRACT 2
4.1 | 8.2 | Excavate materials for gabions | m³ | 333
4.2 | 8.2.1 | Surface preparation for bedding of gabions.
4.2.1 | 8.2.1 | Cavities filled with approved excavated material or rock (Provisional Quantity) | m² | 200
4.2.2 | 8.2.1 | Cavities filled with 15MPa concrete | m² | 27
4.3 | 8.2.2 | Construct gabions using double twisted hexagonal mesh type 80 with 3.4mm OD frame wire and 2.7mm OD mesh wire to SANS 1480:2005:
4.3.1 |  | Supply and install the following rock filled gabion baskets complete :
4.3.1.1 |  | 2 x 1 x 1m with 80 x 100mm galv. mesh | m³ | 33
4.3.1.2 |  | 3 x 2 x 1m with 80 x 100mm galv. mesh (Reno Mattress) | m³ | 27
4.4 | 8.2.4 | Geotextile (Type AG 200) placed where ground water seepage occurs:
4.4.1 | 8.2.4 | Below gabion mattresses | m² | 100
Total Carried Forward To Summary

## Bedding - Section 5
OR TAMBO DISTRICT MUNICIPALITY
MTHATHA CENTRAL CORRIDOR REGIONAL BULK WATER SUPPLY – PHASE 1
CONSTRUCTION OF BULK GRAVITY MAIN FROM LINDILE TO TSHEMESE - CONTRACT 2
MIS 535 774 B
SECTION 5 : BEDDING
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | [5 empty] | R
5 | SANS 1200 LB | BEDDING - CONTRACT 2
5.1 | 8.2.1 | Provision of Bedding from Trench Excavation
5.1.1 | 8.2.1 (a) | Selected granular material | m³ | 13787.76
5.1.2 | 8.2.1 (b) | Selected fill material | m³ | 9191.84
5.2 | 8.2.2 | Supply only of Bedding by Importation
5.2.1 | 8.2.2.1 | From other necessary excavations
(Provisional)
5.2.1.1 | 8.2.2.1 (a) | Selected granular material | m³ | 4136.328
5.2.1.2 | 8.2.2.1 (b) | Selected fill material | m³ | 2757.552
5.2.2 | 8.2.2.3 | From Commercial sources
5.2.2.1 | 8.2.2.3 (a) | Selected granular material | m³ | 1378.776
5.2.2.2 | 8.2.2.3 (b) | Selected fill material | m³ | 919.184
5.3 | 8.2.3 | Concrete Bedding Cradle (Provisional)
5.3.1 |  | 15/19 Grade concrete | m³ | 3
5.4 | 8.2.4 | Encasing of Pipes in Concrete (Provisional)
5.4.1 |  | Encasement of Pipe in 25/19 Grade concrete including all formwork and reinforcement (100kg steel per m3 conctrete) for water crossings. Refer to standard detail | m³ | 22
5.5 | 8.2.4 | Thrust Blocks
5.5.1 |  | Construct thrust blocks in 25/19 Grade concrete including all preparation work and formwork required. Refer to standard detail | m³ | 37
5.6 |  | Suspension River Crossing
5.6.1 |  | Construct the suspended river crossing supported with reinfored concrete pillars in 25/19 Grade concrete including all preparation work and formwork required. Refer to standard detail | Sum | 1
Total Carried Forward To Summary

## Medium Pressure - Section 6
OR TAMBO DISTRICT MUNICIPALITY
MTHATHA CENTRAL CORRIDOR REGIONAL BULK WATER SUPPLY – PHASE 1
CONSTRUCTION OF BULK GRAVITY MAIN FROM LINDILE TO TSHEMESE - CONTRACT 2
MIS 535 774 B
SECTION 6 : MEDIUM PRESSURE PIPELINES
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | [5 empty] | R
6 | SANS 1200 L | MEDIUM PRESSURE PIPELINES - CONTRACT 2
6.1 | 8.2.1 | Supply, bed, lay, disinfect, join and test potable water pipelines. All works inclusive in the rate, except where specific items are provided. All activites in accordance with project specifications.:
uPVC Pipes
6.1.1 |  | 90 mm dia. CL 12 | m | 1 |  | Rate Only
6.1.2 |  | 90 mm dia. CL 16 | m | 1060
6.1.3 |  | 110 mm dia. CL 9 | m | 1 |  | Rate Only
6.1.4 |  | 110 mm dia. CL 12 | m | 1 |  | Rate Only
6.1.5 |  | 160 mm dia. CL 9 | m | 1 |  | Rate Only
6.1.6 |  | 160 mm dia. CL 16 | m | 1555
6.1.7 |  | 200 mm dia. CL 9 | m | 1 |  | Rate Only
6.1.8 |  | 200 mm dia. CL 16 | m | 1 |  | Rate Only
6.1.9 |  | 250 mm dia. CL 9 | m | 1 |  | Rate Only
6.1.10 |  | 250 mm dia. CL 16 | m | 5592
6.1.11 |  | 315 mm dia. CL 9 | m | 1 |  | Rate Only
6.1.12 |  | 315 mm dia. CL 16 | m | 1 |  | Rate Only
6.2 | 8.2.16 | Pipeline Markers as per standard detail | No. | 82.16
6.3 |  | Provision for relocation and fixing of Damaged pipeline during construction period. | Prov. Sum | 1 | 266495.62 | 266495.62
Total Carried Forward to Summary

## Pipe Fittings - Section 7
OR TAMBO DISTRICT MUNICIPALITY
MTHATHA CENTRAL CORRIDOR REGIONAL BULK WATER SUPPLY – PHASE 1
CONSTRUCTION OF BULK GRAVITY MAIN FROM LINDILE TO TSHEMESE - CONTRACT 2
MIS 535 774 B
SECTION 7 : PIPE SPECIALS AND FITTINGS
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | [5 empty] | R
7 | SANS 1200 L | PIPE FITTINGS AND SPECIALS - CONTRACT 2
Extra-over 8.2.1 for the Supplying, Laying and Bedding of Specials complete with Couplings as follows:-
Supply, lay, joint and bed including cutting pipes where required for the following:
7.1 |  | uPVC Pipe Bends (CL 25)
7.1.1 |  | 90mm dia 11.25° bends. | No. | 1
7.1.2 |  | 90mm dia 22.5° bends. | No. | 1
7.1.3 |  | 90mm dia 45° bends. | No. | 1
7.1.4 |  | 90mm dia. 90° bends. | No. | 1
7.1.5 |  | 160mm dia 11.25° bends. | No. | 2
7.1.6 |  | 160mm dia 22.5° bends. | No. | 2
7.1.7 |  | 160mm dia 45° bends. | No. | 1
7.1.8 |  | 160mm dia. 90° bends. | No. | 1
7.1.9 |  | 200mm dia 11.25° bends. | No. | 0 |  | Rate Only
7.1.10 |  | 200mm dia 22.5° bends. | No. | 0 |  | Rate Only
7.1.11 |  | 200mm dia 45° bends. | No. | 0 |  | Rate Only
7.1.12 |  | 200mm dia. 90° bends. | No. | 0 |  | Rate Only
7.1.11 |  | 250mm dia 11.25° bends. | No. | 10
7.1.12 |  | 250mm dia 22.5° bends. | No. | 10
7.1.13 |  | 250mm dia 45° bends. | No. | 5
7.1.14 |  | 250mm dia. 90° bends. | No. | 5
7.1.15 |  | 315mm dia 11.25° bends. | No. | 1 |  | Rate Only
7.1.16 |  | 315mm dia 22.5° bends. | No. | 1 |  | Rate Only
7.1.17 |  | 315mm dia 45° bends. | No. | 1 |  | Rate Only
7.1.18 |  | 315mm dia. 90° bends. | No. | 1 |  | Rate Only
7.2 |  | PVC Reducers (CL 25)
7.2.1 |  | 110mm x 90mm | No. | 1
Carried Forward
Brought Forward
7.2.2 |  | 160mm x 110mm | No. | 1
7.2.3 |  | 250mm x 160mm | No. | 1
7.2.4 |  | 250mm x 200mm | No. | 1
7.2.5 |  | 250mm x 315mm | No. | 1 |  | Rate Only
7.2.6 |  | 400mm x 315mm | No. | 1 |  | Rate Only
7.3 |  | UPVC Equal Tees (CL 25)
7.3.1 |  | 90mm x 90mmx 90mm | No. | 1
7.3.2 |  | 110mm x 110mm x 110mm | No. | 1
7.3.3 |  | 160mm x 160mmx 160mm | No. | 1
7.3.4 |  | 250mm x 250mm x 250mm | No. | 1
7.3.3 |  | 315mm x 315mmx 315mm | No. | 1 |  | Rate Only
7.4 |  | UPVC UN-Equal Tees (CL 25)
7.4.1 |  | 110mm x 90mmx 110mm | No. | 1
7.4.2 |  | 160mm x 90mmx 160mm | No. | 1
7.4.3 |  | 160mm x 110mmx 160mm | No. | 1
7.4.4 |  | 250mm x 160mmx 250mm | No. | 1
7.4.4 |  | 315mm x 250mmx 315mm | No. | 1 |  | Rate Only
Total Carried Forward To Summary

## Valves & Chamber - Section 8
OR TAMBO DISTRICT MUNICIPALITY
MTHATHA CENTRAL CORRIDOR REGIONAL BULK WATER SUPPLY – PHASE 1
CONSTRUCTION OF BULK GRAVITY MAIN FROM LINDILE TO TSHEMESE - CONTRACT 2
MIS 535 774 B
SECTION 8 : VALVES
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | [5 empty] | R
8 | SANS 1200 L | VALVES - CONTRACT 2
8.1 | 8.2.3 | Extra-over 8.2.1 for the supplying, fixing and Bedding of Valves as indicated below:
Isolation Valves Complete (Class 25)
8.1.1 | 3.13.2 | Supply and install the following flanged Resilient seal Gate valves complete with prefabricated valve chamber, with non-rising spindle, Clockwise closing, including all gaskets, bolts, nuts and washers as per detailed drawings. All valve chambers will be installed by SMME contractors
8.1.1.1 |  | 90mm | No. | 3
8.1.1.2 |  | 160mm | No. | 4
8.1.1.3 |  | 200mm | No. | 1 |  | Rate Only
8.1.1.4 |  | 250mm | No. | 9
8.1.1.5 |  | 315mm | No. | 1 |  | Rate Only
Air Valves Complete (Class 25)
8.1.2 | PSL 3.13.2 | Supply and install Air Valve assemblies Complete with valve chamber as per detailed drawings. Rate is inclusive of valve chamber, scour pipework and headwall to scour pipe.
8.1.2.1 |  | 90mm | No. | 4
8.1.2.2 |  | 110mm | No. | 1 |  | Rate Only
8.1.2.3 |  | 160mm | No. | 3
8.1.2.4 |  | 200mm | No. | 1 |  | Rate Only
8.1.2.5 |  | 250mm | No. | 13
8.1.2.6 |  | 315mm | No. | 1 |  | Rate Only
Scour Valves Complete Class 25
8.1.3 | PSL 3.13.2 | Supply and install Scour Valve assemblies Complete with wedge gate valve and valve chamber as per detailed drawings. Rate is inclusive of valve chamber, scour pipework and headwall to scour pipe.
8.1.3.1 |  | 90mm | No. | 2
8.1.3.2 |  | 110mm | No. | 1 |  | Rate Only
8.1.3.3 |  | 160mm | No. | 2
8.1.3.4 |  | 200mm | No. | 1 |  | Rate Only
Carried Forward
Brought Forward
8.1.3.5 |  | 250mm | No. | 11
8.1.3.6 |  | 315mm | No. | 1 |  | Rate Only
Non Return Valves Complete Class 25
Supply and install No Return Valve assemblies Complete and valve chamber as per detailed drawings. Rate is inclusive of valve chamber with manhole cover and non return pipework.
8.2 |  | 200mm | No. | 1 |  | Rate Only
Bulk Water Meter Complete
8.3 |  | Supply and install 315mm Water meter assemblies Complete and valve chamber as per detailed drawings. Rate is inclusive of valve chamber with manhole cover and all pipework | No. | 1 |  | Rate Only
Total Carried Forward to Summary

## Summary Section
OR TAMBO DISTRICT MUNICIPALITY
MTHATHA CENTRAL CORRIDOR REGIONAL BULK WATER SUPPLY – PHASE 1
CONSTRUCTION OF BULK GRAVITY MAIN FROM LINDILE TO TSHEMESE - CONTRACT 2
MIS 535 774 B
SUMMARY OF SECTIONS
SECTION | DESCRIPTION | AMOUNT (RAND)
1 | PRELIMINARY AND GENERAL - CONTRACT 2
2
SITE CLEARANCE - CONTRACT 2
3
PIPE TRENCHES - CONTRACT 2
4
GABIONS AND PITCHING - CONTRACT 2
5
BEDDING - CONTRACT 2
6
MEDIUM PRESSURE PIPELINES - CONTRACT 2
7
PIPE FITTINGS AND SPECIALS - CONTRACT 2
8
VALVES - CONTRACT 2
9 | TOTAL OF SECTIONS (VAT EXCLUDED)
10 | ADD: CONTINGENCIES @ 10%
11 | SUB-TOTAL
12 | ADD: VAT @ 15%
13 | TOTAL PROJECT COST
Project Duration is 10 Months
Signature :
Name:
Capacity:
Company Name :
Date :