## Schedule 1 general
SCHEDULE 1 : GENERAL
Item | Description | Unit | Qty | Rate | Amount
1.1 | SUMS STATED PROVISIONALLY BY THE
ENGINEER
Provisional Sums
1.1.1 | For work to be executed (upon specific instruction
of the Engineer) by the Contractor and valued in
terms of the 'valuation of variations' clause in the
| conditions of contract (As and when scope is allocated) | sum | N/A | N/A | N/A
1.1.2 | For work to be executed by a Nominated Sub-
| Contractor | sum | N/A | N/A | N/A
1.1.3 | Overheads, charges and profit on item 1.1.2 | sum | N/A | N/A | N/A
1.1.4 | For work to be executed by a Nominated Emerg-
ing Sub-Contractor which is to be employed under
| this programme | sum | N/A | N/A | N/A
1.1.1 | Overheads, charges and profit on item 1.1.4 for
assisting, training, co-ordinating and supervision
of a Nominated Emerging Sub-Contractor which
| is to be employed under this programme | sum | N/A | N/A | N/A
1.1.6 | For work to be executed by a nominated Engineer | sum | N/A | N/A | N/A
1.1.7 | Overheads, charges and profit on item 1.1.6 | sum | N/A | N/A | N/A
1.1.8 | Payment to Eskom in respect of electrical connection fees- | sum | N/A | N/A | N/A
1.1.9 | Overheads, charges and profit on item 1.1.6 | sum | N/A | N/A | N/A
1.2 | PRIME COST ITEMS
1.2.1 | Prime cost of goods or materials to be supplied to
| the site of the Works upon specific instruction of | sum | N/A | N/A | N/A
| the Engineer | sum | N/A | N/A | N/A
1.2.2 | Overheads, charges and profit on item 1.2.1 | sum | N/A | N/A | N/A
1.2.3 | Specialist Contractors | sum | N/A | N/A | N/A
1.2.4 | Overheads, charges and profit on item 1.2.3 | sum | N/A | N/A | N/A
| TOTAL SCHEDULE 1 CARRIED FORWARD TO SUMMARY |  |  | R

## Schedule 2 small diameter water
SCHEDULE 2 : SMALL DIAMETER CLEARWATER SUPPLY PIPELINES
Item No. | Description | Unit | Qty | Rate | Amount
3. | SMALL DIAMETER CLEARWATER SUPPLY PIPELINES
3.1 | EARTHWORKS (Pipe trenches)
3.1.1 | SITE CLEARANCE
| (a) Clear vegetation and trees of girth up to 1 m | m2 | 1 | R | R
| (b) Clear trees of girth over 1 m | no | 1 | R | R
| (c) Remove topsoil (11 mm depth) | m2 | 1 | R | R
3.1.2 | EXCAVATION
3.1.2.1 | Excavation in all materials for trenches for 1 mm nominal diameter pipes and smaller. Rates include backfill, compact and disposal of surplus and unsuitable material.
| (a) Up to 1,1 m deep | m | 1 | R | R
| (b) Over 1,1 m up to 2,1 m deep (Provisional) | m | 1 | R | R
3.1.2.2 | Extra-over item for 3.1.2.1
| (a) Intermediate excavation (Prov.) | m3 | 1 | R | R
| (b) Hard rock excavation (Prov.) | m3 | 1 | R | R
3.1.2.3 | Excavate and disposal of unsuitable material from trench bottom (Prov.) | m3 | 1 | R | R
3.1.2.4 | Import backfill material from designated borrow pits (Prov.) | m3 | 1 | R | R
3.1.2.5 | Opening up and closing down of designated borrow pit | ha | 1 | R | R
3.1.2.6 | Compaction in road reserve | m3 | 1 | R | R
3.1.2.7 | Overhaul
| (a) Limited overhaul (0,1 to 1,0 km) (Prov.) | m3 | 1 | R | R
| (b) Long overhaul (Prov.) | m3/km | 1 | R | R
3.1.2.8 | Shore trench opposite structure or service | m | 1 | R | R
3.1.2.9 | Existing services that intersect or adjoin a pipe trench
| (a) Services that intersect a trench | no | 1 | R | R
| (b) Services that adjoin a trench | m | 1 | R | R
3.1.2.1 | Reinstate road surfaces complete with all courses
| (a) Gravel on shoulders | m2 | 1 | R | R
| (b) Asphalt of thickness 40 mm in parking area | m2 | 1 | R | R
| (c) Asphalt of thickness 40 mm in roadway | m2 | 1 | R | R
3.2 | BEDDING (pipes)
3.2.1 | Supply only of bedding by importation
3.2.2.1 | From other necessary excavations (Prov.)
| (a) Selected granular material | m3 | 1 | R | R
| (b) Selected fill material | m3 | 1 | R | R
3.2.2.2 | From borrow pits (Prov.)
| (a) Selected granular material | m3 | 1 | R | R
| (b) Selected fill material | m3 | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  | R
| BROUGHT FORWARD |  |  | R
3.2.2.3 | From commercial sources (Prov.)
| (a) Selected granular material | m3 | 1 | R | R
| (b) Selected fill material | m3 | 1 | R | R
3.2.3 | Concrete bedding cradle class 1/19 | m3 | 1 | R | R
3.2.4 | Encasing of pipes in concrete class 1/19 | m3 | 1 | R | R
3.2.1 | Overhaul of material for bedding cradle and selected fill blanket (Prov.) | m3/km | 1 | R | R
3.3 | MEDIUM PRESSURE PIPELINES
3.3.1 | uPVC Pressure Pipes
3.3.1.1 | Supply, lay, bed and test the following uPVC pressure pipes (conforming with SABS 946 Part 1 specifications) in 6m lengths, each pipe fitted at one end with socket for Mechanical jointing, in the following diameters:
| (a) 500 mm dia class 16 | m | 1 | R | R
| (b) 500 mm dia class 12 | m | 1 | R | R
| © 400 mm dia Class 16 | m | 1 | R | R
| (d) 400 mm dia Class 12 | m | 1 | R | R
| (e) 350 mm dia Class 16 | m | 1 | R | R
| (f) 350 mm dia Class 12 | m | 1 | R | R
| (g) 300 mm dia Class 16 | m | 1 | R | R
| (j) 300 mm dia Class 12 | m | 1 | R | R
| (k) 200 mm dia Class 12 | m | 1 | R | R
| (l) 200 mm dia Class 12 | m | 1 | R | R
| (m) 160 mm dia Class 16 | m | 1 | R | R
| (n) 160 mm dia Class 12 | m | 1 | R | R
| (o) 110 mm dia Class 12 | m | 1 | R | R
| (p) 110 mm dia Class 16 | m | 1 | R | R
| (q) 90 mm dia Class 12 | m | 1 | R | R
| (r) 90 mm dia Class 16 | m | 1 | R | R
| (s) 75 mm dia Class 16 | m | 1 | R | R
| (t) 75 mm dia Class 12 | m | 1 | R | R
| (u) 63 mm dia Class 16 | m | 1 | R | R
| (v) 63 mm dia Class 16 | m | 1 | R | R
| (w) 50 mm dia Class 12 | m | 1 | R | R
| (x) 50 mm dia Class 16 | m | 1 | R | R
| (y) 40 mm dia Class 16 | m | 1 | R | R
| (z) 40 mm dia Class 12 | m | 1 | R | R
| (aa) 32 mm dia Class 16 | m | 1 | R | R
| (ab) 32 mm dia Class 16 | m | 1 | R | R
| (ac) 25 mm dia Class 12 | m | 1 | R | R
| (ad) 25 mm dia Class 16 | m | 1 | R | R
3.3.1.2 | Extra-over item 3.3.1 for the supply, laying and bedding of specials complete with couplings. | no | 1 | R | R
Note: Fittings to be suitable for coupling directly (mechanically) onto pipes. Each fitting socketed for mechanical jointing. Fitting for PVC class 16; or cast iron or epoxy-painted steel.
| SUBTOTAL CARRIED FORWARD |  |  | R
| BROUGHT FORWARD |  |  | R
3.3.3 | HDPe PIPES
3.3.3.1 | Supply, lay, bed and test the following HDPe type IV pipes (conforming to SABS 133 - Part 2: 1982 amended 1994), in the following diameters and class.
| (c) 71 DN Class 1 | m | 1 | R | R
| (d) 63 DN Class 16 | m | 1 | R | R
| (e) 63 DN Class 12 | m | 1 | R | R
| (f) 63 DN Class 1 | m | 1 | R | R
| (g) 1 DN Class 16 | m | 1 | R | R
| (h) 1 DN Class 12 | m | 1 | R | R
| (i) 1 DN Class 1 | m | 1 | R | R
| (j) 40 DN Class 16 | m | 1 | R | R
| (k) 40 DN Class 12 | m | 1 | R | R
| (l) 40 DN Class 1 | m | 1 | R | R
| (m) 32 DN Class 16 | m | 1 | R | R
| (n) 32 DN Class 12 | m | 1 | R | R
| (o) 32 DN Class 1 | m | 1 | R | R
| (p) 21 DN Class 16 | m | 1 | R | R
| (q) 21 DN Class 12 | m | 1 | R | R
| (r) 21 DN Class 1 | m | 1 | R | R
| (s) 1 DN Class 16 | m | 1 | R | R
| (t) 1 DN Class 12 | m | 1 | R | R
| (u) 1 DN Class 1 | m | 1 | R | R
3.3.3.2 | Extra-over item 3.3.3.1 for supply, laying and bedding of compression fittings for use with HDPe Type IV pipes.
3.3.3.2.1 | Coupling | no | 1 | R | R
3.4 | VALVES - Supply
3.4.1 | Gate valves
Gate valves, waterworks pattern in compliance with SABS 664, flanged, drilled to SABS 1123 table 1600/3, with resilient, rubberised metal gate, cap top, plan thrust collar, non-rising spindle, clockwise closing.
| (a) 1 DN | no | 1 | R | R
| (b) 21 DN | no | 1 | R | R
| (c) 1 DN | no | 1 | R | R
| (d) 11 DN | no | 1 | R | R
| (e) 1 DN | no | 1 | R | R
| (f) 80 DN | no | 1 | R | R
| (g) 61 DN | no | 1 | R | R
| (h) 1 DN | no | 1 | R | R
3.4.2 | Single orifice air valve (21 DN) installation, complete with chamber, but excluding the in-line tee-piece | no | 1 | R | R
3.4.3 | Double purpose air valve (1 DN) installation, complete, with chamber but excluding the in-line-tee-piece | no | 1 | R | R
3.4.4 | Single standpipe installation, complete with in-situ constructed concrete trough but excluding the mainline saddle. | no | 1 | R | R
3.4.1 | Double standpipe installation, complete with in-situ constructed concrete trough, but excluding the mainline saddle | no | 1 | R | R
3.4.6 | Domestic draw-off with double outlet, complete with in-situ constructed concrete trough but excluding the mainline saddle. | no | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  | R
| BROUGHT FORWARD |  |  | R
3.1 | ANCHOR/THRUST BLOCKS AND PEDESTALS
3.1.1 | Concrete thrust block in the following sizes:
| (a) Concrete volume < 0,4 m3 | no | 1 | R | R
| (b) Concrete volume 0,4 to 0,19 m3 | no | 1 | R | R
| (c) Concrete volume 0,6 to 0,79 m3 | no | 1 | R | R
| (d) Concrete volume 0,8 to 0,99 m3 | no | 1 | R | R
| (e) Concrete volume 1,0 to 1,19 m3 | no | 1 | R | R
| (f) Concrete volume 1,2 to 1,39 m3 | no | 1 | R | R
| (g) Concrete volume 1,4 to 1,6 m3 | no | 1 | R | R
3.1.2 | Pipeline marker | no | 1 | R | R
3.6 | SPECIAL WRAPPING
Wrapping of buried steel pipelines and connections with petrolatum mastic and impregnated tape in an over-the-trench operation, for the following pipe diameters:
| (a) 1 DN | m | 1 | R | R
| (b) 21 DN | m | 1 | R | R
| (c) 1 DN | m | 1 | R | R
| (d) 11 DN | m | 1 | R | R
| (e) 1 DN | m | 1 | R | R
| (f) 80 DN | m | 1 | R | R
| (g) 61 DN | m | 1 | R | R
| (h) 1 DN | m | 1 | R | R
3.7 | MARK-UP RATES
3.7.1
3.7.2 | (a) Percentage mark-up on rates listed on term contracts. | % | 1 | %
| (b) Percentage mark-up on items approved by the client or his representative with attached invoices for material used. | % | 1 | %
3.8 | Tip trucks
| (a) 6 m3 | h | 1 | R | R
| (b) 1 m3 | h | 1 | R | R
3.9 | Flat bed trucks
| (a) 1t | km | 1 | R | R
| (b) 7t | km | 1 | R | R
3.1 | LDV
| (a) 2 x 4WD | km | 1 | R | R
| (b) 4 x 4WD | km | 1 | R | R
| TOTAL FOR SCHEDULE 2 CARRIED TO SUMMARY |  |  | R

## Schedule 3 roads to water works
SCHEDULE 3 : ROADS TO PURIFICATION WORKS
Item No | Description |  | Unit | Qty | Rate | Amount
7. | ROADS TO PURIFICATION WORKS AND THE SUPPLY OF ALL MATERIAL
Note: Haulage up to 0.1km is considered free-haul.
7.1 | SITE CLEARANCE
7.1.1 | Clear and Grub |  | ha | 1 | R | R
7.1.2 | Remove and grub large trees and stumps of girth:
| a) over 1m and up to and including 2m |  | no | 1 | R | R
| b) over 2m and up to and including 3m |  | no | 1 | R | R
7.1.3 | Reclear surfaces (only on instructions from the
| Engineer) |  | ha | 1 | R | R
7.1.4 | Take down existing fences
| a) Stockproof fence |  | km | 1 | R | R
| b) Security fence |  | km | 1 | R | R
7.1.1 | Transport materials and debris to unspecified sites
| and dump. |  | m³.km | 1 | R | R
7.1.6 | Remove topsoil to nominal depth of 11mm and
| stockpile. |  | m³ | 1 | R | R
7.2 | BULK EARTHWORKS
7.2.1 | Bulk Excavation
a) Excavate in all materials and use for
embankment or backfill compacted to 90%
modified AASHTO density or dispose, as
| ordered. |  | m³ | 1 | R | R
b) Extra-over item 7.2.1 for :
| i) Intermediate excavation |  | m³ | 1 | R | R
| ii) Hard rock excavation |  | m³ | 1 | R | R
| iii) Boulder excavation, Class A |  | m³ | 1 | R | R
| iv) Boulder excavation, Class B |  | m³ | 1 | R | R
7.2.2 | Importing of Materials
a)Extra-over for importation of materials from
| borrow pits. |  | m³ | 1 | R | R
b) Opening up and closing down of designated
| borrow pit (1ha) |  | sum | - | R | R
| c) Dealing with overburden |  | m³ | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  |  | R
| BROUGHT FORWARD |  |  |  |  | R
7.2.3 | Overhaul
| a) Limited overhaul |  | m³ | 1 | R | R
| b) Long overhaul |  | m³.km | 1 | R | R
7.2.4 | Shaping
Shape and compact to 90% modified AASHTO
density, existing 6m wide roads, complete with
| side drains. |  | km | 1 | R | R
7.2.1 | Mitre Drains
Construct mitre drains, each 1m long and 4m
| wide |  | no | 1 | R | R
7.3 | EARTHWORKS (Roads, Subgrade)
7.3.1 | Preparation of Site
a) Stripping and removal of topsoil to 11mm
| depth, stockpiling and maintaining |  | m³ | 1 | R | R
b) Strip and remove 11mm layer, haul and
| spread topsoil in borrow pits. |  | m³ | 1 | R | R
7.3.2 | Treatment of Roadbed
a)Road-bed preparation and compaction of
material to :
i) min of 90% MOD AASHTO density to a
| depth of 11mm |  | m³ | 1 | R | R
ii) min. of 93% MOD AASHTO density to a
| depth of 11mm |  | m³ | 1 | R | R
iii) min. of 91% MOD AASHTO density to a
| depth of 11mm |  | m³ | 1 | R | R
b) In-place treatment of road-bed in interme-
diate or hard rock material by :
| i) Ripping |  | m³ | 1 | R | R
| ii) Blasting |  | m³ | 1 | R | R
7.3.3 | Cut to Fill
a) Cut to fill and compact to 90% of MOD
| AASHTO density |  | m³ | 1 | R | R
b) Cut to fill and compact to 93% of MOD
| AASHTO density |  | m³ | 1 | R | R
7.3.4 | Borrow to Fill
a) Borrow to fill and compact to 90% of MOD
| AASHTO density. |  | m³ | 1 | R | R
b) Borrow to fill and compact to 93% of MOD
| AASHTO density |  | m³ | 1 | R | R
c) Borrow to fill and compact to 91% of MOD
| AASHTO density |  | m³ | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  |  | R
| BROUGHT FORWARD |  |  |  |  | R
7.3.1 | Selected Layer
a) Selected layer compacted to 93% of MOD
| AASHTO density |  | m³ | 1 | R | R
b) Selected gravel wearing course compacted
| to 91% of MOD AASHTO density. |  | m³ | 1 | R | R
7.3.6 | Excavating and Breaking Down Material
Extra over items 7.3.3, 7.3.4 and 7.3.1 for
excavating and breaking down material in :
| a) intermediate excavation |  | m³ | 1 | R | R
| b) Hard excavation |  | m³ | 1 | R | R
| b) Boulder excavation Class A |  | m³ | 1 | R | R
| d) Boulder excavation Class B |  | m³ | 1 | R | R
7.3.7 | Cut to Spoil or Stockpile From :
| a) Soft excavation |  | m³ | 1 | R | R
| b) Intermediate excavation |  | m³ | 1 | R | R
| c) Hard excavation |  | m³ | 1 | R | R
| d) Boulder excavation Class A |  | m³ | 1 | R | R
| e) Boulder excavation Class B |  | m³ | 1 | R | R
7.3.8 | Removal of Oversize Material |  | m³ | 1 | R | R
7.3.9 | Overbreak of Excavation in :
| a) Intermediate excavation |  | m³ | 1 | R | R
| b) Hard excavation |  | m³ | 1 | R | R
| c) Boulder excavation Class A |  | m³ | 1 | R | R
| d) Boulder excavation Class B |  | m³ | 1 | R | R
7.3.1 | Materials Bladed to Window |  | m³ | 1 | R | R
7.3.11 | Stockpile
Extra over items 7.3.1, 7.3.3, 7.3.4 or 7.3.1 for
| temporary stockpiling of material |  | m³ | 1 | R | R
7.3.12 | Overhaul
Extra over items 7.3.1, 7.3.3, 7.3.4, 7.3.1, 7.3.7,
7.3.8 or 7.3.11 for haulage beyond the 0.1km
| freehaul distance. |  | m³.km | 1 | R | R
7.3.13 | Surface Finishes
| a)Topsoiling |  | m² | 1 | R | R
7.3.14 | Mounds, Channels and Mitre Banks
Construct catchwater mounds, channels and
| mitre banks. |  | m³ | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  |  | R
| BROUGHT FORWARD |  |  |  |  | R
7.3.11 | Chemical stabilization extra over unstabilized
compacted layers :
| a) Gravel sub-base course (11mm thick) |  | m³ | 1 | R | R
| b) Gravel base course (11mm thick) |  | m³ | 1 | R | R
7.3.16 | Chemical Stabilizing Agent :
| a) Ordinary Portland Cement |  | t | 1 | R | R
| b) Portland blast furnace cement |  | t | 1 | R | R
7.3.17 | Provision and application of water for curing |  | kl | 1 | R | R
7.4 | DRAINS
7.4.1 | Excavation for Open Drains
a) Excavate in soft material in the depth range
| 0 m up to 1.1m below surface level |  | m³ | 1 | R | R
b) Extra-over sub-item 7.4.1a) for excavation in:
| i) Intermediate material |  | m³ | 1 | R | R
| ii) Hard rock |  | m³ | 1 | R | R
7.4.2 | Excavation for Subsoil Drainage Systems
a) Excavate in soft material within the following
depth ranges below surface level :
| i) 0m up to 1.1m |  | m³ | 1 | R | R
| ii) Exceeding 1.1m and up to 2.1m |  | m³ | 1 | R | R
| iii) Exceeding 2.1m and up to 3.1m |  | m³ | 1 | R | R
b) Extra-over sub-item 7.4.2 (a) for excavation in:
| i) Intermediate material |  | m³ | 1 | R | R
| ii) Hard rock |  | m³ | 1 | R | R
7.4.3 | Permeable material in subsoil drainage systems :
a) Coarse grade sand from approved natural
| sources |  | m³ | 1 | R | R
b) Course aggregate
| i) 19mm |  | m³ | 1 | R | R
| ii) 40mm |  | m³ | 1 | R | R
7.4.4 | Synthetic fibre filter fabric, needle punched
| (231 g / m²) |  | m² | 1 | R | R
7.1 | CONCRETE CULVERTS
7.1.1 | Earthworks
Restricted Excavation
a) Excavate for designated culverts in all
materials and use for fill material in depths
| 0 - 3m |  | m³ | 1 | R | R
b) Extra-over item 7.1.1 b) for excavation in :
| i) intermediate material |  | m³ | 1 | R | R
| ii) hard rock |  | m³ | 1 | R | R
|  | SUBTOTAL CARRIED FORWARD |  |  |  | R
| BROUGHT FORWARD |  |  |  |  | R
7.6 | STORMWATER DRAINAGE
7.6.1 | Supply and lay concrete pipe culverts on Class C
bedding
| a) 600 dia 1D |  | m | 1 | R | R
| b) 900 dia 1D |  | m | 1 | R | R
| c) 1 01 dia 1D |  | m | 1 | R | R
7.6.2 | Supply and lay portal culverts of dimensions
| 900 x 41 mm, ribbed arch, Class C |  | m | 1 | R | R
7.6.3 | Concrete floor to End-Structure
| i) Rough vertical plane |  | m² | 1 | R | R
| ii) High-tensile welded mesh ref 391 |  | m² | 1 | R | R
| iii) High-tensile steel bars |  | t | 1 | R | R
| iv) Strength concrete class 21/19 |  | m³ | 1 | R | R
7.6.4 | Brickwork in end-Structure
Brickwork type NFX in the following wall thicknesses:
| i) 21mm |  | m² | 1 | R | R
| ii) 341mm |  | m² | 1 | R | R
7.7 | MARK-UP RATES
7.7.1 | Percentage mark-up on rates listed on term contracts |  | % | 1 | %
7.7.2 | Percentage mark-up on items (with attached invoices)
approved by the Employer or his representative
for materials, (other than those set out in this list) used
| in execution of work ordered by the Employer |  | % | 1 | %
7.8 | Tip trucks
| (a) 6 m3 |  | h | 1 | R | R
| (b) 1 m3 |  | h | 1 | R | R
7.9 | Flat bed trucks
| (a) 1t |  | km | 1 | R | R
| (b) 7t |  | km | 1 | R | R
7.1 | LDV
| (a) 2 x 4WD |  | km | 1 | R | R
| (b) 4 x 4WD |  | km | 1 | R | R
| SUBTOTAL |  |  |  | R
| TOTAL SCHEDULE 3 CARRIED FORWARD TO SUMMARY |  |  |  | R

## Schedule 4 sewer works
SCHEDULE 4 : SEWER WORKS
Item No. | Description |  |  | Unit | Qty | Rate | Amount
8. | SEWERS AND THE SUPPLY OF ALL MATERIAL
8.1.1 | PIPELINE ROUTE CLEARANCE
8.1.1.1 | a) Clear vegetation and trees of girth up to 1m |  |  | m | 1 | R | R
| b)Clear trees of girth over 1m up to 2m |  |  | no | 1 | R | R
8.1.2 | EXCAVATION
8.1.2.1 | Excavation in all materials for trenches for 1 to
1mm DN sewer pipes, including for backfilling,
compaction and disposal of surplus or unsuitable
material, to the following depths :
| a)up to 1,0m |  |  | m | 1 | R | R
| b) over 1,0m up to 2,0m |  |  | m | 1 | R | R
| c) over 2,0m up to 3,0m |  |  | m | 1 | R | R
| d) over 3,0m up to 4,0m |  |  | m | 1 | R | R
8.1.2.2 | Extra-over item 8.1.2.1 for:
| a) Intermediate excavation |  |  | m3 | 1 | R | R
| b) Hard rock excavation |  |  | m3 | 1 | R | R
8.1.2.3 | Excavate unsuitable material from trench bottom and
| disposal thereof |  |  | m3 | 1 | R | R
8.1.2.4 | Imported backfill materials from designated borrow pits |  |  | m3 | 1 | R | R
8.1.2.1 | Opening and closing down of borrow pits of 1ha size |  |  | sum | -
8.1.2.6. | Compaction in road reserves |  |  | m3 | 1 | R | R
8.1.2.7 | Overhaul
| a) Short haul: over 0,1km up to 1,0km |  |  | m3 | 1 | R | R
| b) Truck haul: over 1km |  |  | m3.km | 1 | R | R
8.1.2.8 | Reinstate road surfaces
| Asphalt surfacing of 40mm thickness in road crossing |  |  | m2 | 1 | R | R
8.1.2.9 | Existing services that:
| i) intersect a trench |  |  | no | 1 | R | R
| ii) adjoin a trench |  |  | m | 1 | R | R
8.1.3 | PIPE BEDDING
8.1.3.1 | Provision of selected granular material for bedding
cradle class C, obtained from:
| a) trench excavation |  |  | m3 | 1 | R | R
| b) borrow pits |  |  | m3 | 1 | R | R
| SUBTOTAL CARRIED FORWARD | [5 empty] | R
| BROUGHT FORWARD | [5 empty] | R
8.1.3.2 | Provision of selected fill material for blanket obtained
from:
| a) trench excavation |  |  | m3 | 1 | R | R
| b) borrow pits |  |  | m3 | 1 | R | R
8.1.3.3 | Overhaul of imported material for bedding cradle and
| selected fill blanket |  |  | m3/.km | 1 | R | R
8.1.4 | PIPE LAYING
8.1.4.1 | Supply, lay, joint and test maincore multi-layer Heavy duty 300 Kpa sewer and drain pipes class 34 on Class C bedding 110mm |  |  | m | 1 | R | R
8.1.4.2 | Supply, lay, joint and test maincore multi-layer Heavy duty 300 Kpa sewer and drain pipes class 34 on Class C bedding 160mm |  |  | m | 1 | R | R
8.1.4.3 | Supply, lay, joint and test maincore multi-layer Heavy duty 200 Kpa sewer and drain pipes class 34 on Class C bedding 250mm |  |  | m | 1 | R | R
8.1.4.4 | Supply, lay, joint and test maincore multi-layer Heavy duty 300 Kpa sewer and drain pipes class 34 on Class C bedding 250 mm |  |  | m | 1 | R | R
8.1.4.5 | Supply, lay, joint and test maincore multi-layer Heavy duty 300 Kpa sewer and drain pipes class 34 on Class C bedding 315 mm |  |  | m | 1 | R | R
8.1.4.6 | Supply, lay, joint and test maincore multi-layer Heavy duty 300 Kpa sewer and drain pipes class 34 on Class C bedding 355 mm |  |  | m | 1 | R | R
8.1.4.7 | Supply, lay, joint and test maincore multi-layer Heavy duty 300 Kpa sewer and drain pipes class 34 on Class C bedding 400 mm |  |  | m | 1 | R | R
8.1.4.8 | Supply, lay, joint and test maincore multi-layer Heavy duty 300 Kpa sewer and drain pipes class 34 on Class C bedding 500mm |  |  | m | 1 | R | R
8.1.4.1 | Extra-over items 8.1.4.1 to 8.1.4.4 for:
Cutting and trimming pipes to form closure pieces at
manholes in accordance with manufacturer's specifica
tions:
| a) | 1mm dia |  | no | 1 | R | R
| b) | 11mm dia |  | no | 1 | R | R
| c) | 1 mm dia |  | no | 1 | R | R
| d) | 21 mm dia |  | no | 1 | R | R
8.1.1 | MANHOLES
8.1.1.1 | Construction of 1mm dia precast manholes including
concrete blinding layer, inlet and outlet pipes, junctions,
tapers, channel sections in floor slab and step irons.
(Manhole covers, spacer rings, benching & channel-
ling measured separately). For depths (measured
from top of cover slab to bottom of base) up to but
not exceeding:
| a) 1,1m |  |  | no | 1 | R | R
| b) 2,0m |  |  | no | 1 | R | R
| d) 2,1m |  |  | no | 1 | R | R
| d) 3,0m |  |  | no | 1 | R | R
| e) 3,1m |  |  | no | 1 | R | R
8.1.1.2 | Extra-over item 8.1.1.1 for benching and forming channel-
ling in floors of manholes (using standard channels
in concrete) including steel float finishing (per each
complete manhole)
| a) 1mm dia manholes |  |  | no | 1 | R | R
| SUBTOTAL CARRIED FORWARD | [5 empty] | R
| BROUGHT FORWARD | [5 empty] | R
8.1.1.3 | Supply and install precast concrete spacer rings |  |  | no | 1 | R | R
8.1.1.4 | Supply and installation of concrete reducer slab and
concrete encased cast iron manhole cover and frame,
including two final coats of bituminous paint on comple-
tion.
a) With manhole cover and frame to SABS 118-1973
| Type 4 |  |  | no | 1 | R | R
b) With manhole cover and frame to SABS 1294-
| 1973 Type 2A |  |  | no | 1 | R | R
8.1.1.1 | Supply and installation of precast concrete cover slab
with steel banded concrete lid according to SABS
| 1123-1981 |  |  | no | 1 | R | R
8.1.1.6 | Construction and testing of 1mm dia rodding eye
| all to depths not exceeding 2,0m |  |  | no | 1 | R | R
8.2 | OXIDATION PONDS
8.2.1 | SITE CLEARANCE
8.2.2.1 | Clear and strip new oxidation pond site |  |  | ha | 1 | R | R
8.2.2 | BULK EXCAVATION
8.2.2.1 | a)Excavate in all materials and
i) use in embankment fill compacted to 93%
|  |  | of MOD AASHTO density | m³ | 1 | R | R
| ii) spoil in designated area |  |  | m³ | 1 | R | R
b) Extra-over item 8.2.2.1(a) for:
| i) Intermediate excavation |  |  | m³ | 1 | R | R
| ii) Hard rock excavation |  |  | m³ | 1 | R | R
c) Preparation & compaction of in-situ material to
| 90% MOD AASHTO density |  |  | m³ | 1 | R | R
STRUCTURES AND OXIDATION PONDS
8.2.3 | RESTRICTED EXCAVATION
8.2.3.1 | a) Excavate for restricted foundations, footings and pipe trenches in all materials and use
| for backfill or spoil |  |  | m³ | 1 | R | R
b) Excavate in all materials for apron slabs on
| embankment slopes |  |  | m³ | 1 | R | R
8.2.3.2 | Extra excavation in all materials to provide working
| Space around structures |  |  | m³ | 1 | R | R
8.2.3.3 | OVERHAUL TO ITEMS 8.2.2 AND 8.2.3
| a) Short haul 1,0 - 2,0 km |  |  | m³ | 1 | R | R
| b) Long overhaul |  |  | m³.km | 1 | R | R
| SUBTOTAL CARRIED FORWARD | [5 empty] | R
| BROUGHT FORWARD | [5 empty] | R
8.2.4 | CONCRETE
8.2.4.1 | FORMWORK
(Mainly narrow widths from 1mm to 1mm)
8.2.4.1.1 | a)Smooth vertical formwork in inlet structure |  |  | m² | 1 | R | R
| b)Smooth vertical formwork in outlet structure |  |  | m² | 1 | R | R
| c) Smooth vertical formwork in spillway structures |  |  | m² | 1 | R | R
| d) Smooth horizontal formwork in spillway structures |  |  | m² | 1 | R | R
| e) Smooth vertical formwork in apron slab sides |  |  | m² | 1 | R | R
8.2.4.2 | REINFORCEMENT
8.2.4.2.1 | High-tensile welded mesh reference 391 |  |  | m² | 1 | R | R
8.2.4.2.2 | High-tensile steel reinforcement |  |  | t | 1 | R | R
8.2.4.3 | CONCRETE
8.2.4.3.1 | a) Strength concrete grade 1/19 in inlet and
| outlet structures. |  |  | m³ | 1 | R | R
d) Strength concrete grade 1/19 in spillway
| structures |  |  | m³ | 1 | R | R
| c) Strength concrete grade 1/19 in apron slabs |  |  | m³ | 1 | R | R
d) Strength concrete grade 11/19 in blinding
| layers 1mm thick |  |  | m² | 1 | R | R
8.2.4.3.2 | Unformed surface finishes
| a) |  | Woodfloated finish on all unformed surfaces of
|  |  | structures | m² | 1 | R | R
| b) |  | Woodfloated finish on apron slabs | m² | 1 | R | R
| c) |  | Steel floated finish | m² | 1 | R | R
8.2.1 | JOINTS
| a) |  | Contraction joints in apron slabs 11mm thick | m | 1 | R | R
| b) |  | Contraction joints in apron slabs 71mm thick | m | 1 | R | R
8.2.6 | BUILDING WORK
8.2.6.1 | Brickwork
| 11mm brickwork with FBS bricks including brickforce |  |  | m² | 1 | R | R
8.2.6.2 | 21mm brickwork with FBS bricks including brickforce |  |  | m² | 1 | R | R
8.2.6.3 | 21mm brickwork with FBS bricks both sides including
| brickforce |  |  | m² | 1 | R | R
8.2.6.4 | 11mm thick plaster coat |  |  | m² | 1 | R | R
8.2.6.1 | Damp proof course
| 371 micron waterproof sheeting in 21mm thick walls |  |  | m | 1 | R | R
|  |  | SUBTOTAL CARRIED FORWARD |  |  |  | R
|  |  | BROUGHT FORWARD |  |  |  | R
8.2.6.6 | Door and Frame
Standard 811mmx132mm single panel steel
| chawl door with 21mm frame complete |  |  | no | 1 | R | R
8.2.6.7 | Windows
Standard residential type NE1 window with 3mm
| float glass complete |  |  | no | 1 | R | R
8.2.6.8 | Roof
Fibre cement roof sheeting (Modulit Pattern) complete
| with rafters, fixing bolts and bird proofing closure |  |  | m² | 1 | R | R
8.3 | MARK-UP RATES
8.3.1 | Percentage mark-up on rates listed on term contracts |  |  | % | 1 | %
8.3.2 | Percentage mark-up on items (with attached in-
voices) approved by the Employer or his representative
for materials, (other than those set out in this list) used
| in execution of work ordered by the Employer |  |  | % | 1 | %
8.4 | Tip trucks
| (a) 6 m3 |  |  | h | 1 | R | R
| (b) 1 m3 |  |  | h | 1 | R | R
8.1 | Flat bed trucks
| (a) 1t |  |  | km | 1 | R | R
| (b) 7t |  |  | km | 1 | R | R
8.6 | LDV
| (a) 2 x 4WD |  |  | km | 1 | R | R
| (b) 4 x 4WD |  |  | km | 1 | R | R
| SUBTOTAL |  |  |  |  | R
| TOTAL SCHEDULE 4 CARRIED FORWARD TO SUMMARY |  |  |  |  | R

## Schedule 5 filter drains
SCHEDULE 5 : FILTER DRAINS (REPLACEMENT OF FILTER MEDIA)
Item | Description |  | Unit | Qty | Rate | Amount
9. | FILTER DRAINS AND THE SUPPLY OF ALL MATERIAL
Note : haulage up to 0.1km is considered free-haul)
9.1 | SITE CLEARANCE
9.1.1 | Clear and grub |  | ha | 1 | R | R
9.1.2 | Extra-over item 9.1.1 for cleaning specific sites:
a) Removal of debris and silt at inlets to
| hydraulic structures and in filter beds |  | m³ | 1 | R | R
| b)Clean out pipes with internal diameter: |  | m³ | 1 | R | R
i) up to 11mm
| ii) exceeding 11mm up to 1mm |  | m³ | 1 | R | R
| iii) exceeding 1mm up to 600mm |  | m³ | 1 | R | R
| iv) exceeding 600mm |  | m³ | 1 | R | R
c) Remove unsuitable filter media from filters
| and dispose within the free-haul distance |  | m³ | 1 | R | R
c) Remove existing filter media and store each
| grading (max. 4) separately |  | m³ | 1 | R | R
9.1.3 | Remove and grub large trees and stumps of girth:
| a) over 1m and up to and including 2m |  | no | 1 | R | R
| b) over 2m and up to and including 3m |  | no | 1 | R | R
9.1.4 | Reclear surfaces (only on instructions from the Engineer) |  | ha | 1 | R | R
9.1.1 | Take down existing fences:
| a)stockproof fence |  | km | 1 | R | R
| b) security fence |  | km | 3 | R | R
9.1.6 | Dismantle and remove pipelines with internal diameter:
| a) up to 11mm |  | m | 1 | R | R
| b) exceeding 11mm up to 1mm |  | m | 1 | R | R
| b) exceeding 1mm up to 600mm |  | m | 1 | R | R
| b) exceeding 600mm up to 1mm |  | m | 1 | R | R
9.1.7 | Demolish and remove structures and dismantle steelwork
a) Break out and remove second stage concrete
| (class 1 Mpa) |  | m³ | 1 | R | R
b) Break out and remove defective first stage
concrete (class 21 Mpa)
| i) unreinforced |  | m³ | 1 | R | R
| ii) reinforced |  | m³ | 1 | R | R
c) Break out and remove filter pipe laterals and
nozzles including concrete (1Mpa)
encasement
| i) Layer thickness 1mm |  | m³ | 1 | R | R
| ii) Layer thickness 1mm |  | m³ | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  |  | R
| BROUGHT FORWARD |  |  |  |  | R
| ii) Layer thickness 1mm |  | m³ | 1 | R | R
d) Demolish concrete structures:
| i) unreinforced |  | m³ | 1 | R | R
| ii) reinforced |  | m³ | 1 | R | R
e) Extra-over items 9.1.7 (a), (b) and ( c) for
cleaning the surfaces of filter floors, walls
| and collector channels of dust, grit and water |  | m² | 1 | R | R
9.1.8 | Transport materials and debris to unspecified sites
| and dump |  | m³.km | 1 | R | R
9.1.9 | Remove topsoil to nominal depth of 11mm and
| stockpile |  | m³ | 1 | R | R
9.2 | EARTHWORKS : PIPE TRENCHES
9.2.1 | EXCAVATION
9.2.1.1 | Excavation in all materials for trenches for 1mm
diameter pipes and smaller. Rates nominal include
backfill, compact and dispose of surplus material.
| a) Up to 1,1m deep |  | m | 1 | R | R
| b) Over 1,1m up to 2,1m deep |  | m | 1 | R | R
9.2.1.2 | Extra-over item for 9.2.1.1
| a) Intermediate excavation |  | m³ | 1 | R | R
| b) Hard rock excavation |  | m³ | 1 | R | R
9.2.1.3 | Excavate and dispose of unsuitable material from
| trench bottom |  | m³ | 1 | R | R
9.2.1.4 | Import backfill material from designated borrow pits |  | m³ | 1 | R | R
9.2.1.1 | Opening up and closing down of designated borrow pit |  | ha | 1 | R | R
9.2.1.6 | Compaction in road reserve |  | m³ | 1 | R | R
9.2.1.7 | Overhaul
| a) Limited overhaul (0,1 to 1,0km) |  | m³ | 1 | R | R
| b) Long overhaul |  | m³.km | 1 | R | R
9.2.1.8 | Shore trench opposite structure or service |  | m | 1 | R | R
9.2.1.9 | Existing services that intersect or adjoin a pipe trench
| a) Services that intersect a trench |  | no | 1 | R | R
| b) Services that adjoin a trench |  | m | 1 | R | R
9.2.1.1 | Reinstate road surfaces complete with all courses
| a) Gravel on shoulders |  | m² | 1 | R | R
| b) Asphalt of thickness 40mm in parking area |  | m² | 1 | R | R
| b) Asphalt of thickness 40mm in roadway |  | m² | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  |  | R
| BROUGHT FORWARD |  |  |  |  | R
9.2.2 | BEDDING (Pipes)
9.2.2.1 | Provision of bedding from trench excavation:
9.2.2.1 | a) | Selected granular material | m³ | 1 | R | R
| b) | Selected fill material | m³ | 1 | R | R
9.2.2.2 | Supply only of bedding by importation
9.2.2.2.1 | From other necessary excavations
| a) Selected granular material |  | m³ | 1 | R | R
| b) Selected fill material |  | m³ | 1 | R | R
9.2.2.2.2 | From borrow pits
| a)Selected granular material |  | m³ | 1 | R | R
| b)Selected fill material |  | m³ | 1 | R | R
9.2.2.2.3 | From commercial sources
| a) Selected granular material |  | m³ | 1 | R | R
| b) Selected fill material |  | m³ | 1 | R | R
9.2.2.2.4 | Concrete bedding cradle class 1/19 |  | m³ | 1 | R | R
9.2.2.2.1 | Encasing of pipes in concrete class 1/19 |  | m³ | 1 | R | R
9.2.2.2.6 | Overhaul of material for bedding cradle and
| selected fill blanket |  | m³.km | 1 | R | R
9.3 | MEDIUM PRESSURE PIPELINES
9.3.1 | uPVC Pressure Pipes
9.3.1.1 | Supply and install uPVC pipe pieces, solvent welded
joints, in the following diameters:
| a)110mm dia Class 16 |  | m | 1 | R | R
| b) 160mm dia Class 16 |  | m | 1 | R | R
| c) 140mm dia Class 16 |  | m | 1 | R | R
| d) 121mm dia Class 16 |  | m | 1 | R | R
| e) 200mm dia Class 16 |  | m | 1 | R | R
9.3.2 | uPVC pressure pipe fittings (class 16), solvent welded
joints:
9.3.2.1 | End caps
| a) 110mm dia |  | no | 1 | R | R
| b) 160mm dia |  | no | 1 | R | R
| c)140mm dia |  | no | 1 | R | R
| d) 125mm dia |  | no | 1 | R | R
| e) 200mm dia |  | no | 1 | R | R
9.3.2.2 | Tees
| a) 110mm dia |  | no | 1 | R | R
| b) 160mm dia |  | no | 1 | R | R
| c) 140mm dia |  | no | 1 | R | R
| d) 125mm dia |  | no | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  | R
| BROUGHT FORWARD |  |  |  |  | R
9.4 | STRUCTURAL CONCRETE
9.4.1 | FORMWORK
9.4.1.1 | Smooth vertical formwork |  | m² | 1 | R | R
9.4.1.2 | Smooth horizontal formwork |  | m² | 1 | R | R
9.4.1.3 | Special smooth, repaired and rubbed |  | m² | 1 | R | R
9.4.2 | REINFORCEMENT
9.4.2.1 | Steel bars
| a) mild steel |  | t | 1 | R | R
| b) high tensile steel |  | t | 1 | R | R
9.4.2.2 | High tensile welded mesh
| a) ref. 391 |  | m² | 1 | R | R
| b) ref. 241 |  | m² | 1 | R | R
| c) ref.193 |  | m² | 1 | R | R
9.4.3 | CONCRETE
9.4.3.1 | Prescribed mix 1:3 cementitious grout |  | m³ | 1 | R | R
9.4.3.2 | Blinding layer in 1mm thick concrete class 11/19 |  | m³ | 1 | R | R
9.4.3.3 | Strength concrete
| a)Class 11/6, 7 |  | m³ | 1 | R | R
| b) Class 11/13 |  | m³ | 1 | R | R
| c) Class 11/19 |  | m³ | 1 | R | R
| d( Class 1/13 |  | m³ | 1 | R | R
| e) Class 1/19 |  | m³ | 1 | R | R
| f) Class 21/19 |  | m³ | 1 | R | R
| g) Class 1/19 |  | m³ | 1 | R | R
| h) Class 1 non-shrink cementitious grout |  | m³ | 1 | R | R
9.4.3.4 | Extra-over item 9.4.3.3 for application to existing
concrete surface prior to concrete pour of:
| a) latex bonding agent |  | m² | 1 | R | R
| b) epoxy wet-to-dry bonding agent |  | m² | 1 | R | R
9.4.3.1 | Unformed surface finishes:
| a) wood floated finish |  | m² | 1 | R | R
| b) steel floated finish |  | m² | 1 | R | R
9.4.3.6 | Manufacture and install precast elements
a) Fibre-cement cover plates 1 x 111 x 16mm
| thick, installed between filter pipe laterals |  | no | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  | R
| BROUGHT FORWARD |  |  |  |  | R
9.4.3.7 | Miscellaneous metal work
Supply, deliver and install:
a) 12 dia stainless steel anchor bolts
| i) 110mm long |  | no | 1 | R | R
| ii) 260mm long |  | no | 1 | R | R
| iii) 300mm long |  | no | 1 | R | R
b) Stainless steel flat bar of cross section
1mm x 1mm
| i) 110mm long |  | no | 1 | R | R
| ii) 200mm long |  | no | 1 | R | R
| iii) 300mm long |  | no | 1 | R | R
| iv) 350mm long |  | no | 1 | R | R
9.1 | FILTER MEDIA
(Note : all materials measured nett as installed
in final position).
Supply, deliver, install and wash the following
graded filter media:
| a) 6 - 12mm graded stone |  | m³ | 1 | R | R
| b) 2.36 - 4.71mm graded grit |  | m³ | 1 | R | R
| c) 0.6 - 1.18mm graded silica sand |  | m³ | 1 | R | R
| d) 1.2 - 2.4mm graded anthracite |  | m³ | 1 | R | R
9.6 | GEOTEXTILE
9.6.1 | Supply and install non-woven, needle punched
geotextile filter fabric of the following class:
| a) 21 g/m² |  | m² | 1 | R | R
| b) 270 g/m² |  | m² | 1 | R | R
| c) 240 g/m² |  | m² | 1 | R | R
9.7 | CLEAN CRUSHED ROCK
9.7.1 | Supply and install the following clean crushed rock
as natural permeable material in subsurface
drainage system:
| a) 13.2mm |  | m³ | 1 | R | R
| b) 19mm |  | m³ | 1 | R | R
| c) 21mm |  | m³ | 1 | R | R
| d) 38mm |  | m³ | 1 | R | R
9.8 | MARK-UP RATES
9.8.1 | Percentage mark-up on rates listed on term contracts |  | % | 1 | %
9.8.2 | Percentage mark-up on items (with attached in-
voices) approved by the Employer or his represen-
tative for materials, (other than those set out in
this list) used in execution of work ordered by the
| Employer |  | % | 1 | %
| SUBTOTAL CARRIED FORWARD |  |  |  | R
| BROUGHT FORWARD |  |  |  |  | R
9.9 | Tip trucks
| (a) 6 m3 |  | h | 1 | R | R
| (b) 1 m3 |  | h | 1 | R | R
9.1 | Flat bed trucks
| (a) 1t |  | km | 1 | R | R
| (b) 7t |  | km | 1 | R | R
9.11 | LDV
| (a) 2 x 4WD |  | km | 1 | R | R
| (b) 4 x 4WD |  | km | 1 | R | R
SUBTOTAL | [5 empty] | R
TOTAL SCHEDULE 1 CARRIED FORWARD TO SUMMARY | [5 empty] | R

## Schedule 6 handrailing
SCHEDULE 6 : HANDRAILING
Item No | Description | Unit | Qty | Rate | Amount
1. | HANDRAILING AND THE SUPPLY OF ALL MATERIAL
1.1 | Hot dip galvanised Mono type tubular handrailing
system according to SABS 014, for the complete
installation, comprising the following components:
a) Tubular handrailing
Min 33mm OD x 2,1mm thick x 1 Mpa
| (min) yield stress steel knee and top rails | m | 1 | R | R
b) Stanchions
Min 42mm OD x 3,0mm thick x 1 Mpa
(min) yield stress steel spaced at a max of
1,8m centres for the following types:
| i) LS90 | no | 1 | R | R
| ii) ST90 | no | 1 | R | R
| iii) SS90 | no | 1 | R | R
| iv) T90 | no | 1 | R | R
| v) S90 | no | 1 | R | R
| vi) P90 | no | 1 | R | R
| vii) SP40 | no | 1 | R | R
| viii) SP41 | no | 1 | R | R
| ix) T40 | no | 1 | R | R
| x) T41 | no | 1 | R | R
| xi) S40R | no | 1 | R | R
| xii) S40L | no | 1 | R | R
| xiii) S41R | no | 1 | R | R
| xiv) S41L | no | 1 | R | R
| xv) TA40 | no | 1 | R | R
| xvi) TA41 | no | 1 | R | R
c) Bends
Min 33mm x 2,1mm thick x 1 Mpa (min) yield
stress steel tube in the following configurations:
| i) Standard 90° bend | no | 1 | R | R
| ii) Standard 131° bend | no | 1 | R | R
| iii) Straight closure bend | no | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  | R
| BROUGHT FORWARD |  |  |  | R
| iv) 41° angle closure bend | no | 1 | R | R
| v) 40° angle closure bend | no | 1 | R | R
| vi) Stair return bend | no | 1 | R | R
| vii) Kink bend | no | 1 | R | R
| d) Ferrules | no | 1 | R | R
1.2 | MARK-UP RATES
1.2.1 | Percentage mark-up on rates listed on term
| contracts | % | 1 | % | R
1.2.2 | Percentage mark-up on items (with attached in-
voices) approved by the Employer or his represen-
tative for materials, (other than those set out in
this list) used in execution of work ordered by the
| Employer | % | 1 | % | R
1.3 | Tip trucks
| (a) 6 m3 | h | 1 | R | R
| (b) 1 m3 | h | 1 | R | R
1.4 | Flat bed trucks
| (a) 1t | km | 1 | R | R
| (b) 7t | km | 1 | R | R
1.1 | LDV
| (a) 2 x 4WD | km | 1 | R | R
| (b) 4 x 4WD | km | 1 | R | R
| SUBTOTAL |  |  |  | R
| TOTAL SCHEDULE 6 CARRIED FORWARD TO SUMMARY |  |  |  | R

## Schedule 7 septic tank
SCHEDULE 7 : SEPTIC TANKS
Item |  | Description | Unit | Qty | Rate | Amount
12. | SEPTIC TANKS AND THE SUPPLY OF ALL MATERIAL
12.1 | EARTHWORKS : SEPTIC TANK
12.1.1 | Excavation (measured 0,1m beyond wall perimeter
with 1:1,1 side slopes and 0,11m below structure
invert level) and use for backfill at 90% MOD AASHTO
density, around septic tank or dispose of, as ordered
| within 0,1km freehaul distance of septic tank site |  | m³ | 1 | R | R
12.1.2 | Extra over item 12.1.1 for:
| a) Intermediate material |  | m³ | 1 | R | R
| b) Hard rock excavation |  | m³ | 1 | R | R
12.1.3 | Importation of approved gravel material from an open
borrow pit within 0,1km freehaul distance, place in
backfill below septic tank and compact to 90% MOD
| AASHTO density |  | m³ | 1 | R | R
12.2 | EARTHWORKS : PIPE TRENCHES
Excavate in all materials for trenches, backfill and
compact, including disposal of surplus or unsuitable
| material for septic tank disposal drains |  | m | 1 | R | R
Importation of crushed stone, graded 40-70mm, from
a suitable source and place in effluent disposal drain
| trench |  | m³ | 1 | R | R
Importation of crushed stone, graded 70-11mm, from
a suitable source and place in seepage pit at
| termination of pipe drains |  | m³ | 1 | R | R
12.3 | CONCRETE WORK
12.3.1 | Formwork
12.3.1.1 | Smooth off shutter : all vertical surfaces |  | m² | 1 | R | R
12.3.1.2 | Smooth off shutter horizontal, underside roof slab |  | m² | 1 | R | R
12.3.2 | Reinforcement
| a) High tensile steel reinforcement |  | t | 1 | R | R
12.3.3 | Concrete
12.3.3.1 | b) Blinding layer - 1mm thick in prescribed mix
| 11 concrete below septic tank |  | m² | 1 | R | R
b) Strength mix 21/19 concrete in septic tank
| floor, walls and roof |  | m³ | 1 | R | R
| c) Strength mix 1/19 concrete in manhole floor,and roof |  | m³ | 1 | R | R
|  | SUBTOTAL CARRIED FORWARD |  |  |  | R
|  | BROUGHT FORWARD |  |  |  | R
d) Benching strength mix 1/19 concrete in
| manhole |  | m³ | 1 | R | R
e) Strength mix 21/19 reinforced concrete lids for septic tank
| for septic tank |  | no | 1 | R | R
12.3.4 | Surface finish
a) Wood floated surface finish to floor, roof and
| internal walls horizontal surfaces |  | m² | 1 | R | R
| b) 1mm chamfer on all exposed concrete edges |  | m | 1 | R | R
12.3.1 | BUILDING WORK
Brickwork
a) 21mm brickwork with type FBS bricks both
| sides in manhole walls |  | m² | 1 | R | R
| b) 111mm brickwork |  | m² | 1 | R | R
12.3.6 | FIBRE CEMENT SEPTIC TANK
Supply and install 131R fibre-cement septic tank.
(Note: excavation and concrete footing measured
| elsewhere) |  | no | 1 | R | R
12.4 | PIPE LAYING
Supply, lay, joint and test 11DN corrugated radial
rib profile, drainage pipe:
| a) unslotted |  | m | 1 | R | R
| b) slotted |  | m | 1 | R | R
12.1 | MARK-UP RATES
12.1.1 | Percentage mark-up on rates listed on term contracts |  | % | 1 | % | R
12.1.2 | Percentage mark-up on items (with attached invoices)
approved by the Employer or his representative for
materials, (other than those set out in this list) used
| in the execution of work ordered by the Employer |  | % | 1 | % | R
12.6 | Tip trucks
| (a) 6 m3 |  | h | 1 | R | R
| (b) 1 m3 |  | h | 1 | R | R
12.7 | Flat bed trucks
| (a) 1t |  | km | 1 | R | R
| (b) 7t |  | km | 1 | R | R
12.8 | LDV
| (a) 2 x 4WD |  | km | 1 | R | R
| (b) 4 x 4WD |  | km | 1 | R | R
| SUBTOTAL |  |  |  |  | R
| TOTAL SCHEDULE 7 CARRIED FORWARD TO SUMMARY |  |  |  |  | R

## Schedule 8 concrete reservoir
SCHEDULE 8 : CIRCULAR CONCRETE RESERVOIRS
Item | Description | Unit | Qty | Rate | Amount
13. | CIRCULAR CONCRETE RESERVOIRS
Note : haulage up to 0.1km is considered free-haul)
13.1 | RESERVOIR CONSTRUCTION
13.1.1 | SITE CLEARANCE
13.1.1.1 | Clear and grub site | ha | 1 | R | R
13.1.1.2 | Remove and grub large trees and stumps of girth:
| a) over 1m and up to and including 2m | no | 1 | R | R
| b) over 2m and up to and including 3m | no | 1 | R | R
13.1.1.3 | Reclear surfaces (only on instructions from the
| Engineer) | ha | 1 | R | R
13.1.1.4 | Take down existing fences
| a) Stockproof fence | km | 1 | R | R
| b) Security fence | km | 1 | R | R
13.1.1.1 | Transport materials and debris to unspecified sites
| and dump | m³.km | 1 | R | R
13.1.1.6 | Remove topsoil to nominal depth of 11mm and
| stockpile | m³ | 1 | R | R
13.1.2 | EARTHWORKS
13.1.2.1 | Bulk excavation (measured 1.0m beyond wall
perimeter with 1:1 slopes) and use for backfill at
90% MOD AASHTO density on embankments
around reservoir or dispose of, as ordered, within
| 0.1km freehaul distance | m³ | 1 | R | R
13.1.2.2 | Extra-over item 13.1.2.1 for:
| a) intermediate excavation | m³ | 1 | R | R
| b) hard rock excavation | m³ | 1 | R | R
| c) boulder excavation class A | m³ | 1 | R | R
| d) boulder excavation class B | m³ | 1 | R | R
13.1.2.3 | Excavate for restricted foundations, footings and
pipe trenches in all materials and use for backfill,
| embankment or dispose | m³ | 1 | R | R
13.1.2.4 | Extra-over item 13.1.2.3 for:
| a) intermediate excavation | m³ | 1 | R | R
| b) hard rock excavation | m³ | 1 | R | R
| c) boulder excavation class A | m³ | 1 | R | R
| d) boulder excavation class B | m³ | 1 | R | R
13.1.2.1 | Extra-over for importation of materials
| a) from borrow pits | m³ | 1 | R | R
| CARRIED FORWARD |  |  |  | R
| BROUGHT FORWARD |  |  |  | R
b) from commercial sources
| i) 6,7mm crushed rock | m³ | 1 | R | R
| ii) 13mm crushed rock | m³ | 1 | R | R
| iii) 19mm crushed rock | m³ | 1 | R | R
| iv) 21mm crushed rock | m³ | 1 | R | R
| v) 38mm crushed rock | m³ | 1 | R | R
13.1.2.6 | Opening up and closing down of designated borrow
| pit | ha | 1 | R | R
13.1.2.7 | Extra-over item 13.1.2.1 and 13.1.2.3 for:
| a) limited overhaul | m³ | 1 | R | R
| b) long overhaul in excess of 0.1km | m³.km | 1 | R | R
13.1.3 | CONCRETE WORK
13.1.3.1 | FORMWORK
| a) Rough | m² | 1 | R | R
b) Smooth
| i) all vertical surfaces to be backfilled | m² | 1 | R | R
| ii) underside of roof slab | m² | 1 | R | R
c) Special smooth, repaired and rubbed
| i) all exposed vertical surfaces | m² | 1 | R | R
c) Narrow widths
| i) up to 1mm wide | m² | 1 | R | R
| ii) chamfered edges 1mm x 1mm | m | 1 | R | R
| iii) triangular drip groove 21mm | m | 1 | R | R
e) Box-out openings (rectangular) of area up to
and including 0.1m² up to and including 0.1m
| deep | no | 1 | R | R
e) Box-out openings (rectangular) of area over
0.1m² up to and including 0.1m² up to and
| including 0.1m deep) | no | 1 | R | R
13.1.3.2 | REINFORCEMENT
a) Steel bars
| i) mild steel | t | 1 | R | R
| ii) high tensile steel | t | 1 | R | R
b) High tensile welded mesh
| i) ref. 391 | m² | 1 | R | R
| ii) ref. 241 | m² | 1 | R | R
| iii) ref. 193 | m² | 1 | R | R
13.1.3.3 | CONCRETE
a) Prescribed mix 1:3:6 (38) in cavities formed
by overbreak, only upon instruction of the
| Engineer |  |  | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  | R
| BROUGHT FORWARD |  |  |  | R
a) Prescribed mix 1:6 for topping on floor and
| roof screeded to fall | m³ | 1 | R | R
c) Blinding layer - 1mm thick in class 11/19
| concrete | m³ | 1 | R | R
d) Strength concrete
i) Class 11/19 for filling of pockets in excavated
foundations where such over-excavations were
| ordered by the Engineer | m³ | 1 | R | R
| ii) Class 1/19 | m³ | 1 | R | R
| iii) Class 21/19 | m³ | 1 | R | R
| iv) Class 1/19 | m³ | 1 | R | R
e) Surface finish
i) wood floated surface finish to floor, roof and
| screeds | m² | 1 | R | R
| ii) steel floated | m² | 1 | R | R
| iii) power floated | m² | 1 | R | R
13.1.3.1 | JOINTS
13.1.3.1.1 | Forming of new expansion and contraction joints | m | 1 | R | R
13.1.3.1.2 | Extra-over item 13.1.3.1.1 for cleaning, priming and
sealing of 1mm square contraction joints with
| Jacolastic or equivalent | m | 1 | R | R
13.1.3.1.3 | Waterbars (Expandible)
a) Expandible preformed hydrophilic elastomer
joint sealing waterstop as Sika Water Swebber
| WS 11 or equivalent | m | 1 | R | R
13.1.3.1.4 | Waterbars (Moulded)
Precision moulded rubber or PVC waterbars in the
following profiles:
a) Centre bulb (in expansion joints) of width:
| i) 190mm | m | 1 | R | R
| ii) 21mm | m | 1 | R | R
| iii) 21mm | m | 1 | R | R
| iv) 1mm | m | 1 | R | R
b) Dumb-bell (in contraction and construction
joints) of width:
| i) 11mm | m | 1 | R | R
| ii) 190mm | m | 1 | R | R
| iii) 21mm | m | 1 | R | R
Lay-flat external type (in contraction joints in
walls and slabs) of width:
| i) 21mm | m | 1 | R | R
| ii) 21mm | m | 1 | R | R
iii) 21mm with centre bulb for expansion
| joints | m | 1 | R | R
13.2.1.1 | Prescribed mix 1:3 cementitious grout | m³ | 1 | R | R
13.2.1.2 | Class 1 non-shrink cementitious grout | m³ | 1 | R | R
13.2.1.3 | Extra-over items 13.1.3.3, 13.2.1.1 and 13.2.1.2 for
application to existing concrete surface (prior to
concrete pour) of:
| a) latex on agent | m² | 1 | R
| b) epoxy wet-to-dry bonding agent | m² | 1 | R
13.3 | MARK-UP RATES
13.3.1 | Percentage mark-up on rates listed on term
| contracts | % | 1 | %
13.3.2 | Percentage mark-up on items (with attached
invoices) approved by the Employer or his
representative for materials, (other than those set
out in this list) used in the execution of work
| ordered by the Employer | % | 1 | %
13.4 | Tip trucks
| (a) 6 m3 | h | 1 | R | R
| (b) 1 m3 | h | 1 | R | R
13.1 | Flat bed trucks
| (a) 1t | km | 1 | R | R
| (b) 7t | km | 1 | R | R
13.6 | LDV
| (a) 2 x 4WD | km | 1 | R | R
| (b) 4 x 4WD | km | 1 | R | R
TOTAL SCHEDULE 8 CARRIED FORWARD TO SUMMARY

## Schedule 9 gabions & pitching
SCHEDULE 9 : GABIONS AND PITCHING
Item |  | Description |  | Unit | Qty | Rate | Amount
14. | GABIONS AND PITCHING
14.1 | SITE CLEARANCE
14.1.1 | Clear and grub |  |  | ha | 2 | R | R
14.1.2 | Remove and grub large trees and stumps of girth:
| a) over 1m and up to and including 2m |  |  | no | 1 | R | R
| b) over 2m and up to and including 3m |  |  | no | 1 | R | R
14.1.3 | Reclear surfaces (only on instructions from the
| Engineer) |  |  | ha | 2 | R | R
14.1.4 | Take down existing fences
| a) Stockproof fence |  |  | km | 2 | R | R
| b) Security fence |  |  | km | 1 | R | R
14.1.1 | Dismantle and remove pipelines with internal diameter:
| a) up to 1mm |  |  | m | 1 | R | R
| b) exceeding 1mm up to 600mm |  |  | m | 1 | R | R
| c) exceeding 600mm up to 11mm |  |  | m | 1 | R | R
14.1.6 | Demolish and remove structures:
| a) brickwork |  |  | m³ | 1 | R | R
b) concrete structures
| i) unreinforced |  |  | m³ | 1 | R | R
| ii) reinforced |  |  | m³ | 1 | R | R
14.1.7 | Transport materials and debris to unspecified sites
| and dump |  |  | m³.km | 1 | R | R
14.1.8 | Remove topsoil to nominal depth of 140mm and
| stockpile |  |  | m³ | 1 | R | R
14.2 | EARTHWORKS
14.2.1 | a) Excavate in all materials and use for embank-
ment or backfill compacted to 91% modified
| AASHTO density, or dispose, as ordered |  |  | m³ | 1 | R | R
b) Extra-over item 14.2.1a for:
| i) intermediate excavation |  |  | m³ | 1 | R | R
| ii) hard rock excavation |  |  | m³ | 1 | R | R
| iii) boulder excavation class A |  |  | m³ | 1 | R | R
| iv) boulder excavation class B |  |  | m³ | 1 | R | R
| CARRIED FORWARD |  |  |  |  | R | R
| BROUGHT FORWARD |  |  |  |  | R | R
14.2.2 | Restricted Excavation
a) Excavate for restricted foundations and footings
in all materials and use for embankment or
backfill compacted to 91% modified AASHTO
| density, or dispose, as ordered |  |  | m³ | 1 | R | R
b) Extra-over item 14.2.2a for:
| i) intermediate excavation |  |  | m³ | 1 | R | R
| ii) hard rock excavation |  |  | m³ | 1 | R | R
| iii) boulder excavation class A |  |  | m³ | 1 | R | R
| iv) boulder excavation class B |  |  | m³ | 1 | R | R
14.2.3 | Importing of materials
a) Extra-over items 14.2.1 and 14.2.2 for
importation of materials
| i) from borrow pits |  |  | m³ | 1 | R | R
ii) 19mm crushed rock from commercial
| sources |  |  | m³ | 1 | R | R
b) Opening up and closing down of designated
| borrow pit |  |  | ha | 1
14.2.4 | Extra excavation in all materials to provide working
| space around structure |  |  | m³ | 1 | R | R
14.2.1 | Overhaul
| a) Limited overhaul |  |  | m³ | 1 | R | R
| b) Long overhaul |  |  | m³.km | 1 | R | R
14.2.6 | Topsoiling |  |  | m³ | 1 | R | R
14.3 | GABIONS
14.3.1 | Surface preparation for bedding of gabions:
a) Cavities filled with approved excavated
| material or rock to max. depth of 140mm |  |  | m² | 1 | R | R
b) Cavities filled with class 14/19 strength
| concrete, to max. thickness of 60mm |  |  | m² | 1 | R | R
c) Cavities filled with class 14/19 strength
| concrete, irrespective of depth |  |  | m³ | 1 | R | R
14.3.2 | Construct gabions to SABS 1480 (1993) using
galvanised wire
Notes : Each gabion to be fitted with a corrosion
resistant metal tag containing manufacturer's
information.
Mesh to be hexagonally woven 3 ½ turns, R = 1,
b = 80 mesh wire 2,7mm min. and selvedge 3,4mm min.
Diaphragms at 1,0m centres.
Binding wire 2,2mm min.
In the following sizes:
| a) L = 1m W = 1m H = 1m Cell 1 |  |  | m³ | 1 | R | R
| b) L = 1,1m W = 1m H = 1m Cell 1 |  |  | m³ | 11 | R | R
| c) L = 2m W = 1m H = 1m Cell 2 |  |  | m³ | 1 | R | R
| d) L = 3m W = 1m H = 1m Cell 3 |  |  | m³ | 1 | R | R
| e) L = 4m W = 1m H = 1m Cell4 |  |  | m³ | 1 | R | R
| f) L = 2m W = 0,1m H = 0,1m Cell 2 |  |  | m³ | 1 | R | R
| CARRIED FORWARD |  |  |  |  | R | R
|  |  | BROUGHT FORWARD |  |  | R | R
| g) L = 2m W = 1m H = 0,1m Cell 2 |  |  | m³ | 1 | R | R
| h) L = 3m W = 1m H = 0,1m Cell 3 |  |  | m³ | 1 | R | R
| I) L = 4m W = 1m H = 0,1m Cell 4 |  |  | m³ | 1 | R | R
14.3.3 | Ditto item 14.3.2 with all wires PVC coated:
| a) L = 1m W = 1m H = 1m Cell 1 |  |  | m³ | 1 | R | R
| b) L = 1,1m W = 1m H = 1m Cell 1 |  |  | m³ | 1 | R | R
| c) L = 2m W = 1m H = 1m Cell 2 |  |  | m³ | 1 | R | R
| d) L = 3m W = 1m H = 1m Cell 3 |  |  | m³ | 1 | R | R
| e) L = 4m W = 1m H = 1m Cell4 |  |  | m³ | 1 | R | R
| f) L = 2m W = 0,1m H = 0,1m Cell 2 |  |  | m³ | 1 | R | R
| g) L = 2m W = 1m H = 0,1m Cell 2 |  |  | m³ | 1 | R | R
| h) L = 3m W = 1m H = 0,1m Cell 3 |  |  | m³ | 1 | R | R
| i) L = 4m W = 1m H = 0,1m Cell 4 |  |  | m³ | 1 | R | R
14.3.4 | Construct wired mattresses to SABS 1480 (1993)
using galvanised wire.
Notes : Each mattress to be fitted with a corrosion
resistant metal tag containing manufacturer's
information.
Mesh to be hexagonally woven 3½ turns, R = 1,
b = 80 mesh wire 2,1mm min and selvedge 3,1mm min.
Diaphragms at 1,0 m centres.
Binding wire 2,2mm min.
In the following sizes:
| a) L = 2m W = 1m H = 0,3m Cell 2 |  |  | m³ | 1 | R | R
| b) L = 3m W = 1m H = 0,3m Cell 3 |  |  | m³ | 1 | R | R
| c) L = 6m W = 1m H = 0,3m Cell 6 |  |  | m³ | 1 | R | R
14.3.1 | Ditto item 14.3.4 with all wires PVC coated:
| a) L = 2m W = 1m H = 0,3m Cell 2 |  |  | m³ | 1 | R | R
| b) L = 3m W = 1m H = 0,3m Cell 3 |  |  | m³ | 1 | R | R
| c) L = 6m W = 1m H = 0,3m Cell 6 |  |  | m³ | 1 | R | R
14.3.6 | Extra-over items 14.3.2, 14.3.3, 14.3.4 and 14.3.1
| for packing selected stone for exposed face |  |  | m² | 1 | R | R
14.3.7 | Extra-over items 14.3.2, 14.3.3, 14.3.4 and 14.3.1
for installation of the following upon instruction of
the Engineer:
a) galvanised binding and lacing wire of min.
| thickness 2,2mm (Measured per roll of 1kg) |  |  | no | 1 | R | R
b) closing wire rings (41 DN open and approx.
1 DN closed) as SPENAX or equivalent.
(Measured per box containing 1600 rings)
| ii) galvanised |  |  | no | 1 | R | R
| ii) stainless steel |  |  | no | 1 | R | R
14.3.8 | Geotextile
Non-woven, continuous filament geotextile:
| a) Grade U34 (270g/m²) |  |  | m² | 1 | R | R
| b) Grade U44 (340 g/m²) |  |  | m² | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  |  | R | R
| BROUGHT FORWARD |  |  |  |  | R | R
PITCHING
14.4.1 | Plain stone pitching to a minimum final layer
thickness of:
| a) 1mm |  |  | m² | 1 | R | R
| b) 1mm |  |  | m² | 1 | R | R
14.4.2 | Grouted stone pitching in freshly laid cement mortar
of 1:6 mix proportion, to a minimum final layer
| thickness of 1mm |  |  | m² | 1 | R | R
14.4.3 | Grouted stone pitching of 1mm pitching thickness,
laid on a fresh class 14/19 concrete bed of 71mm
| thickness |  |  | m² | 1 | R | R
14.1 | MARK-UP RATES
14.1.1 | Percentage mark-up on rates listed on term
| contracts |  |  | % | 1 | % | R
Percentage mark-up on items (with attached
invoices) approved by the Employer or his
representative for materials, (other than those set
out in this list) used in the execution of work
| ordered by the Employer |  |  | % | 1 | % | R
Tip trucks
| (a) 6 m3 |  |  | h | 1 | R | R
| (b) 1 m3 |  |  | h | 1 | R | R
Flat bed trucks
| (a) 1t |  |  | km | 1 | R | R
| (b) 7t |  |  | km | 1 | R | R
LDV
| (a) 2 x 4WD |  |  | km | 1 | R | R
| (b) 4 x 4WD |  |  | km | 1 | R | R
| TOTAL SCHEDULE 9 CARRIED FORWARD TO SUMMARY | [5 empty] | R

## Schedule 10 block paving
SCHEDULE 1 : SEGMENTED BLOCK PAVING, KERBING AND CHANNELING
Item |  | Description | Unit | Qty | Rate | Amount
11. | SEGMENTED BLOCK PAVING, KERBING AND
CHANNELING
11.1 | SITE CLEARING
11.1.1 | Clear and grub |  | ha | 1 | R | R
11.1.2 | Remove and grub large trees and stumps of girth
| a) over 1m and up to and including 2m |  | no | 1 | R | R
| b) over 2m and up to and including 3m |  | no | 1 | R | R
11.1.3 | Reclear surfaces (only on instructions from the Engineer) |  | ha | 1 | R | R
11.1.4 | Take down existing fences stockproof fence |  | km | 1 | R | R
| b) Security fence |  | km | 1 | R | R
11.1.1 | Transport materials and debris to unspecified sites and dump |  | m³.km | 1 | R | R
11.1.6 | Remove topsoil to nominal depth of 11mm and stockpile |  | m³ | 1 | R | R
11.2 | BULK EARTHWORKS
6.2.1 | Bulk Excavation
a) Excavate in all materials and use for embankment or
backfill compacted to 90% modified AASHTO density or
| dispose, as ordered |  | m3 | 1 | R | R
b) Extra-over item 11.2.1 for:
| i) Intermediate material |  | m³ | 1 | R | R
| ii) hard rock excavation |  | m³ | 1 | R | R
| iii) boulder excavation, Class A |  | m³ | 1 | R | R
| iv) boulder excavation, Class B |  | m³ | 1 | R | R
11.2.2 | Importing of Materials
| a) Extra-over for importation of materials from borrow pits |  | m3 | 1 | R | R
| b) Opening up and closing down of designated borrow pit |  | ha | 1 | R | R
| c) Dealing with overburden |  | m³ | 1 | R | R
11.2.3 | Overhaul
| a) Limited overhaul |  | m³ | 1 | R | R
| b) Long overhaul |  | m³.km | 1 | R | R
11.3 | EARTHWORKS (Roads, Subgrade)
11.3.1 | Preparation of site
a) Stripping and removal of topsoil to 11mm
| depth, stockpiling and maintaining |  | m³ | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  | R | R
| BROUGHT FORWARD |  |  |  | R | R
b) Strip and remove 11mm layer, haul and
| spread topsoil in borrow pits |  | m³ | 1 | R | R
11.3.2 | Treatment of Pavement area
a) Pavement area preparation and compaction of
material to:
i) min. of 90% MOD AASHTO density to a
| depth of 11mm |  | m³ | 1 | R | R
ii) min. of 93% MOD AASHTO density to a
| depth of 11mm |  | m³ | 1 | R | R
iii) min of 91% MOD AASHTO density to a
| depth of 11mm |  | m³ | 1 | R | R
b) In-place treatment of pavement area in
intermediate or hard rock material by:
| i) Ripping |  | m³ | 1 | R | R
| ii) Blasting |  | m³ | 1 | R | R
11.3.3 | Cut to fill
a) Cut to fill and compact to 90% of MOD
| AASHTO density |  | m³ | 1 | R | R
b) Cut to fill and compact to 93% of MOD
| AASHTO density |  | m³ | 1 | R | R
11.3.4 | Borrow to fill
a) Borrow to fill and compact to 90% of MOD
| AASHTO density |  | m³ | 1 | R | R
b) Borrow to fill and compact to 93% of MOD
| AASHTO density |  | m³ | 1 | R | R
c) Borrow to fill and compact to 91% MOD AASHTO
| density |  | m³ | 1 | R | R
11.3.1 | Selected layer
a) Selected layer compacted to 93% of MOD
| AASHTO density |  | m³ | 1 | R | R
b) Selected gravel course compacted to 91%
| of MOD AASHTO density |  | m³ | 1 | R | R
11.3.6 | Excavating and breaking down material
Extra-over items 11.3.3, 11.3.4 and 11.3.1 for
excavating and breaking down material in:
| a) Intermediate excavation |  | m³ | 1 | R | R
| b) Hard excavation |  | m³ | 1 | R | R
| c) Boulder excavation, Class A |  | m³ | 1 | R | R
| d) Boulder excavation, Class B |  | m³ | 1 | R | R
11.3.7 | Cut to spoil or stockpile from
| a) Soft excavation |  | m³ | 1 | R | R
| b) Intermediate excavation |  | m³ | 1 | R | R
| c) Hard excavation |  | m³ | 1 | R | R
| d) Boulder excavation, Class A |  | m³ | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  |  | R
BROUGHT FROWARD
| e) Boulder excavation, Class B |  | m³ | 1 | R | R
11.3.8 | Removal of oversize material |  | m³ | 1 | R | R
11.3.9 | Overbreak of excavation in:
| a) Intermediate excavation |  | m³ | 1 | R | R
| b) Hard excavation |  | m³ | 1 | R | R
| c) Boulder excavation, Class A |  | m³ | 1 | R | R
| d) Boulder excavation, Class B |  | m³ | 1 | R | R
11.3.1 | Materials bladed to windrow |  | m³ | 1 | R | R
11.3.11 | Stockpile
Extra-over items 11.3.1, 11.3.3, 11.3.4 or 11.3.1 for
| temporary stockpiling of material |  | m³ | 1 | R | R
11.3.12 | Overhaul
Extra-over items 11.3.1, 11.3.3, 11.3.4, 11.3.1, 11.3.7,
11.3.8 or 11.3.11 for haulage beyond the 0,1 km
| freehaul distance |  | m³.km | 1 | R | R
11.3.1.3 | Surface finishes
| a) Topsoiling |  | m² | 1 | R | R
11.3.14 | Mounds, channels and mitre banks
Construct catchwater mounds, channels and
| mitre banks |  | m³ | 1 | R | R
11.3.11 | Chemical stabilization extra over unstabilized
compacted layers :
| a) Gravel sub-base course (11mm thick) |  | m³ | 1 | R | R
| b) Gravel base course (11mm thick) |  | m³ | 1 | R | R
11.3.11 | Chemical Stabilizing Agent :
| a) Ordinary Portland Cement |  | t | 1 | R | R
| b) Portland blast furnace cement |  | t | 1 | R | R
11.3.17 | Provision and application of water for curing |  | kl | 1 | R | R
11.4 | DRAINS
11.4.1 | Excavation for Open Drains
a) Excavate in soft material in the depth range
| 0 m up to 1,1m below surface level |  | m³ | 1 | R | R
b) Extra-over item 11.4.1a for excavation in:
| i) Intermediate material |  | m³ | 1 | R | R
| ii) Hard rock |  | m³ | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  | R | R
| BROUGHT FORWARD |  |  |  | R | R
11.4.2 | Excavation for Subsoil Drainage Systems
a) Excavate in soft material within the following
depth ranges below surface level:
| i) 0m up to 1,1m |  | m³ | 1 | R | R
| ii) Exceeding 1,1m and up to 2,1m |  | m³ | 1 | R | R
| iii) Exceeding 2,1m and up to 3,1m |  | m³ | 1 | R | R
b) Extra-over sub-item 11.4.2a for excavation in:
| i) Intermediate material |  | m³ | 1 | R | R
| ii) Hard rock |  | m³ | 1 | R | R
11.4.3 | Permeable material in subsoil drainage systems:
a) Coarse grade sand from approved natural
| sources |  | m³ | 1 | R | R
b) Course aggregate
| i) 19mm |  | m³ | 1 | R | R
| ii) 40mm |  | m³ | 1 | R | R
11.4.4 | Synthetic fibre filter fabric, needle punched
| a) 231 g/m² |  | m² | 1 | R | R
| b) 270 g/m² |  | m² | 1 | R | R
11.1 | SEGMENTED PAVING
11.1.1 | Provision of edge restraints in class 1/19 concrete,
in the following cross sections:
| a) 11 x 71mm |  | m | 1 | R | R
| b) 1 x 71 mm |  | m | 1 | R | R
| c) 21 x 71mm |  | m | 1 | R | R
11.1.2 | Construction of grey coloured paving to SABS
118 - 1981 in the following type, class and sizes:
11.1.2.1 | Type S - A
a) Class 21 and thickness:
| i) 60mm |  | m² | 1 | R | R
| ii) 80mm |  | m² | 1 | R | R
| iii) 1mm |  | m² | 1 | R | R
b) Class 31 and thickness:
| i) 60mm |  | m² | 1 | R | R
| ii) 80mm |  | m² | 1 | R | R
| iii) 1mm |  | m² | 1 | R | R
11.1.2.2 | Type S - B
a) Class 21 and thickness:
| i) 60mm |  | m² | 1 | R | R
| ii) 80mm |  | m² | 1 | R | R
| iii) 1mm |  | m² | 1 | R | R
b) Class 31 and thickness:
| i) 60mm |  | m² | 1 | R | R
| ii) 80mm |  | m² | 1 | R | R
| iii) 1mm |  | m² | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  | R | R
| BROUGHT FORWARD |  |  |  | R | R
11.1.2.3 | Type S - C
a) Class 21 and thickness:
| i) 60mm |  | m² | 1 | R | R
| ii) 80mm |  | m² | 1 | R | R
| iii) 1mm |  | m² | 1 | R | R
11.1.3 | Cutting units to fit edge restraints:
| a) straight |  | m | 1 | R | R
| b) raked |  | m | 1 | R | R
| c) curved |  | m | 1 | R | R
11.1.4 | Extra-over item 11.1.2.1, 11.1.2.2 and 11.1.2.3 for
| rolling to locked-up condition |  | m² | 1 | R | R
11.6 | KERBING
11.6.1 | Supply, bed, lay and joint precast concrete sections,
in conformity with SABS 927-1969:
11.6.1.1 | Kerb of 1m length on straights
a) half-battered
| i) fig 3 |  | m | 1 | R | R
| ii) fig 4 |  | m | 1 | R | R
| b) battered fig 6 |  | m | 1 | R | R
c) mountable
| ii) fig 7 |  | m | 1 | R | R
| ii) fig 8 |  | m | 1 | R | R
| iii) fig 9 |  | m | 1 | R | R
11.6.1.2 | Kerb of 31mm length on curves:
a) half-battered
| i) fig 3 |  | m | 1 | R | R
| ii) fig 4 |  | m | 1 | R | R
| b) battered fig 6 |  | m | 1 | R | R
c) mountable
| i) fig 7 |  | m | 1 | R | R
| ii) fig 8 |  | m | 1 | R | R
| iii) fig 9 |  | m | 1 | R | R
11.6.1.3 | Edgings of 1m length on straights:
| a) rectangular fig 1 |  | m | 1 | R | R
| b) half-round fig 11 |  | m | 1 | R | R
| c) rectangular fig 12 |  | m | 1 | R | R
11.6.1.4 | Edgings of 31mm length on curves:
| a) rectangular fig 1 |  | m | 1 | R | R
| b) half-round fig 11 |  | m | 1 | R | R
| c) rectangular fig 12 |  | m | 1 | R | R
11.6.1.1 | Channels of 1m length on straights :
| a) rectangular fig 13 |  | m | 1 | R | R
| b) tapered fig 14 |  | m | 1 | R | R
11.6.1.6 | Channels of 31mm length on curves:
| a) rectangular fig 13 |  | m | 1 | R | R
| b) tapered fig 14 |  | m | 1 | R | R
11.6.2 | Concrete kerbing and channeling combined
a) Cast in-situ class 21/19 of cross sectional area
up to 0,08 m²/m
| i) straight |  | m | 1 | R | R
| ii) curved |  | m | 1 | R | R
b) Cast in-situ class 21/19 of cross sectional area
exceeding 0,08 m²/m up to 0,1 m²/m
| i) straight |  | m | 1 | R | R
| ii) curved |  | m | 1 | R | R
c) Cast in-situ class 21/19 of cross sectional area
exceeding 0,1 m²/m up to 0,12 m²/m
| i) straight |  | m | 1 | R | R
| ii) curved |  | m | 1 | R | R
d) Cast in-situ class 21/19 of cross sectional area
exceeding 0,12 m²/m up to 0,11 m²/m
| i) straight |  | m | 1 | R | R
| ii) curved |  | m | 1 | R | R
11.7 | MARK-UP RATES
11.7.1 | Percentage mark-up on rates listed on term contracts Percentage mark-up on items |  | % |  | R | R
11.7.2 | (with attached invoices) approved by the Employer or his representative for materials
(other than those set out in this list) used in the execution
| Of work ordered by the employer |  | % |  | R | R
ESTABLISHMENT OF FACILITIES
Tip trucks
| (a) 6 m3 |  | h | 1 | R | R
| (b) 1 m3 |  | h | 1 | R | R
Flat bed trucks
| (a) 1t |  | km | 1 | R | R
| (b) 7t |  | km | 1 | R | R
LDV
| (a) 2 x 4WD |  | km | 1 | R | R
| (b) 4 x 4WD |  | km | 1 | R | R
| TOTAL SCHEDULE 10 CARRIED FORWARD TO SUMMARY |  |  |  | R

## Schedule 11 security fenceing
SCHEDULE 11 : SECURITY FENCING
Item |  | Description | Unit | Qty | Rate | Amount
16. | SECURITY FENCING AND THE SUPPLY OF ALL MATERIAL
16.1 | SITE CLEARING
16.1.1 | Clear and grub the fence line, a 2m wide strip |  | km | 1 | R | R
16.1.2 | Take down existing fences
| a) stockproof fence |  | km | 1 | R | R
| b) security fence |  | km | 1 | R | R
16.1.3 | Transport materials and debris to unspecified sites
| and dump |  | m³.km | 1 | R | R
| a) 2mm dia mild steel |  | km | 1 | R | R
| b) 4mm dia mild steel |  | km | 1 | R | R
| c) 2mm dia high tensile steel |  | km | 1 | R | R
16.3.3 | Zinc coated diamond mesh (to SABS CKS 229);
2,1mm dia mild steel with 1 mesh and 1,8m width
| with bottom end barbed and top end open |  | km | 1 | R | R
16.3.4 | Corner and gate posts in 88mm diameter pipe section
having a 3mm wall thickness
| a) hot dip galvanised |  | no | 1 | R | R
| b) painted |  | no | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  | R | R
| BROUGHT FORWARD |  |  |  | R | R
16.1.2 | Zinc coated smooth wire to SABS 671
| a) 2mm dia mild steel |  | km | 1 | R | R
| b) 4mm dia mild steel |  | km | 1 | R | R
| c) 2mm dia high tensile steel |  | km | 1 | R | R
16.1.3 | Zinc coated diamond mesh (to SABS CKS 229);
2,1mm dia mild steel with 1 mesh and 1,8m width
| with bottom end barbed and top end open |  | km | 1 | R | R
16.1.4 | Corner and gate posts in 114mm diameter pipe section
having a 3,6mm wall thickness
| a) hot dip galvanised |  | no | 1 | R | R
| b) painted |  | no | 1 | R | R
16.1.1 | Straining posts in 114mm diameter pipe section
having a 3,6mm wall thickness
| a) hot dip galvanised |  | no | 1 | R | R
| b) painted |  | no | 1 | R | R
16.1.6 | Intermediate posts in 88mm diameter pipe section
having a 3,21mm wall thickness
| a) hot dip galvanised |  | no | 1 | R | R
| b) painted |  | no | 1 | R | R
SUBTOTAL | [5 empty] | R
TOTAL SCHEDULE 11 CARRIED FORWARD TO SUMMARY

## Schedule 12 pump house
SCHEDULE 12 : PUMPHOUSE INSTALLATION FOR BOREHOLES
Item No | Description | Unit | Qty | Rate | Amount
17. | PUMPHOUSE INSTALALTION FOR BOREHOLES
17.1 | SITE CLEARANCE
17.1.1 | Clear and grub site | m2 | 1 | R | R
17.1.2 | Remove and grub large trees and stumps of girth:
| (a) Over 1 m and up to and including 2 m | no | 1 | R | R
| (b) Over 2 m and up to and including 3 m | no | 1 | R | R
17.1.3 | Reclear surfaces (only on instructions from the Engineer) | m2 | 1 | R | R
17.1.4 | Take down existing fences
| (a) Stockproof fence | m | 1 | R | R
| (b) Security fence | m | 1 | R | R
17.1.1 | Dismantle and remove pipelines with internal diameter up to 11 mm | m | 1 | R | R
17.1.6 | Demolish and remove concrete structures:
| (a) Unreinforced | m3 | 1 | R | R
| (b) Reinforced | m3 | 1 | R | R
17.1.7 | Transport materials and debris to unspecified sites and dump | m3/km | 1 | R | R
17.2 | EARTHWORKS (SMALL WORKS)
17.2.1 | Restricted excavation
| (a) Excavate for restricted foundations, footings and trenches in all materials and use for backfill or dispose. | m3 | 1 | R | R
(b) Extra-over item 18.2.1a for:
| (i) intermediate excavation | m3 | 1 | R | R
| (ii) hard rock excavation | m3 | 1 | R | R
17.2.2 | Overhaul
| (a) Limited overhaul | m3/km | 1 | R | R
| (b) Long overhaul | m3/km | 1 | R | R
17.2.3 | Importing of materials from borrow pits | m3 | 1 | R | R
17.2.4 | Topsoiling | m2 | 1 | R | R
17.3 | CONCRETE (ORDINARY BUILDINGS)
17.3.1 | Formwork
17.3.1.1 | (a) Rough
| (i) Horizontal | m2 | 1 | R | R
| (ii) Vertical | m2 | 1 | R | R
(b) Normal
| (i) Horizontal | m2 | 1 | R | R
| (ii) Vertical | m2 | 1 | R | R
(c) Special smooth, rubbed
| (i) Horizontal | m2 | 1 | R | R
| (ii) Vertical | m2 | 1 | R | R
17.3.1.2 | Narrow widths
| (a) Up to 1 mm | m | 1 | R | R
| (b) Exceeding 1 mm up to and including 600 mm | m | 1 | R | R
17.3.2 | Reinforcement
| (a) Mild steel bars | t | 1 | R | R
| (b) High tensile steel bars | t | 1 | R | R
(c) Welded mesh
| (i) ref. 193 | m2 | 1 | R | R
| (ii) ref. 241 | m2 | 1 | R | R
| (iii) ref. 391 | m2 | 1 | R | R
17.3.3 | Concrete
17.3.3.1 | Prescribed mix 1:3:6 (38) | m3 | 1 | R | R
17.3.3.2 | Strength mix (general works)
| (a) Class 11/19 | m3 | 1 | R | R
| (b) Class 1/19 | m3 | 1 | R | R
| (c) Class 21/19 | m3 | 1 | R | R
| (d) Class 1/19 | m3 | 1 | R | R
17.3.3.3 | Strength mix Class 21/19 to pumphouse floor, pump and engine foundations
| (a) Concrete floor 1 x 1 x 11 mm | no | 1 | R | R
(b) Diesel engine foundation block (including formwork and anchor bolts)
| (i) Size 21 x 1 x 600 mm | no | 1 | R | R
| (ii) (Up to 1 kW max.) | no | 1 | R | R
| (iii) (From 6 kW to 21 kW) | no | 1 | R | R
(c) Electric motor foundation block (including formwork and anchor bolts)
| (i) Size 600 x 600 x 600 mm (up to 7 kW max.) | no | 1 | R | R
(anchor bolts dia. M12 x 1 mm long)
| (ii) Size 1 x 1 x 600 mm (from 8 kW to 22 | no | 1 | R | R
kW (1 anchor bolts dia M16 x 211 mm long)
17.3.3.4 | Blinding layer in class 11/19 concrete and 1 mm thick | m2 | 1 | R | R
17.3.3.1 | Unformed concrete surface finishes
| (a) Wood-floated finish | m2 | 1 | R | R
| (b) Steel-floated finish | m2 | 1 | R | R
| (c) Power-floated finish | m2 | 1 | R | R
17.4 | BRICKWORK (strecherbond)
17.4.1 | Foundation walling with clay bricks type NFX to SABS 227-1986 in:
| (a) 21 mm walls | m2 | 1 | R | R
| (b) 341 mm walls | m2 | 1 | R | R
17.4.2 | Walling with clay stock bricks type NFP to SABS 227-1986 in:
| (a) 111 mm walls | m2 | 1 | R | R
| (b) 21 mm walls | m2 | 1 | R | R
| (c) 341 mm walls | m2 | 1 | R | R
17.4.3 | Walling with clay face bricks to SABS 227-1986 in:
(a) Type FBA
| (i) 111 mm walls | m2 | 1 | R | R
| (ii) 21 mm walls | m2 | 1 | R | R
(b) Type FBX
| (i) 111 mm walls | m2 | 1 | R | R
| (ii) 21 mm walls | m2 | 1 | R | R
(c) Type FBS
| (i) 111 mm walls | m2 | 1 | R | R
| (ii) 21 mm walls | m2 | 1 | R | R
17.4.4 | Extra-over items 18.4.1, 18.4.2 and 18.4.3 for building in of miscellaneous walling materials
17.4.4.1 | Brickforce in the following widths
| (a) 71 mm | m | 1 | R | R
| (b) 11 mm | m | 1 | R | R
| (c) 221 mm | m | 1 | R | R
17.4.4.2 | Wire ties
| (a) Butterfly type wire tie | no | 1 | R | R
| (b) Modified PWD type wire tie | no | 1 | R | R
17.4.4.3 | Mild steel (non-coiled) round bars
| (a) 6 mm dia | m | 1 | R | R
| (b) 8 mm dia | m | 1 | R | R
17.4.4.4 | Precast concrete lintels
| (a) 11 mm wide | m | 1 | R | R
| (b) 221 x 1 mm cross section | m | 1 | R | R
| (c) 221 x 71 mm cross section | m | 1 | R | R
17.4.4.1 | Damp proof sheeting to SABS 912-1981
| (a) 371 micron polyolefin water proof sheeting under floor slabs and other positions instructed by the Engineer | m2 | 1 | R | R
(b) 371 micron polyolefin water proof sheeting in walls and window cills:
| (i) 11 m wide | m | 1 | R | R
| (ii) 221 mm wide | m | 1 | R | R
| (iii) 371 mm wide | m | 1 | R | R
17.4.4.6 | Soft board
(a) Plain
| (i) 1 mm thick | m2 | 1 | R | R
| (ii) 13 mm thick | m2 | 1 | R | R
(b) Bitumen impregnated
| (i) 1 mm thick | m2 | 1 | R | R
17.4.4.7 | Galvanised hoop iron | m | 1 | R | R
17.4.4.8 | Galvanised wire
| (a) 4 mm dia in 1 kg rolls | no | 2 | R | R
| (b) 3,11 mm dia in 1 kg rolls | no | 2 | R | R
17.4.1 | Extra-over items 18.4.1, 18.4.2 and 18.4.3 for forming of wall joints
| (a) 1 mm square raked joint, measured per square metre of walling | m2 | 1 | R | R
| (b) 1 mm square raked and tooled joint, measured per square metre of walling | m2 | 1 | R | R
17.1 | MODULAR PUMPHOUSE
17.1.1 | Remove old pumphouse and store temporarily for re-installation | no | 1 | R | R
17.1.2 | Install removal pump house | no | 1 | R | R
17.1.3 | Supply and install complete new modular pumphouse in compliance with plan nos. 121 811/97 ME and 121 816/97 ME | no | 1 | R | R
/
17.1.4 | Supply 1 mm padlock wit set of 3 keys | set | 1 | R | R
| (a) Small diesel engine - frame size 1 x 21 x 31 mm | set | 1 | R | R
| (b) Medium engines - frame size 600 x 21 x 31 mm | set | 1 | R | R
| (c) Large engines - frame size 1 x 21 x 61 mm | set | 1 | R | R
17.6 | TAP STANDS
| (a) Stand pipes - single type to Drawing No. 121 836/97 ME | no | 1 | R | R
| (b) Stand pipes - double type to Drawing No. 121 836/97 ME | no | 1 | R | R
SUBTOTAL |  |  |  |  | R
TOTAL SCHEDULE 12 CARRIED FORWARD TO SUMMARY |  |  |  |  | R

## Schedule 13 PVC storage
SCHEDULE 13 : PVC STORAGE TANK INSTALLATIONS
Item No. | Description | Unit | Qty | Rate | Amount
18. | PVC STORAGE TANK INSTALLATIONS
18.1 | SITE CLEARANCE
18.1.1 | Clear and grub site | m2 | 1 | R | R
18.1.2 | Remove and grub large trees and stumps of girth:
| (a) Over 1 m and up to and including 2 m | no | 1 | R | R
| (b) Over 2 m and up to and including 3 m | no | 1 | R | R
18.1.3 | Reclear surfaces (only on instructions from the Engineer) | m2 | 1 | R | R
18.1.4 | Dismantle and remove pipelines with internal diameter up to 11 mm | m | 1 | R | R
18.1.1 | Demolish and remove concrete structures:
| (a) Unreinforced | m3 | 1 | R | R
| (b) Reinforced | m3 | 1 | R | R
18.1.6 | Transport materials and debris to unspecified sites and dumps | m3/km | 1 | R | R
18.2 | EARTHWORKS (SMALL WORKS)
18.2.1 | Restricted excavation |  | 1 | R | R
| (a) Excavate for restricted foundations, footings, slabs and trenches in all materials and use for backfill or dispose | m3 | 1 | R | R
(b) Extra-over item 1.2.1a for:
| (i) Intermediate excavation | m3 | 1 | R | R
| (ii) Hard rock excavation | m3 | 1 | R | R
18.2.2 | Overhaul
| (a) Limited overhaul | m3 | 1 | R | R
| (b) Long overhaul | m3/km | 1 | R | R
18.2.3 | Importing of materials from borrow pits | m3 | 1 | R | R
18.2.4 | Topsoiling | m2 | 1 | R | R
18.3 | CONCRETE (ORDINARY BUILDINGS)
18.3.1 | Formwork
18.3.1.1 | (a) Rough
| (i) Horizontal | m2 | 1 | R | R
| (ii) Vertical | m2 | 1 | R | R
(b) Normal
| (i) Horizontal | m2 | 1 | R | R
| (ii) Vertical | m2 | 1 | R | R
(c) Special smooth, rubbed
| (i) Horizontal | m2 | 1 | R | R
| (ii) Vertical | m2 | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  | R
| BROUGHT FORWARD |  |  |  | R
18.3.1.2 | Narrow widths
| (a) Up to 1 mm | m | 1 | R | R
| (b) Exceeding 1 mm up to and including 600 mm | m | 1 | R | R
18.3.2 | Reinforcement
| (a) Mild steel bars | t | 1 | R | R
| (b) High tensile steel bars | t | 1 | R | R
(c) Welded mesh
| (i) ref. 193 | m2 | 1 | R | R
| (ii) ref. 241 | m2 | 1 | R | R
| (iii) ref. 391 | m2 | 1 | R | R
18.3.3 | Concrete
18.3.3.1 | Prescribed mix 1:3:6 (38) | m3 | 1 | R | R
18.3.3.2 | Strength mix (general works)
| (a) Class 11/19 | m3 | 1 | R | R
| (b) Class 1/19 | m3 | 1 | R | R
| (c) Class 21/19 | m3 | 1 | R | R
| (d) Class 1/19 | m3 | 1 | R | R
18.3.3.3 | Strength mix Class 21/19, including formwork, floated surface finish and mesh reinforcement and mild steel anchors mm thick concrete slab for:
| (a) One tank (2900 x 1) | no | 1 | R | R
| (b) two tank (2900 x 11) | no | 1 | R | R
| (c) three tank (2900 x 1) | no | 1 | R | R
| (d) four tank (2900 x 11) | no | 1 | R | R
18.3.3.4 | Blinding layer in class 11/19 concrete and 1 mm thick | m2 | 1 | R | R
18.3.3.1 | Unformed concrete surface finishes
| (a) Wood-floated finish | m2 | 1 | R | R
| (b) Steel-floated finish | m2 | 1 | R | R
18.3.3.6 | Brickwork (stretcherbond)
Foundation walling with clay bricks type NFX to SABS 227-1986 in:
| (a) 21 mm walls | m2 | 1 | R | R
| (b) 341 mm walls | m2 | 1 | R | R
18.3.6 | Extra-over item 1.3.1 for building in of miscellaneous walling materials:
18.3.6.1 | Brickforce in the following widths:
| (a) 11 mm | m | 1 | R | R
| (b) 221 mm | m | 1 | R | R
18.4 | Water tank (ground level installation)
| 1 000 l polyethylene water tank (2980 mm high x 2 1 mm diameter) detailed as fitting "H" on plan 121 821/97 ME, supplied, installed and anchored | no | 1 | R | R
18.1 | PIPES AND FITTINGS (ground level installation)
Supply, install and test the pipework and fittings installation arrangements:
| (a) One tank | set | 1 | R | R
| (b) Two tank | set | 1 | R | R
| (c) Three tank | set | 1 | R | R
| (d) Four tank | set | 1 | R | R
| SUBTOTAL CARRIED FORWARD |  |  |  | R
| BROUGHT FORWARD |  |  |  | R
18.6 | WATER TANK (elevated installation)
| 1 000 l polyethylene water tank (2980 mm high x 21 mm diameter) detailed as fitting "W" on plan 121 821/97 ME, supplied, erected and anchored. | no | 1 | R | R
18.7 | STEEL TANK STAND
Supply and erect elevated tank stand in accordance with plan nos.:
121 823/97 ME, 121 924/97 ME, 121 821/97 ME, 121 826/97 ME
| (a) Painted | set | 1 | R | R
| (b) Hot dip galvanised | set | 1 | R | R
18.8 | PIPES AND FITTINGS (elevated tank installation)
18.8.1 | Supply, install and test the pipework and fittings for the single tank installation | set | 1 | R | R
18.8.2 | Supply, install and test the pipework and fittings for the multiple tank installation:
| (a) Two tank arrangement | set | 1 | R | R
| (b) Three tank arrangement | set | 1 | R | R
18.9 | MARK-UP RATES
18.9.1 | (a) Percentage mark-up on rates listed on term contracts | % | 1 | % | R
18.9.2 | (b) Percentage mark-up on items approved by the client or his representative with attached invoices for material used. | % | 1 | % | R
ESTABLISHMENT OF FACILITIES
18.1 | Tip trucks
| (a) 6 m3 | h | 1 | R | R
| (b) 1 m3 | h | 1 | R | R
18.11 | Flat bed trucks
| (a) 1t | km | 1 | R | R
| (b) 7t | km | 1 | R | R
18.12 | LDV
| (a) 2 x 4WD | km | 1 | R | R
| (b) 4 x 4WD | km | 1 | R | R
| SUBTOTAL |  |  |  | R
| TOTAL SCHEDULE 13 CARRIED FORWARD TO SUMMARY |  |  |  | R
Mark up rates: 11%

## Schedule 14 dayworks
SCHEDULE 14 : DAYWORKS LABOUR
Items No | Description | Unit | Qty | Rate | Amount
19.1 | DAYWORKS LABOUR
| (a) Contractor's Representative | h | 1 | R | R
| (b) Surveyor | h | 1 | R | R
(c) Qualified Artisan
| (i) Plumber | h | 1 | R | R
| (ii) Boilermaker | h | 1 | R | R
| (iii) Bricklayer | h | 1 | R | R
| (iv) Plasterer | h | 1 | R | R
| (v) Welder with API 114 Certificate | h | 1 | R | R
| (vi) Electrician | h | 1 | R | R
| (d) Foreman, leader-hand | h | 1 | R | R
| (e) Semi-skilled labourer | h | 1 | R | R
| (f) Labourer | h | 1 | R | R
(g) Other
| (i) ……………………………………… | h | 1 | R | Rate only
| (ii) ……………………………………… | h | 1 | R | Rate only
| (iii) ……………………………………… | h | 1 | R | Rate only
| (iv) ……………………………………… | h | 1 | R | Rate only
19.2 | PLANTHIRE: WORK RATES ON SITE
19.2.1 | Crane 61 t - 80 t capacity | h | 1 | R | R
19.2.2 | TLB 60 kW - 70 kW | h | 1 | R | R
19.2.3 | Crawler Excavator 140 kW - 11 kW | h | 1 | R | R
19.2.4 | Bulldozer 160 kW - 170 kW | h | 1 | R | R
19.2.1 | Wheel loader 140 kW - 11 kW | h | 1 | R | R
19.2.6 | Motor graders 11 kW - 160 kW | h | 1 | R | R
19.2.7 | Wheel excavators 0,4 - 1,21 m3 bucket size | h | 1 | R | R
19.2.8 | Wheel tractor scrapers 11,0 - 16 m3 | h | 1 | R | R
19.2.9 | Tow tractors 1 kW - 21 kW | h | 1 | R | R
19.2.1 | (a) Water tankers 1 000 litre | h | 1 | R | R
| (b) Water tankers 1 000 litre | h | 1 | R | R
19.2.11 | Dump trucks 1 - 11 m3 | h | 1 | R | R
19.2.12 | Tip trucks
| (a) 6 m3 | h | 1 | R | R
| (b) 1 m3 | h | 1 | R | R
19.2.13 | Flat bed trucks
| (a) 1t | km | 1 | R | R
| (b) 7t | km | 1 | R | R
19.2.14 | LDV
| (a) 2 x 4WD | km | 1 | R | R
| (b) 4 x 4WD | km | 1 | R | R
19.2.11 | Lowbed 1 ton | km | 1 | R | R
19.2.16 | Plate compactors & tampers | h | 1 | R | R
19.2.17 | Grid rollers. Ballasted mass 14 600 kg | h | 1 | R | R
19.2.18 | Pneumatic tyred rollers 4 000 load/wheel kg | h | 1 | R | R
19.2.19 | Self propelled vibrating roller (smooth)
| 7 000 - 11 1 kg | h | 1 | R | R
19.2.1 | Self propelled vibrating roller (padfoot)
| 1 900 - 12 000 kg | h | 1 | R | R
19.2.21 | Walk-behind vibrating rollers
| (a) 1 - 61 kg | h | 1 | R | R
| (b) 980 - 1 31 kg | h | 1 | R | R
19.2.22 | Towed vibrating roller | h | 1 | R | R
19.2.23 | Portable compressors - Diesel (9,0 - 1,0 m3/min.) | h | 1 | R | R
19.2.24 | Concrete mixer (31 l: diesel driven) | h | 1 | R | R
19.2.21 | Concrete saw (self propelled) 1 - 11 kW | h | 1 | R | R
19.2.26 | Concrete vibrators (31 - 60 mm DN) | h | 1 | R | R
19.2.27 | Dumpers 0,1 m3 (Hydraulic tip) | h | 1 | R | R
19.2.28 | Water pump with 80 mm DN outlet (diesel driven) | h | 1 | R | R
19.2.29 | Arc-welding unit (1 A) | h | 1 | R | R
19.2.1 | Generating sets
| (a) 1,1 kVA (petrol) 21V | h | 1 | R | R
| (b) 1 kVA (petrol) 21V | h | 1 | R | R
| (c) 1 kVA (diesel) 380V - 3ph | h | 1 | R | R
| (d) 1 kVA (diesel) 380V - 3ph | h | 1 | R | R
| (e) 1 kVA (diesel) 380V - 3ph | h | 1 | R | R
19.3 | LABOUR BASED TOOLS
| (a) Pick | day | 1 | R | R
| (b) Shovel | day | 1 | R | R
| (c) Crowbar | day | 1 | R | R
| (d) Bucket (1 l ) | day | 1 | R | R
| (e) Wheelbarrow | day | 1 | R | R
19.4 | Percentage mark-up on items approved by the client or representative with attached invoices for material used. | % | 1000 | 11% | R
| SUBTOTAL |  |  |  | R
| TOTAL SCHEDULE 14 CARRIED FORWARD TO SUMMARY |  |  |  | R