## Schedule
NOTE: THE USE OF THIS SPREADSHEET IS AT YOUR OWN RISK. IT IS THE RESPONSIBILITY OF EACH AND EVERY INDIVIDUAL OR TENDERER TO ENSURE THAT THE QUANTITIES ARE AS PER THE BILL OF QUANTITIES ISSUED AND THAT THE CALCULATIONS ARE CORRECT. THE CLIENT ACCEPTS NO RESPONIBILITY OF THE USE OF THIS SPREADSHEET
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
1 | SANS 1200 A | SECTION 1 : PRELIMINARY AND GENERAL
1.1 | 8.3 | FIXED-CHARGE ITEMS
1.1.1 | PSA.8.3.1 | Contractual Requirements | Sum | 1
| 8.3.2 | Establish Facilities on the Site :
| PSAB.8.3.2.1 | a) Facilities for Engineer (SANS 1200 AB)
& PSA.8.3.2
1.1.2 | PSAB.3.2 | (i) Engineer’s Offices | Sum | 1
1.1.3 | PSAB.3.2 | (ii) Board Room and Facilities | No. | 1
1.1.4 | PSAB.3.3 | (iii) Car Ports (3No.) | Sum | 1
1.1.5 | PSAB..3.3 | (iv) Protective clothing | Sum | 1
1.1.6 |  | b) Facilities for Contractor | Sum | 1
1.1.7 | PSA.8.10 | (c ) Name board (2 No.) | Sum | 1
1.1.8 | SANS 1200 8.3.2.2 | Offices and storage sheds | Sum | 1
1.1.9 |  | Ablution and latrine facilities | Sum | 1
1.1.10 |  | Tools and equipment | Sum | 1
1.1.11 | 8.3.3 | Other fixed-charge obligations | Sum | 1
1.1.12 | PSA.8.3.4 | Remove Engineer's and Contractor's Site establishment on completion | Sum | 1
1.2 | PSA.8.4 | TIME-RELATED ITEMS
| PSA.8.4.1 | Time related preliminary and general charges
1.2.1 |  | a) Construction work period | Months | 6
1.2.2 | PSA.8.4.2.1 | Facilities for the Employer’s Agent as specified in PSAB | Sum | 1
1.2.3 | PSA.8.4.2.2 | b) Facilities for the Employer’s Agent as specified in PSA & PSAB | Sum | 1
1.2.4 | 8.4.3 | Contractors Supervision during the course of the Contract | Months | 6
1.2.5 | 8.4.4 | Company and head office overhead costs for the duration of the Contract | Months | 6
| PSA.8.4.6 | Compensation in terms of Subclause 5.12.2.4 and Clause 9 of the Conditions of Contract for delays incurred:
1.2.6 |  | a) Plant | Day | 10
1.2.7 |  | b) Labour | Day | 10
1.2.8 |  | c) Supervision | Day | 10
Total Carried Forward
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
Brought Forward | [5 empty] | 0
1.2.9 |  | d) Other services & facilities not covered above | Day | 10
1.3 | 8.5 | SUMS STATED PROVISIONALLY BY ENGINEER
1.3.1 | 8.5.1 | a) Relocation of existing services and fences where ordered by Engineer | Prov. Sum | 1 | 10000 | 10000
1.3.2 | 8.5.1 | b) Overhead, Charges and Profit on Item above | % | 10000
1.3.3 | 8.5.3 | a) Provisional Sum for crop and land compensation and damages to private property | Prov. Sum | 1 | 50000 | 50000
1.3.4 | 8.5.3 | b) Overhead, Charges and Profit on Item above | % | 50000
1.3.5 | PSA.8.11 | Quality Management Plan | Sum | 1
1.3.6 | PSA.8.12 | Provision of security personnel | Sum | 1
1.3.7 | PSA.8.14 | Allow for OHS Trainee | Prov Sum | 1 | 72000 | 72000
1.3.8 |  | Contractors markup on item above | % | 72000
1.3.9 |  | Allow for Civil Engineering Trainee x 2 | Prov Sum | 1 | 144000 | 144000
1.3.10 |  | Contractors markup on item above | % | 144000
1.3.11 |  | Allow for ECO Trainee | Prov Sum | 1 | 72000 | 72000
1.3.12 |  | Contractors markup on item above | % | 72000
1.3.13 |  | Provision for Additional Site Supervision by Engineers' Personel, namely Civil Technician, OHS Agent and ECO. | Prov Sum | 1 | 450000 | 450000
1.3.14 |  | Provision of Geotechnical Investigation / any other Tests as instructed by the Engineer a | Prov Sum | 1 | 50000 | 50000
1.3.15 |  | Allow for the provision of the Engineer's Bakkie for the duration of the Contract | Prov Sum | 1 | 120000 | 120000
1.3.16 |  | Percetange mark-up on item 1.3.13 to 1.3.15 | % | 620000
| 8.8.1 & PSDM13, PSDM9 | Acceptance testing
1.3.17 |  | a) Establishment costs (travel) | PS | 1 | 5000 | 5000
1.3.18 |  | b) Testing staff | PS | 1 | 5000 | 5000
1.3.19 |  | c) Testing | PS | 1 | 5000 | 5000
1.3.20 |  | e) Provision of Troxler on site | PS | 1 | 5000 | 5000
1.3.21 |  | f) Overheads & markup | % | 20000
1.3.22 | 8.5.2 & PSA.5.12 | Providing access | Sum | 1
1.4 | PSA.8.7 | DAYWORK
Total Carried Forward
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
Brought Forward
1.5 |  | LABOUR
1.5.1 |  | Site Agent | hours | 8
1.5.2 |  | Foreman | hours | 20
1.5.3 |  | Skilled Labour (Plumber, Electrician) | hours | 27
1.5.4 |  | Unskilled Labour | hours | 27
1.6 |  | PLANT
1.6.1 |  | For plant use in the execution of Dayworks as agreed with Engineer | Prov. Sum | 1 | 25000 | 25000
1.6.2 |  | Overhead, Charges and Profit on Item above | % | 25000
1.7 | 8.8 | TEMPORARY WORKS
| PS8.8.2 | Dealing with Traffic
1.7.1 |  | a) Accommodation of traffic | Sum | 1
b) Supply of signs, barriers and lamps
1.7.2 |  | i) Delineators including mounting bases and ballast. Single sided, reversible left or right. 800mmx200mm: | No. | 10
1.7.3 |  | (ii) Traffic cones, minimum height 600 mm | No. | 10
1.7.4 |  | (iii) Retroreflective road sign – R & TR series: 600 diam | No. | 5
1.7.5 |  | (iv) Illuminated road sign – W & TW series 900 sides | No. | 5
1.7.6 |  | c) Signposting | Weeks | 26
| PSA.8.8.7 | Dealing with water
1.7.7 |  | a) dealing with surface water | Sum | 1
1.7.8 |  | b) dealing with sub-surface water | Sum | 1
1.7.9 | 8.8.3 | Locate and Protect existing structures on a construction vicinity during project duration | Sum | 1
| PSA.8.8.4, PSDM17, PSDM4 | Existing services
1.7.10 |  | a) Protection of existing services | Sum | 1
1.7.11 | PSA.8.8.4 | c) Excavate by hand in soft material to expose existing services | m3 | 40
| 8.8.5 | Land Survey Act
1.7.12 |  | a) Search for and record trigonometrical survey beacons, bench marks and plot boundary pegs, and expose on completion of Works | Sum | 1
Total Carried Forward
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
Brought Forward
1.7.13 |  | b) Protect beacons, etc., located under item above and reposition or re-establish, as ordered, the same by a Registered Land Surveyor on completion of the Works | Sum | 1
1.7.14 | PSA.8.9 | Wayleave | Sum | 1
1.7.15 | PSA.8.13 | Employment of Comminity Liaison Officer for the duration of the Contract (R8500 pm plus R 500 pm for cellphone allowance) | Prov Sum | 1 | 60000 | 60000
1.7.16 |  | Contractors markup on item above | % | 60000
1.7.17 |  | Payment of PSC members for attendance of meetings for the duration of the contract (5 No members at R500 per member per meeting) | Prov. Sum | 1 | 20000 | 20000
1.7.18 |  | Contractors markup on item above | % | 20000
1.7.19 | PSA.8.15 | Survey for & preparation of as-built data | Sum | 1
Total Carried Forward To Summary
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
2 | PHS APP D | PART A2 : COMPLIANCE REQUIREMENTS
2.1 | PHS APP D | SECTION 2A: OCCUPATIONAL HEALTH & SAFETY
2.1.1 |  | Contractor's initial obligation in respect of the Occupational Health and Safety Act and Construction Regulations | Sum | 1
2.1.2 | PHS | Contractor's time related obligations in respect of the Occupational Health and Safety Act and Construction Regulations | Sum | 1
Penalty for late submission of the Health and Safety File
2.1.3 |  | (a) Initial once off penalty | Sum | 0 | -5000
2.1.4 |  | (b) Time related penalty | Week | 0 | -500
Costs of medical certificate and Medical Surveillance including Screenings for Employees with fever Symptoms
2.1.5 |  | a) Initial (baseline) medical examinations | No | 20
2.1.6 |  | b) Exit examinations | No | 20
2.1.7 |  | Allowance for Health & Safety Officer | Sum | 1
2.2 | PEM | SECTION 2B: ENVIRONMENTAL OBLIGATIONS
2.3 |  | COMPLIANCE WITH ENVIRONMENTAL MANAGEMENT PLAN (EMP)
2.3.1 | PEM.4.2 | Contractor's obligation in respect of compliance with the Environmemtal Management Plan | Sum | 1
2.3.2 | PEM.4.3 | Contractor's time related obligations in respect of compliance with the Environmental Management Plan | Sum | 1
2.3.3 | PEM.4.4 | Contractor's Environmental Liason Officer (ELO) for duration of the contract | Sum | 1
2.4 |  | TRANSGRESSION FINES
| PEM.4.5 | Fine for transgression of the Environmental Management plan (EMP)
2.4.1 |  | (a) Any persons, vehicles, plant or anything related to the Contractor's operations within the designated boundaries of a No-Go area | Sum | 0 | -5000
2.4.2 |  | (b) Any vehicle being driven, and items of plant or materials being parked or stored outside the demarcated boundaries of the site | Sum | 0 | -3000
2.4.3 |  | (c) Persons walking outside the demarcated boundaries of the site | Sum | 0 | -1000
2.4.4 |  | (e) Persistent and un-repaired oil leaks from machinery | Sum | 0 | -1000
2.4.5 |  | (f) The use of inappropriate methods of refuelling | Sum | 0 | -1000
Total Carried Forward
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
Brought Forward
2.4.6 |  | (g) Litter on the site | Sum | 0 | -500
2.4.7 |  | (h) The eating of meals on site outside the defined eating areas | Sum | 0 | -1000
2.4.8 |  | (i) Individuals not making use of the site ablution facilities | Sum | 0 | -1000
2.4.9 |  | (j) Dust or excessive noise on or emanating from the site | Sum | 0 | -1000
2.5 |  | PENALTIES FOR GENERAL NON COMPLIANCE
| PEM.4.6 | (a) Recovery of actual costs
2.5.1 |  | (i) Nominal rehabilitation cost of erosion repair | Sum | 0 | -5000
2.5.2 |  | (ii) Cleanup of oil spills | Sum | 0 | -10000
2.6 |  | PENALTIES FOR UNAUTHORISED TREE REMOVAL OR DAMAGE
| PEM.4.7 | Damage to or removal of trees without prior permission
2.6.1 |  | (a) Girth 0-1m | No. | 0 | -3000
2.6.2 |  | (b) Girth 1-2m | No. | 0 | -5000
Total Carried Forward To Summary
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
3 | SANS 1200 DB | SECTION B: PIPELINES
3.1 | SANS 1200 C | SITE CLEARANCE
3.1.1 | PSC.8.2.1 | Clear and grub Site | m2 | 34500
| 8.2.2 | Remove and grub large trees and tree stumps of girth Over and up to
3.1.2 |  | a) Over 1 m and up to and including 2 m | No. | 2
3.1.3 | 8.2.4 | Reclear surfaces (provisional) (where ordered by Engineer) | ha | 2
| 8.2.5 | Take down and re-erect existing fences
3.1.4 |  | a) Wire fences up to 1,8m high | m | 500
3.1.5 |  | b) PC concrete fences up to 1,8m high | m | 100
3.1.6 | PSC.8.2.10 | Remove topsoil 1m wide to a nominal depth of 150mm and stockpile | m³ | 1000
3.1.7 | PSC.8.2.12 | Temporary fencing closures (Veldspan) 1.5m high | m | 200
| PSC.8.2.16 | Demarcation of servitude
3.1.8 |  | a) By wooden stakes | m | 200
| PSC.8.2.15 | Remove & reinstate existing
3.1.9 |  | a) Kerbs of edge restraints | m | 10
| PA.12.02 | New gates
3.1.10 |  | a) Single leaf | No. | 2
3.2 |  | EXCAVATION
| PSDB.8.3.2(a) | Excavate in all materials for trenches backfill, compact, and dispose of surplus/unsuitable material, for pipes: Up to 110 mm diam. for total trench depth:
a) Exceeding 0,0 m but not exceeding 1,0 m
3.2.1 |  | i) Rising main borehole to reservoir | m | 1000
3.2.2 |  | ii) ND90 gravity main from reservoir to first junction | m | 1500
3.2.3 |  | iii) Pipelines up to and including ND75 HDPE | m | 8000
b) Exceeding 1,0 m but not exceeding 2,0 m
3.2.4 |  | i) Rising main borehole to reservoir | m | 200
3.2.5 |  | ii) ND90 gravity main from reservoir to first junction | m | 300
3.2.6 |  | iii) Pipelines up to and including ND75 HDPE | m | 400
| PSDB.8.3.2(b) | b) Extra-over items 3.2.1 to 3.2.6 incl. for (prov):
Total Carried Forward
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
Brought Forward
3.2.7 |  | 2) Hard rock excavation | m³ | 500
3.2.8 |  | 3) Extra over 8.3.2a.and PSDB 8.3.2b for disposing of spoil material on a site provided by the Contractor | m³ | 100
3.2.9 |  | 4) Backfill stabilised with 5% cement, where directed by the Employer’s Agent | m³ | 10
3.2.10 |  | 5) Soilcrete backfill where directed by the Employer’s Agent | m³ | 10
EXCAVATION. ANCILLARIES Make up deficiency in backfill material (Provisional)
3.2.11 | 8.3.3.1(a) | from other necessary excavations on site | m³ | 1500
3.2.12 | 8.3.3.1(b) | by importation from designated borrow pits | m³ | 500
3.2.13 | 8.3.3.1(c) | by importation from commercial or off-site sources selected by the Contractor | m³ | 500
3.2.14 | PSDB. 8.3.3.3 | Compaction in road reserves | m³ | 20
3.3 |  | SERVICES
| PSA.8.8.4 | Prove existing services by hand excavation on direction by Engineer (Provisional), where depth is over:
a) For depths:
3.3.1 |  | i) 0.0m and not exceeding 1,0m | m³ | 45
3.3.2 |  | ii) 1,0m and not exceeding 1,5m | m³ | 25
Existing services that intersect or adjoin a pipe trench
3.3.3 | 8.3.5 (a) | a) Services that intersect a trench | No. | 15
3.3.4 | 8.3.5(b) | b) Services that adjoin a trench | m | 70
3.4 |  | FINISHINGS
| 8.3.6 | Reinstate road surfaces
3.4.1 |  | a) Complete with all courses except surfacing | m² | 15
3.4.2 |  | b) Gravel surfaced | m² | 50
3.4.3 |  | c) Asphalt 50 mm thick on roadway | m² | 20
3.4.4 |  | e) Gravel shoulders | m² | 10
| PSDB.8.3.11 | Slope stabilisation
3.4.5 |  | a) Cross Embankments | m³ | 30
3.4.6 |  | c) Anchor blocks | m³ | 10
3.4.7 |  | d) Erosion control berms | m³ | 30
Total Carried Forward
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
Brought Forward
3.4.8 |  | e) Sack Breakers | m³ | 30
3.5 | SANS 1200 LB | BEDDING
| 8.2.1 | From trench excavations
Selected granular material
a) 200mm thick bedding cradle below pipe.
3.5.1 |  | i) Rising main borehole to reservoir | m³ | 50
3.5.2 |  | ii) ND90 gravity main | m³ | 50
3.5.3 |  | iii) Pipelines up to and including ND75 HDPE | m³ | 100
b) For bedding around pipe up to 100mm above pipe crown.
3.5.4 |  | i) Rising main borehole to reservoir | m³ | 20
3.5.5 |  | ii) ND90 gravity main from reservoir to first junction | m³ | 20
3.5.6 |  | iii) Pipelines up to and including ND75 HDPE | m³ | 50
3.6 | 8.2.2 | IMPORTED BEDDING
| 8.2.2.1 | From other necessary excavations (including haulage)
a) 200mm thick bedding cradle below pipe.
3.6.1 |  | i) Rising main borehole to reservoir | m³ | 10
3.6.2 |  | ii) ND90 gravity main | m³ | 10
3.6.3 |  | iii) Pipelines up to and including ND75 HDPE | m³ | 10
b) For bedding around pipe up to 100mm above pipe crown.
3.6.4 |  | i) Rising main borehole to reservoir | m³ | 10
3.6.5 |  | ii) ND90 gravity main from reservoir to first junction | m³ | 10
3.6.6 |  | iii) Pipelines up to and including ND75 HDPE | m³ | 10
| PSLB 8.2.2.3 | From commercial sources (including hauling)
Selected granular material
a) 200mm thick bedding cradle below pipe.
3.6.7 |  | i) Rising main borehole to reservoir | m³ | 50
3.6.8 |  | ii) ND90 gravity main | m³ | 100
3.6.9 |  | iii) Pipelines up to and including ND75 HDPE | m³ | 500
b) For bedding around pipe up to 100mm above pipe crown.
Total Carried Forward
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
Brought Forward
3.6.10 |  | i) Rising main borehole to reservoir | m³ | 50
3.6.11 |  | ii) ND90 gravity main from reservoir to first junction | m³ | 100
3.6.12 |  | iii) Pipelines up to and including ND75 HDPE | m³ | 400
| PLSB 8.2.6 | Extra over 8.2.1 and 8.2.2.1 to screen material for:
3.6.13 |  | a) Selected granular material | m³ | 100
3.6.14 |  | b) Selected fill materioal | m³ | 100
3.6.15 | PLSB 8.2.7 | Provision of stone/geofabric to deal with water | m³ | 50
| PSLB.8.2.6 | Supply only of geofabric
3.6.16 |  | a) Grade A4 geofabric | m² | 420
3.7 |  | ENCASING PIPES
| 8.2.4 | a) Grade 20/19 to:
3.7.1 |  | i) Rising main borehole to reservoir | m³ | 2
3.7.2 |  | ii) ND90 gravity main from reservoir to first junction | m³ | 3
3.7.3 |  | iii) Pipelines up to and including ND75 HDPE | m³ | 5
| PSL.8.2.1 | Supply, bed, lay, disinfect, join, backfill and test potable water pipelines. All works inclusive in the rate, except where specific items are provided. All activites in accordance with project specifications.:
HDPe Pipes to SABS 533
3.7.4 |  | 50 mm dia. PN 10 | m | 3400
3.7.5 |  | 50 mm dia. PN 12 | m | 300
3.7.6 |  | 63 mm dia. PN 10 | m | 4000
3.7.7 |  | 63mm dia. PN 12 | m | 300
3.7.8 |  | 75mm dia. PN 10 | m | 400
| PSL.8.2.1 | mPVC Pipes class 9
3.7.9 |  | 90 mm dia. mPVC pipes | m | 1800
3.8 | PSL.8.2.1 | RISING MAIN PIPELINE
3.8.1 |  | 63 mm dia. HDPe PN 16 to SABS 533 | m | 1200
3.8.2 | PSL 8.2.16 | Pipeline Markers ( as per drawing) | No. | 35
3.8.3 |  | Supply and install standpipe complete including HDPE saddle, 32mm HDPe pipe(20m), tap and galvanised riser pipe, concrete work including shuttering, elbows, nipples, etc, as per standard drawing. Work to be executed by a nominated sub contractor | No | 30
Total Carried Forward
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
Brought Forward
3.8.4 |  | Install Aqua Flow limiters where instructed by the Engineer. | No | 5
3.9 | SANS 1200 L | PIPE FITTINGS AND SPECIALS
| PSL.8.2.2 | Supplying, Laying and Bedding of Specials complete with Couplings as follows:-
Supply, lay, joint and bed including cutting pipes where required for the following:
HDPE Pipe Bends (Class 16)
3.9.1 |  | 50mm dia. x 45° bends. | No. | 10
3.9.2 |  | 50mm dia. x 90° bends. | No. | 10
3.9.3 |  | 63mm dia. x 45° bends. | No. | 10
3.9.4 |  | 63mm dia. x 90° bends. | No. | 10
3.9.5 |  | 75mm dia. x 45° bends. | No | 5
3.9.6 |  | 75mm dia. x 90° bends. | No | 5
Reducers (Class 16)
3.9.7 |  | 63mm HPDe x 50mm HDPe | No. | 5
3.9.8 |  | 75mm HPDe x 50mm HDPs | No | 2
3.9.9 |  | 90mm mPVC x 63mm | No | 2
3.9.10 |  | 90mm mPVC x 75mm | No | 2
Tee (Class 16)
3.9.11 |  | 63mm HPDe x 50mm HDPE | No | 5
3.9.12 |  | 63mm HPDe x 63mm HDPE | No | 3
3.9.13 |  | 75mm HPDe x 75mm HDPE | No | 3
3.9.14 |  | 90mm mPVC x 90mm mPVC | No | 2
HDPE End Caps(PN16)
3.9.15 |  | 50mm HPDe | No | 20
3.9.16 |  | 63mm HPDe | No | 5
3.10 | PSL.8.2.3 | VALVES
Extra-over 8.2.1 for the supplying, fixing and Bedding of Valves as indicated below:
| PSL 3.10.1 | Supply and install the following flanged resilient seal gate valves complete with valve chamber with non-rising spindle, Clockwise closing, including all gaskets, bolts, nuts and washers as per detailed drawing
3.10.1 |  | a) 50mm on HDPE pipe | No. | 11
Total Carried Forward
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
Brought Forward
3.10.2 |  | b) 63mm on HDPE pipe | No. | 5
3.10.3 |  | c) 75mm on HDPE pipe | No | 3
3.10.4 |  | d) 90mm on uPVC pipe | No | 2
| PSL 3.10.2 | Air Valves Complete (SANS 815 PN16)
3.10.5 | 8.2.5 | Supply and install Air Valve assemblies Complete with valve chamber as per detailed drawings. Rate is inclusive of valve chamber and all fittings. 50mm dia Variant 050LS16 air valve or similar approved air valve on: | No | 15
3.10.6 |  | a) 50mm dia pipe | No | 9
3.10.7 |  | b) 63mm dia pipe | No | 5
3.10.8 |  | c) 75mm dia pipe | No | 3
3.10.9 |  | d) 90mm dia pipe | No | 1
Supply and install the following flanged wedge gate scour valves complete with valve chamber with non-rising spindle, Clockwise closing, including all gaskets, bolts, nuts and washers as per detailed drawing
3.10.10 |  | a) 50mm on HDPE pipe | No. | 2
3.10.11 |  | b) 63mm on HDPE pipe | No. | 1
3.10.12 |  | c) 75mm on HDPE pipe | No | 2
3.10.13 |  | d) 90mm dia pipe | No | 1
| PSL 3.10.4 | Non-return valves complete (check valves)
Supply, handle and install full swing non-return valve to pumped line AKV or similar incl. all pipework and fittings -ND50 PN16 (model 41/60 ).
3.10.14 |  | a) 50mm diameter | No | 1
3.10.15 |  | b) 90mm diameter | No | 1
Bulk Water Meter Complete
3.10.16 | PSL.3.10.3 | Supply and install Bulk Water Meter assemblies Complete with valve chamber as per detailed drawings. 50-250 Kent Helix 4000 | No. | 3
3.11 |  | BREAK PRESSURE TANKS (BPTS)
3.11.1 | PSL.3.10.6 | Supply, handle and install BPT's as supplied by LW Tank Sysrems or similar including all pipework and fittings - 80mm (model 03LW16). | No. | 7
3.12 |  | SUNDRIES
3.12.1 | 8.2.7 | Connect to suction and delivery mains at pump station | No. | 1
| PSL.8.2.11 | Anchor blocks, concrete mix, 20Mpa
Total Carried Forward
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
Brought Forward
3.12.2 |  | Construct mass 20Mpa concrete anchor / thrust block complete as directed by RE on site. Rate to include for installation and removal of formwork. | m³ | 5
| PSL.8.2.16 | Marker blocks
3.12.3 |  | a) Valve markers | No. | 9
3.12.4 |  | c) Road crossing markers | No. | 15
3.13 | PC | REHABILITATION
PEM
3.13.1 | PEM.4.8 | Ripping of compacted and disturbed areas to 150mm depth on designated areas | m² | 500
3.13.2 | PEM.4.9 | Hand trimming | m² | 500
3.13.3 | PEM.4.10//PC.8.1 | Topsoiling | m² | 500
| PC8/ PC3 | Fertilizer
3.13.4 |  | a) Lime | t | 0.1
3.13.5 |  | b) Superphosphate | t | 0.1
| PC3/PC.8.3 | Grassing or other Vegetation Cover
| PC8.4 | a) Hydromulching
3.13.6 |  | i) Providing an approved seed mixture for hydroseeding | kg | 6
3.13.7 |  | ii) Providing an approved mulch | kg | 6
3.13.8 | PEM | Alien vegetation clearing programme | PS | 1
3.13.9 |  | a) Shoulder Weed Spray: 300mm wide | m | 3500
Total Carried Forward To Summary
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
4 | SANS 1200LG | SECTION C: PIPE JACKING
4.1 |  | PIPE JACKING ACROSS MAIN ROAD
| 8.2.1 | Jacking establishment
4.1.1 |  | a) Fixed charges | Sum | 1
4.1.2 |  | b) Time related charges (state duration) | Sum | 1
Excavation and backfilling
| 8.2.4 | Excavate for pipes at the jacking face (including removal and disposal of surplus excavated material within a 0,5 km radius of the working area) in material that is:
4.1.3 |  | a) Soft cohesive soil | m³ | 30
4.1.4 |  | c) Hard pickable soil | m³ | 10
4.1.5 |  | e) Very hard material occurring in bulk requiring extraordinary techniques for breaking, or boulders larger than 0.10 m3, or both | m³ | 5
4.1.6 |  | f) A mixture of two or more of (a) - (e) above | m³ | 5
| 8.2.2 | Supply of pipes to be jacked
4.1.7 |  | a) 375 mm dia. Concrete jacking (In-the -wall-joint) 100D pipe | m | 26
| 8.2.3 | Jacking of pipes into their final positions
4.1.8 |  | a) 375 mm dia. Concrete jacking (In-the -wall-joint) 100D pipe | m | 26
| 8.2.9 | Grouting: Injection of low strength cement/sand grout,
4.1.9 |  | a) Provide equipment and remove on completion | Sum | 1
4.1.10 |  | b) Operate equipment (Tenderer to fill in No. of days) | Days | 0 | 9500
4.1.11 |  | c) Materials | m³ | 3
4.1.12 |  | Standing time for pipe jacking gang complete with equipment where approved (Tenderer to fill in No. of hours) | hours | 0 | 7000
Total Carried Forward To Summary
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
5 | SANS 1200G | SECTION D: BOREHOLE PUMPSTATION
Pump Station Building
5.1 | 8.2.1 | a) Supply all material and labour to construct borehole pump station building complete in accordance with standard drawing and as directed by the Engineer including a 914 x 2134 type BV transformer door. The tendered rate shall be inclusive of elctrical wiring and fittings, all earthworks and relevant tests required. All materials and workmanship to conform to specifications. | Prov Sum | 1 | 450000 | 450000
5.2 |  | b) Contractor's mark up on item above | % | 450000
Guardroom
5.3 |  | a) Supply all material and labour to Construct of new security guard-house with Solar for Lighting at the borehole pumpstation entrance. The tendered rate shall be inclusive of all earthworks, Aluminium Gutters, Electrical Wiring, fittings and all relevant tests required, in accordance with standard drawing and as directed by the Engineer. All materials and workmanship to conform to specifications. Provision of a Water Tank (10 000 L) complete with Valves, Stand with Anchor Wires and a Double Pit VIP Toilet | Prov. Sum | 1 | 200000 | 200000
5.4 | 8.2.4 | b) Contractor's mark up on item above | % | 150000
| PA.12.01 | Supply and erection of new fencing material
d) Security Fencing - Clear view as per PA08
5.5 |  | Supply and install 2,4m high clear view fencing with 10mm shark tooth spikes fasten using anti vandal botls at 150mm centres. Rate should include fence line clearance, excavations etc. | Prov Sum | 1 | 350000 | 350000
5.6 |  | b) Contractor's mark up on item above | % | 350000
| PA.12.02 | New gates
5.7 |  | b) Supply and install double leaf vehicle gates. Height 2.4m Clearview construction to match fence | No | 2
Borehole and Booster pump installations
5.8 |  | a) Construct Pumping Station at Borehole BH-01(New). Supply and install electrical driven borehole pumpset with Grundfos pumps or similar approved. The tendered rate should include the installation of all Electrical and Mechanical works (electrical cabling, control panel, all pipework, water meters, valves, pump controls, etc). The contractor will also be required to compile an operations manual and train operators as identified by the Client. The electrical materials are measured else where under electrification of borehole pump station. Duty: H = 125m and Q = 1.1ℓ/s | Prov Sum | 1 | 450000 | 450000
5.9 |  | Contractor's mark up on item above | % | 450000
| 8.2.1 | Power Connection from Eskom
5.10 |  | Power supply from Eskom Kiosk for both Borehole Pump Station. | Prov Sum | 1 | 250000 | 250000
Total Carried Forward
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
Brought Forward
5.11 |  | Contractor's mark up on item above | % | 250000
Supply and instal HDPE tanks on a level , compacted crushed stone base. Tanks to be , UV-stabilsed with BPA free food grade lining and black inner layer.
5.12 |  | a) 5000l chlorine contact tank | No | 1
Supply and instal with all ancillaries, a polyethelene tanks on a level , compacted crushed stone base. Tanks to have a large screw cap and surfaces for mounting dosing pumps, mixers and level control.
5.13 |  | b) 40l chlorine dosing tank | No | 1
5.14 |  | Supply and instal a Klorman In-Line chlorination Unit or similar approved chloring dosing pump. Dosing capacity 4l/hr of 12% sodium hypochlorite solution (NaOCl ) | No | 1
5.15 |  | Construction of a Guard House in the Pump Station as per the Drawing | Sum | 1
Total Carried Forward To Summary
ITEM NO | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT R
6 | SABS 1200DK | SECTION E: GABIONS
6.1 |  | PREPARATION
| 8.2.1 | Surface preparation for bedding of gabions
6.1.1 |  | a) Cavities filled with approved excavated material or rock | m² | 30
6.2 |  | BASKETS
| 8.2.2 | Construct gabions using PVC-coated galvanized wire mesh
6.2.1 |  | a) Top mattresses of depth 0,17 m with diaphragms providing 2 m x 1 m cells | m³ | 5.2
6.2.2 |  | b) Foundation mattresses of depth 0,23 m with diaphragms providing 2 m x 1 m cells | m³ | 10
6.2.3 |  | c) Gabions of section 0,5 m x 0,5 m for walls | m³ | 12
6.3 |  | GEOTEXTILE
| 8.2.4 | Geotextile non-woven polyester grade A3 placed where ground water seepage occurs
6.3.1 |  | a) below foundation mattresses | m² | 30
6.3.2 |  | b) backing to gabion baskets | m² | 20
6.4 |  | PITCHING
6.4.1 | 8.2.5 | Plain pitching of thickness at least 100 mm as directed on site (Provisional) | m² | 14
6.4.2 | 8.2.5 | Grouted pitching of thickness at least 100 mm as directed on site (Provisional) | m³ | 3
Total Carried Forward To Summary