## Ndimakude Water Supply
NOTE: THE USE OF THIS SPREADSHEET IS AT YOUR OWN RISK. IT IS THE RESPONSIBILITY OF EACH AND EVERY INDIVIDUAL OR TENDERER TO ENSURE THAT THE QUANTITIES ARE AS PER THE BILL OF QUANTITIES ISSUED AND THAT THE CALCULATIONS ARE CORRECT. THE CLIENT ACCEPTS NO RESPONIBILITY OF THE USE OF THIS SPREADSHEET
ITEM NO | PAYMENT | DESCRIPTION | UNIT | BILLED QTY | RATE | AMOUNT
1 | SANS 1200 A | PRELIMINARY AND GENERAL
1.1 | 8.3 | Scheduled Fixed-Charge and Value-Related Items
1.1.1 | 8.3.1 | Contractual Requirements | Sum | 1
1.1.2 |  | Nameboards (1 No.) | Sum | 1
Provision for the site facilities:
1.1.2 | 8.3.2.1 | a) Facilities for the Engineer | Sum | 1
1.1.3 | 8.3.2.2 | b) Facilities for the Contractor | Sum | 1
1.1.4 | 8.3.3 | General reponsibilities and other fixed charge obligations | Sum | 1
1.1.5 | 8.3.4 | Removal of site establishment on completion | Sum | 1
1.1.6 |  | Compliance with the OHS Act regulations | Sum | 1
1.1.7 |  | Allowance for Health and Safety Officer | Sum | 1
1.2 | 8.4 | SCHEDULED TIME-RELATED ITEMS
1.2.1 | 8.4.1 | Contractual requirements | Sum | 1
1.2.2 | 8.4.2 | Occupation and maintanance of the site facilities | Sum | 1
1.2.3 | 8.4.2.1 | a) Facilities required by the Engineer | Sum | 1
1.2.4 | 8.4.2.2 | b) Facilities required by the Contractor | Sum | 1
1.2.5 |  | General responsibilities and other time related abligations | Sum | 1
1.2.6 | 8.4.3 | Supervision for the duration of the contract | Sum | 1
1.2.7 |  | Compliance with the OHS Act regulations | Sum | 1
1.2.8 |  | Dealing with water (Subclause 5.5) | Sum | 1
1.3 |  | PROVISIONAL SUMS
COMMUNITY LIASON OFFICER
1.3.1 | PSA3 | Employment of CLO for the duration of the Contract (8500 pm plus R500 pm cellphone allowance) | Prov. Sum | 1 | 54000 | 54000
1.3.2 |  | Employent of PSC for the duration of the contract (5No at R500 pm each) | Prov. Sum | 1 | 15000 | 15000
1.3.3 |  | Contractors markup on the above (1.3.1 and 1.3.2) | % | 69000
1.3.4 |  | Provision of a vehicle for Engineer for the Duration of Contract | Prov. Sum | 1 | 210000 | 210000
1.3.5 |  | Contractors markup on the above (1.3.4) | % | 210000
Total Carried Forward
Brought Forward
1.3.4 |  | Allowance for the Engineers site Personnel for the duration of the Contract | Prov. Sum | 1 | 97100 | 97100
1.3.5 |  | Percetange adjustment to Engineer's Site Representitives above. | % | 97100
1.3.6 |  | Dayworks
1.3.7 |  | Foreman | hr | 10
1.3.8 |  | Skilled | hr | 10
1.3.9 |  | Semi-skilled | hr | 10
1.3.10 |  | Unskilled | hr | 30
1.3.11 | PS 26 | As-built survey | Sum | 1
1.3.12 |  | Additional External full-time SACPCMP registered Construction Health and Safety Officer supervision for the duration of the contract | Prov. Sum | 1 | 55000 | 55000
1.3.13 |  | Overheads, charges & profit on above provisional sum | % | 55000
1.3.14 |  | Additional Allowance for Social Facilitation (ISD) services for the duration of the contract | Prov. Sum | 1 | 45000 | 45000
1.3.15 |  | Overheads, charges & profit on above provisional sum | % | 45000
1.3.16 |  | Additional Allowance for ECO for the duration of the contract | Prov. Sum | 1 | 45000 | 45000
1.3.17 |  | Overheads, charges & profit on above provisional sum | % | 45000
Total Carried Forward To Summary
2 | SANS 1200 C & PSC | SITE CLEARANCE
2.1 |  | CLEAR SITE
2.1.1 | 8.2.1 | Clear and grub vegetation in strip 2m wide on pipe route. Rate to include for trees of girth up to and including 1m. | m | 4406
2.1.2 | 8.2.2 | Where instructed remove and grub large trees and tree stumps of girth:
2.1.2.1 | 8.2.2(a) | over 1m and up to 2m. | No. | 2
2.1.3 | 8.2.10 | Remove topsoil in 600mm wide strip to depth of 150mm, stockpile, maintain and reinstate. | m3 | 561.765
2.1.4 | PSC 8.2.13 | Remove existing gravel layer works to stockpile and maintain (for use as selected layers) as instructed by the Engineer.
2.1.4.1 |  | Gravel layer works to District Roads. | m³ | 0
2.1.4.2 |  | Fill material | m³ | 0
2.1.4.3 |  | Relocation of existing fences | km | 1
Total Carried Forward To Summary
3 | SANS 1200 200 DB | EXCAVATIONS (PIPE TRENCHES)
3.1 | PSDB 8.3.2 | Excavation
3.1.1 | 8.3.2(a) | Excavate in all materials for trenches backfill and dispose of surplus and unsuitable .Rate to include for all temporary works including triming, shoring and dewatering where necessary:
3.1.1.1 |  | Up to and including 250mm ND for total trench depth:
3.1.1.1.1 |  | Exceeding 0,0m but not exceeding 1.5m | m | 3745.1
3.1.1.1.2 |  | Exceeding 1,5m but not exceeding | m | 660.9
2,5m
3.1.1.1.3 |  | Exceeding 2,5m but not exceeding | m | 0
3,5m
3.1.1.1.4 |  | Extra over item for 3.1.1.1.1 to 3.1.1.1.4 for Excavation in :
|  | 1) Intermidiate Material | m³ | 220.3
|  | 2) Hard Rock( Blasting) | m³ | 0
|  | 3) Hard rock excavation near residential buildings (Mounted Hydraualic breaker where directed by the Engineer | m³ | 110.15
|  | Extra over items 3.1.1.1.1 to 3.1.1.1.4 for diverting stream flow and excavation through river crossing at the following Stake Value(s): | m³ | 132.18
3.1.1.1.5 |  | Erosion berms as per drawing STD 26 | No. | 10
| PSDB 8.2.4 | Shore trench opposite structure or service (Provisional) | m | 200
| 8.3.5 | Existing Services that Intersect or Adjoin a Pipe trench
| 8.3.5 (a) | Services that intersect a trench:
|  | Concrete Pipe up to 1000mm dia. | No. | 2
|  | Water/Sewer pipe up to 450mm ND | No. | 0
|  | Telkom U/G cables | No. | 2
|  | Telkom O/H Cables | No. | 2
Total Carried Forward
Brought Forward
|  | Eskom U/G cables | No. | 5
|  | Eskom O/H Cables | No. | 5
|  | Neotel Cables | No. | 0
|  | Service connections crossing pipe | No. | 100
trench - Water
|  | Service connections crossing pipe | No. | 50
trench - Electricity
|  | Service connections crossing pipe | No. | 0
trench - Sewer
|  | Service connections crossing pipe | No. | 100
trench - Other
| 8.3.5 (b) | Services that adjoin a trench
|  | Concrete Pipe up to 1000mm dia. | m | 100
|  | Water/Sewer pipe up to | m | 200
450mm ND
|  | Telkom U/G cables | m | 50
|  | Telkom O/H Cables | m | 50
|  | Eskom U/G cables | m | 20
|  | Eskom O/H Cables | m | 15
|  | Neotel Cables | m | 0
|  | Service connections crossing pipe | m | 20
trench - Water
|  | Service connections crossing pipe | m | 20
trench - Electricity
|  | Service connections crossing pipe | m | 0
trench - Sewer
|  | Service connections crossing pipe | m | 0
trench - Other
| 8.3.6 | Finishing
| PSDB 8.3.8 | Reinstate existing gravel layer works from stockpile :
|  | Gravel layer works to footway and driveways. | m³ | 100
|  | Unstablised gravel and crushed stone layer works to roads. | m³ | 150
|  | Stabilised gravel layer works to roads (Provisional). | m³ | 100
Total Carried Forward
Brought Forward
| PSDB 8.3.11 | Reinstate new gravel layer works from commercial sources : | m³ | 100
| PSDB 8.3.12 | Reinstate new concrete surfaces(25mpa) (Provisional). | m³ | 0
| PSDB 8.3.10 | Reinstate existing precast concrete sidewalk pavers from stockpile. | m² | 0
Selected Natural Gravel Subgrade (G7 quality material), from contractor's source compacted to 93 % Mod AASHTO Density
|  | From Commercial Source | m³ | 20
|  | From Stockpile (Provisional) | m³ | 20
| SANS 1200 ME | SUBBASE
| 8.3.3 | Construct selected natural subbase from commercial source, (G5 quality material), compacted to 95% Mod AASHTO density
|  | 150mm thick for Asphalt Roads | m³ | 0
| 8.3.3 | Construct selected natural subbase from commercial source, (G6 quality material), compacted to 95% Mod AASHTO density
|  | 150mm thick for Asphalt Roads | m³ | 0
| SANS 1200 MF | BASE
| 8.3.3 | Construct base with material from commercial sources
Graded crushed stone
Construct 26.5mm graded crushed stone base with material from commercial source, (G2 quality material to TRH4 compliance) compacted to 100% Mod AASHTO Density:
|  | 150mm thick for Asphalt Roads | m³ | 0
| SANS 1200 MH | ASPHALT
| 8.5.1 | Prime Coat: Prime coat using MC 30 bitumen (or similar approved) at 0.7 Litres/m²
|  | Carriageway | m² | 0
Total Carried Forward
Brought Forward
| 8.5.5 | Variariations in quantities of prime:
|  | MC 30 | litre | 0
| 8.5.3 | Tack Coat:
|  | Spray surface using 30% stable grade emulsion at 0.3 litres/m² | m² | 0
| PSMH 8.5.4 | Asphalt Surfacing
Continuously medium graded asphalt using 35/50 Pen. Grade bitumen:
|  | 30mm to roads | m² | 0
| PSDB 5.9.4 | Reinstate bitumen driveways, footways and kerbs | m² | 0
|  | Reinstate paved (brick) driveways, footways and kerbs | m² | 0
|  | Reinstate paved (cobbles) driveways, footways and kerbs | m² | 0
| SANS 1200 MK | CONCRETE KERBING AND CHANELLING
| 8.2.2 | All precast concrete kerb. | m | 0
|  | All precast concrete kerb and channel (Provisional Quantity). | m | 0
|  | Concrete chute to stormwater inlet (Provisional Quantity). | m | 0
|  | All asphalt kerb. | m | 0
| SANS 1200 MM | ANCILLARY ROADWORKS
| 8.4 | Scheduled items for Road Markings
Retro- reflective road marking paint applied at nominal rate of 0.42l/m² (including glass beads, setting out and pre-marking for characters, symbols & traffic islands) :
|  | White lines (broken or unbroken, width 100mm, Provisional) | m | 0
|  | White lines (broken or unbroken, width 200mm, Provisional) | m | 0
|  | White lines (broken or unbroken, width 300mm, Provisional) | m | 0
|  | White characters and symbols | m² | 0
Total Carried Forward
Brought Forward
|  | Yellow characters and symbols (Provisional) | m² | 0
|  | Traffic island markings (Provisonal) | m | 0
| 8.4.4 | Setting out and Pre-marking of lines (excluding traffic island markings, characters and symbols) | m | 0
|  | Road Studs | No. | 0
Total Carried Forward To Summary
4 | SANS 1200 DK | GABIONS AND PITCHING
Gabions
4.1 | 8.2 | Excavate materials for gabions | m³ | 10
4.2 | 8.2.1 | Surface preparation for bedding of gabions.
4.2.1 | 8.2.1 | Cavities filled with approved excavated material or rock (Provisional Quantity) | m² | 10
4.2.2 | 8.2.1 | Cavities filled with 15MPa concrete | m² | 10
4.3 | 8.2.2 PSDK 3.1.2 | Construct gabions using double twisted hexagonal mesh type 80 with 3.4mm OD frame wire and 2.7mm OD mesh wire to SANS 1480:2005:
4.3.1 |  | Supply and install the following rock filled gabion baskets complete :
4.3.1.1 |  | 2 x 1 x 1m with 80 x 100mm galv. mesh | m³ | 5
4.3.1.2 |  | 3 x 2 x 1m with 80 x 100mm galv. mesh (Reno Mattress) | m³ | 10
4.4 | 8.2.4 PSDK 3.1.3 | Geotextile (Type AG 200) placed where ground water seepage occurs:
4.4.1 | 8.2.4 | Below gabion mattresses | m² | 10
4.5 | 8.2.5 | Pitching
4.5.1 |  | 200mm thick stone pitching around Scour Valve Manhole | m² | 20
Total Carried Forward To Summary
5 | SANS 1200 LB & PS LB | BEDDING
5.1 | 8.2.1 & PS LB 3.1 | Provision of Bedding from Trench Excavation
5.1.1 | 8.2.1 (a) | Selected granular material | m³ | 572.78
5.1.2 | 8.2.1 (b) | Selected fill material | m³ | 286.39
5.2 | 8.2.2 | Supply only of Bedding by Importation
5.2.1 | 8.2.2.1 | From other necessary excavations
(Provisional)
5.2.1.1 | 8.2.2.1 (a) | Selected granular material | m³ | 400.946
5.2.1.2 | 8.2.2.1 (b) | Selected fill material | m³ | 200.473
5.2.2 | 8.2.2.3 | From Commercial sources
5.2.2.1 | 8.2.2.3 (a) | Selected granular material | m³ | 100
5.2.2.2 | 8.2.2.3 (b) | Selected fill material | m³ | 150
5.3 | 8.2.3 | Concrete Bedding Cradle (Provisional)
5.3.1 |  | 15/19 Grade concrete | m³ | 2
5.4 | 8.2.4 | CONCRE ENCASEMENT
5.4.1 |  | Pipe encasement in Grade 25/19 concrete, including for all formwork and reinforcement(100kg steel per m3 concrete ) for water crossings | m³ | 5
Total Carried Forward To Summary
6 | SANS 1200 L | MEDIUM PRESSURE PIPELINES
6.1 | 8.2.1 | Supply, bed, lay, disinfect, join and test potable water pipelines. All works inclusive in the rate, except where specific items are provided. All activites in accordance with project specifications.:
6.1.1 |  | mPVC Pipes
6.1.1.1 |  | 160mm dia. Class 12 | m | 1441
6.1.1.2 |  | 160mm dia. Class 16 | m | 120
6.1.1.3 |  | 160mm dia. Class 20 | m | 150
6.2 |  | HDPE Pipes
Supply and install all HDPe pipes,couplings,elbows and reducers
6.2.1 |  | 50mm dia. Class 10 | m | 0
6.2.2 |  | 50mm dia. Class 12 | m | 0
6.2.3 |  | 50mm dia. Class 16 | m | 0
6.2.4 |  | 63mm dia. Class 10 | m | 0
6.2.5 |  | 63mm dia. Class 12 | m | 0
6.2.6 |  | 63mm dia. Class 16 | m | 0
6.3 |  | uPVC Pipes
6.3.1 |  | 75mm dia. Class 9 | m | 0
6.3.2 |  | 75mm dia. Class 12 | m | 0
6.3.3 |  | 75mm dia. Class 16 | m | 0
6.3.4 |  | 90mm dia. Class 9 | m | 0
6.3.5 |  | 90mm dia. Class 12 | m | 0
6.3.6 |  | 90mm dia. Class 16 | m | 0
6.3.1 |  | 110mm dia. Class 9 | m | 0
6.3.2 |  | 110mm dia. Class 12 | m | 0
6.3.3 |  | 110mm dia. Class 16 | m | 0
6.3.4 |  | 160mm dia. Class 9 | m | 622
6.3.5 |  | 160mm dia. Class 12 | m | 0
6.3.6 |  | 160mm dia. Class 16 | m | 0
Total Carried Forward
Brought Forward
6.3.1 |  | 200mm dia. Class 9 | m | 710
6.3.2 |  | 200mm dia. Class 12 | m | 0
6.3.3 |  | 200mm dia. Class 16 | m | 0
6.3.4 |  | 250mm dia. Class 9 | m | 1363
6.3.5 |  | 250mm dia. Class 12 | m | 0
6.3.6 |  | 250mm dia. Class 16 | m | 0
6.4 |  | PIPE FITTINGS
6.4.1 |  | 1) Non return Valve Assembly for 150mm steel pipe (all fittings, especials and flange drillings) | No. | 1
6.5 |  | BENDS : M-PVC
160 mm Dia
6.5.1 |  | Bend 11.25⁰ | No | 10
6.5.2 |  | Bend 22.5⁰ | No | 5
6.5.3 |  | Bend 45⁰ | No | 5
6.5.4 |  | Bend 90⁰ | No | 2
90 mm Dia
|  | Bend 11.25⁰ | No | 0
|  | Bend 22.5⁰ | No | 0
|  | Bend 45⁰ | No | 0
|  | Bend 90⁰ | No | 0
110 mm Dia
|  | Bend 11.25⁰ | No | 0
|  | Bend 22.5⁰ | No | 0
|  | Bend 45⁰ | No | 0
|  | Bend 90⁰ | No | 0
160 mm Dia
|  | Bend 11.25⁰ | No | 0
|  | Bend 22.5⁰ | No | 0
|  | Bend 45⁰ | No | 0
|  | Bend 90⁰ | No | 0
6.6 |  | EQUAL TEES :U-PVC
6.6.1 |  | 75mm dia. | No | 0
Total Carried Forward
Brought Forward
6.6.2 |  | 90mm dia. | No | 0
|  | 110mm dia. | No | 0
|  | 160mm dia. | No | 0
EQUAL TEES :HDPe
|  | 50mm dia. | No | 0
|  | 63mm dia. | No | 0
REDUCER :U-PVC
|  | 75mm Dia x 50mm Dia | No | 0
|  | 75mm Dia x 63mm Dia | No | 0
|  | 90mm Dia x 50mm Dia | No | 0
|  | 90mm Dia x 63mm Dia | No | 0
|  | 90mm Dia x 75mm Dia | No | 0
|  | 110mm Dia x 50mm Dia | No | 0
|  | 110mm Dia x 63mm Dia | No | 0
|  | 110mm Dia x 75mm Dia | No | 0
|  | 110mm Dia x 90mm Dia | No | 0
|  | 160mm Dia x 50mm Dia | No | 0
|  | 160mm Dia x 63mm Dia | No | 0
|  | 160mm Dia x 75mm Dia | No | 0
|  | 160mm Dia x 90mm Dia | No | 0
|  | 160mm Dia x 110mm Dia | No | 0
REDUCER :HDPE
|  | 63mm Dia x 50mm Dia | No | 0
6.7 |  | ROUTE MARKERS
6.7.1 |  | Supply and install route markers along the pipeline route. Rate to include for all excavations, concrete, reinforced concrete route marker and backfill. | No | 20
| PSL 8.2.18 | Testing and Disinfecting of Pipeline | No | 1
Total Carried Forward To Summary
7 | SANS 1200 L | FENCING
7.1 |  | Fencing
7.1.1 |  | Security fence constructed of 2.1m CLEARVU INVISIBLE WALL Panels including posts, Ripper Concertina Coil 450mm - Galv, Straining Wire and Anti-Burrow | m | 120
7.1.2 |  | Supply and install double leaf vehicle gates - Swing (4m wide) | No | 1
7.1.3 |  | Supply and install single leaf Pedestrian gate - Swing (2m wide) | No | 1
Total Carried Forward To Summary
8 |  | PUMP HOUSE (SMALL WORKS)
8.1
8.1.1 |  | Construct and complete pump house, including all Civil and any other works, the pump house should be constructed as per the drawings (excluding door) | Sum | 1
8.1.2 |  | Construct and complete 400KVA 3 Phase Silent Diesel Generator incl. ATS (GKB-440) or similar approved, including all Civil and any other works, should be constructed as per the drawings | Sum | 1
8.1.3 |  | Supply and install 914 x 2134 type B transformer door | Sum | 1
Total Carried Forward To Summary
9 |  | PUMP INSTALLATION
9.1 |  | EQUIPPING
9.1.1 |  | Supply and Install pump as per specifications | Sum | 1
Total Carried Forward To Summary
10 | SANS 1200 L | VALVES
Valves
10.1 | 8.2.3 | Extra-over 8.2.1 for the supplying, fixing and Bedding of Valves as indicated below:
10.1.1 | PSL 3.13.2 | Scour Valves
Supply and install scour valves as directed by the Engineer. Rate to include for all excavations, adaptors , isolation valves, lockable precast ring chamber, cast iron lid, complete, for the following pipe diameters :
10.1.2 |  | (ii) 160 mm Ø ND | No. | 4
Air Valves
10.2 | 8.2.5 | Supply and install air valve as directed by the Engineer. Rate to include for all excavations, adaptors, reducers, nipples, 25mm air valves, lockable precast ring chamber, cast iron lid, complete, for the following pipe diameters :
10.2.1 |  | (i) 25 mm Ø ND, PN 16 | No. | 1
10.2.2 |  | (ii) 50 mm Ø ND, PN 16 | No. | 2
10.2.2 |  | (ii) 80 mm Ø ND, PN 16 | No. | 2
10.3 |  | Isolation Valves
10.3.1 | PSL 3.13.2 | Supply and install iSOLATION valves as directed by the Engineer. Rate to include for all excavations, adaptors, equal tee, reducers, isolation valve, lockable precast ring chamber, cast iron lid, complete, for the following pipe diameters :
|  | (i) 75 mm Ø ND, PN 16 | No | 0
|  | (ii) 90 mm Ø ND, PN 16 | No | 0
|  | (iii) 110 mm Ø ND, PN 16 | No | 0
|  | (iii) 160 mm Ø ND, PN 16 | No | 2
LW Systems Break pressure tanks (or similar approved) complete as shown on drawing No. ZCE063/FT/WA/C5-318:
10.3.1.1 |  | a) LW systems Break pressure tanks model 04LW10 (or similar approved) | No | 0
Total Carried Forward To Summary
11 | SANS 1200 L | STANDPIPES
11.1 |  | Supply and install standpipe complete including HDPE saddle, 40mm HDPe pipe(20m), tap and galvanised riser pipe, concrete work including shuttering, elbows, nipples, Stop Valve etc. | No. | 15
Total Carried Forward To Summary
12 |  | GUARDHOUSE
12.1
12.1.1 |  | Construct of new security guard-house with Solar for Lighting at the borehole pumpstation entrance. The tendered rate shall be inclusive of all earthworks, Aluminium Gutters and all relevant tests required, components as reflected in the detail drawing. All materials and workmanship to conform to specifications. Provision of a Water Tank (10 000 L) complete with Valves, Stand with Anchor Wires and a Double Pit VIP Toilet. Construction of guardhouse as per DWG: 1704 - 01 - 400 | Sum | 1
Total Carried Forward To Summary
13 | SABS 1200 LG | PIPE JACKING
13.1 |  | Supply and Construct HDPE pipes, excavations and all other works. No.1 road crossing to be constructed | Sum | 1
Total Carried Forward To Summary
14 | SABS 1200 LG | CHLORINATION
14.1 |  | Chlorine unit for the station supplied can handle 36 000lt per hour flow | Sum | 1
14.2 |  | Instalation of Chlorine unit | Sum | 1
Total Carried Forward To Summary

## Elevated Tank - Section 15 (hidden)
#REF!
#REF!
#REF! |  |  |  | SECTION15 : RAW WATER STORAGE TANK
#REF!
ITEM NO | PAYMENT | DESCRIPTION | UNIT | BILLED QTY | RATE | BILLED AMOUNT | PREVIOUS QTY | CURRENT QTY | TOTAL QTY | PREVIOUS AMOUNT | CURRENT AMOUNT | TOTAL AMOUNT
15 | SABS 1200 LG | ELEVATED TANK
15.1 |  | Supply and erect a 13Kl steel reservoir complete. Rate to include for all excavations, concrete bases, inlet and outlet pipes, overflow pipe, access lid, etc. | Sum | 0
[8 empty] | 0 | 0 | 0 | 0 | 0
Total Carried Forward To Summary | [9 empty] | 0 | 0 | 0