## Sec 1- P&G's
NOTE: THE USE OF THIS SPREADSHEET IS AT YOUR OWN RISK. IT IS THE RESPONSIBILITY OF EACH AND EVERY INDIVIDUAL OR TENDERER TO ENSURE THAT THE QUANTITIES ARE AS PER THE BILL OF QUANTITIES ISSUED AND THAT THE CALCULATIONS ARE CORRECT. THE CLIENT ACCEPTS NO RESPONIBILITY OF THE USE OF THIS SPREADSHEET
OR TAMBO DISTRICT MUNICIPALITY
NYANDENI LOCAL MUNICIPALITY |  |  |  | Contract No.:
LIBODE WATER SUPPLY |  |  |  | SECTION 1: PRELIMINARY AND GENERAL
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REF. |  |  |  | R | R
1 | SABS 1200AA | SECTION 1 : PRELIMINARY AND GENERAL
1.1 | 8.3 | FIXED-CHARGE ITEMS
1.1.1 | 8.3.1 | Contractual requirements | Sum | 1
1.1.2 | 8.3.2 | Establishment of facilities on the site
1.1.2.1 | 8.3.2.1 | Facilities for Engineer:
1.1.2.1.1 |  | (a) Furnished offices | Sum | 1
1.1.2.1.2 |  | (b) Nameboard | Sum | 1
1.1.2.1.3 |  | (c') 2 No. Shaded Parking Bays | Sum | 1
1.1.2.2 | 8.3.2.2 | Facilities for the Contractor:
1.1.2.2.1 |  | (a) Offices and storage sheds | Sum | 1
1.1.2.2.2 |  | (b) Workshops | Sum | 1
1.1.2.2.3 |  | (c) Living Accomodation | Sum | 1
1.1.2.2.4 |  | (d) Ablutions and latrine facilities | Sum | 1
1.1.2.2.5 |  | (e) Tools and equipment | Sum | 1
1.1.2.2.6 |  | (f) Water supplies, electric power and communications | Sum | 1
1.1.2.2.7 |  | (g) Dealing with water | Sum | 1
1.1.2.2.8 |  | (h) Access | Sum | 1
1.1.3 | 8.3.3 | Other fixed-charge obligations
1.1.3.1 |  | (a) Health and Safety Obligations | Sum | 1
1.1.3.2 |  | (b) Risk assessment | Sum | 1
1.1.3.3 |  | (c ) Preparation of Project Specific OHS Plan | Sum | 1
1.1.3.4 |  | (d) Health and Safety File | Sum | 1
1.1.3.5 |  | (e) Training | Sum | 1
1.1.3.6 |  | (f) Entry and Exist Medical Assessment of Employees | Sum | 1
1.1.3.7 |  | (g) Compliance with Requirements of Environmental Management Plan | Sum | 1
1.1.4 | 8.3.4 | Removal of site establishment on completion of the Works | Sum | 1
1.2 | 8.4 | TIME-RELATED ITEMS
1.2.1 | 8.4.1 | Contractual Requirements | Months | 8
1.2.2 | 8.4.2 | Operation and Maintenance of Facilities on Site, for the Duration of Construction
| 8.4.2.1 | Facilities for Engineer:
1.2.2.1 |  | (a) Furnished offices | Months | 8
1.2.2.2 |  | (b) Nameboard (1 no.) | Months | 8
1.2.2.3 |  | (c) 2 No. Shaded Parking Bays | Months | 8
| 8.4.2.2 | Facilities for Contractor:
1.2.2.4 |  | (a) Offices and storage sheds | Months | 8
1.2.2.5 |  | (b) Workshops | Months | 8
TOTAL CARRIED FORWARD
BROUGHT FORWARD
1.2.2.6 |  | (c) Living Accomodation | Months | 8
1.2.2.7 |  | (d) Ablutions and latrine facilities | Months | 8
1.2.2.8 |  | (e) Tools and equipment | Months | 8
1.2.2.9 |  | (f) Water supplies, electric power and communications | Months | 8
1.2.2.10 |  | (g) Dealing with water | Months | 8
1.2.2.11 |  | (h) Access | Months | 8
1.2.3 | 8.4.3 | Supervision for duration of construction | Months | 8
1.2.4 | 8.4.4 | Company and Head Office Overhead costs for the Duration of the Contract | Months | 8
1.2.5 |  | OHS ACT Requirements
1.2.5.1 | PSA 8.12 | Full compliance with all OHS Act 85 of 1993 and Construction Regulations 2014 requirements during the construction of the Works
1.2.5.2 |  | Provision of Health and Safety Officer, with industry recognized qualifications in Environmental Health, or in Public Health, or in Safety Management, and registered with the South African Council for Project and Construction Management Professions (SACPCMP), as a Registered Occupational Health & Safety Agent. | Months | 8
1.2.5.3 |  | Comply with project Environmental Management Specification fully | Months | 8
1.3 | 8.6 | PRIME COST ITEMS
1.3.1 |  | Community Liaison Officer (CLO) | P.C Sum | 1 | 48000
1.4.1.2 |  | (b) Provision of celluphone for use by CLO | P.C Sum | 1
1.4.1.3 |  | (c) CLO's cellphone costs (at R200/month) | P.C Sum | 1
1.3.2 |  | Contractor's mark up on above Items 1.3.1.1 | % | 48000
1.3.3 |  | Employent of PSC for the duration of the contract (5No at R200pm each) | Prov. Sum | 1 | 15000
1.3.4 |  | Contractor's mark up on above Items 1.3.1.5 | % | 15000
1.3.5 |  | Allowance for Civil Engineering Student / Trainee | Prov. Sum | 1 | 57000
1.3.6 |  | Contractors markup on the above 1.3.7 | % | 0
1.4 | 8.8 | TEMPORARY WORKS
1.4.1 |  | Provision of access to the Works:
1.4.1.1 |  | Provide access to the Works including all temporary deviation roads, excavations and ramps, etc. | Sum | 1
1.4.2 | SANS 1921-2 | Accomodation of traffic
1.4.2.1 |  | Accommodation and management of traffic during the Contract | Sum | 1
1.5 | 8.7 | DAYWORK
1.5.1 |  | Unskilled workers | hr | 10
1.5.2 |  | 6m³ Tipper Truck | hr | 10
1.5.3 |  | Tractor-loader-backhoe (TLB) | hr | 10
1.5.4 |  | Water Pump | hr | 10
1.5.5 |  | Generator | hr | 10
SECTION 1 TOTAL CARRIED FORWARD TO SUMMARY
OR TAMBO DISTRICT MUNICIPALITY
NYANDENI LOCAL MUNICIPALITY |  |  |  | Contract No.:
LIBODE WATER SUPPLY |  |  |  | SECTION 2: SITE CLEARANCE
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REF. |  |  |  | R | R
2 | SABS 1200 C | SECTION 2: SITE CLEARANCE
2.1 | 8.2.1 | Clear and Grub:
2.1.1 |  | Clear and grub pipeline route (1 m width) | m | 11327.614
2.1.2 | 8.2.2.a) | Clear and grub trees of girth:
2.1.2.1 |  | Greater than 1 m but less than 2 m | No | 1
2.2 |  | Remove Topsoil
2.2.1 | 8.3.1( c ) | Remove topsoil (1 m width) to a depth of 150 mm, stockpile and maintain for duration of contract, for later use, using mechanical excavation methods only.
2.2.1.1 |  | For pipelines | m | 11327.614
2.3 |  | Existing Water Services Proofing
2.3.1 |  | Allow for physical location and confirmation of existing rising and gravity mains pipelines including type, sizes and alignment from boreholes to reservoirs or connecting pipeline using trial holes or any other detection equipment. | Prov Sum | 1 | 100000 | 100000
2.3.2 |  | Contractor's mark up on above Items 2.3.1 | % | 100000
2.4 |  | Assessment of Existing Boreholes
2.4.1 |  | Allow for the assessment of existing boreholes' pumps specifications, borehole yield and water quality at the biggning of the contract | Prov Sum | 1 | 150000 | 150000
2.4.2 |  | Contractor's mark up on above Items 2.3.1 | % | 150000
SECTION 2 TOTAL CARRIED FORWARD TO SUMMARY
OR TAMBO DISTRICT MUNICIPALITY
NYANDENI LOCAL MUNICIPALITY |  |  |  | Contract No.:
LIBODE WATER SUPPLY |  |  |  | SECTION 3: EARTHWORKS (PIPE TRENCHES)
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REF. |  |  |  | R | R
3 | SABS 1200 DB | SECTION 3: EARTHWORKS (PIPE TRENCHES)
3.1 | SABS 1200 DB | Pipe Trenches
3.1.1 | 8.3.2 (a) | Excavation in all materials for trenches min. 700 mm wide, 800 mm cover to soffit, backfill, compact and dispose of surplus / unsuitable material, for pipes of up to 250mm diameter
3.1.1.1 | 8.3.2 (a) (ii) | Over 0.0 m and up to 1.5 m | m | 15949.0688
3.1.1.2 | 8.3.2 (b) | Extra-over item for 3.1.1.1 for
3.1.1.2.1 | 8.3.2 (b) (i) | Intermediate Excavation | m³ | 1975.68
3.1.1.2.2 | 8.3.2 (b) (ii) | Hard Rock Excavation | m³ | 219.52
3.1.1.3 | 8.3.2 (e) | Excavate and dispose of unsuitable material from trench bottom | m³ | 44.6574
3.2 | 8.3.3 | Excavation Ancillaries
3.2.1 | 8.3.3.1 | Make up deficiency in Backfill Material (Provisional)
3.2.2 | 8.3.3.1 (a) | From other necessary excavations on site | m³ | 22.3287
3.2.3 | 8.3.3.1 (b) | by importation from designated borrow pits | m³ | 22.3287
3.2.4 | 8.3.3.1 (c) | by importation from commercial or off-site sources selected by the contractor | m³ | 22.3287
3.2.5 | 8.3.5 | Existing Services that Intersect or Adjoin a pipe trench
3.2.5.1 | 8.3.5 (a) | Services that intersect a trench | no. | 20
3.2.5.2 | 8.3.5 (b) | Services that adjoin a trench | m | 100
3.3 | 8.3.6 | Finishing
3.3.1 | 8.3.6.1 | Reinstate road surfaces complete with all courses
3.3.2 | 8.3.6.1 (a) | Gravel on shoulders | m2 | 79.7453
3.3.3 | 8.3.6.1 ('c) | Asphalt of thickness 40mm in roadways | m2 | 23.9236
SECTION 3 TOTAL CARRIED FORWARD TO SUMMARY
OR TAMBO DISTRICT MUNICIPALITY
NYANDENI LOCAL MUNICIPALITY |  |  |  | Contract No.:
LIBODE WATER SUPPLY |  |  |  | SECTION 4: BEDDING (PIPES)
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REF. |  |  |  | R | R
4 | SABS 1200 LB | SECTION 4: BEDDING (PIPES)
4.1 | 8.2.1 | Provision of Bedding From Trench Excavation
4.1.1 | 8.2.1(a) | Selected granular material | m³
4.1.2 | 8.2.1(b) | Selected fill material | m³
4.2 | 8.2.2 | Supply only of Bedding by Importation
4.2.1 | 8.2.2.1 | From other Necessary Excavations
4.2.1.1 | 8.2.2.1(a) | Selected granular material | m³
4.2.1.2 | 8.2.2.1(b) | Selected fill material | m³
4.2.2 | 8.2.2.3 | From Commercial Sources
4.2.2.1 | 8.2.2.3(a) | Selected granular material | m³
4.2.2.2 | 8.2.2.3(b) | Selected fill material | m³
4.2.2.3 |  | Supply and place 19mm stone bedding (provisional) | m³
4.2.2.4 |  | Supply and install Grade A4 geofabric filter membrane (provisional) | m²
4.2.3 | 8.2.3 | Concrete Bedding Cradle (Provisional)
4.2.3.1 |  | 15/19 Grade concrete | m³ | 10
SECTION 4 TOTAL CARRIED FORWARD TO SUMMARY
OR TAMBO DISTRICT MUNICIPALITY
NYANDENI LOCAL MUNICIPALITY |  |  |  | Contract No.:
LIBODE WATER SUPPLY |  |  |  | SECTION 5: MEDIUM PRESSURE PIPELINES
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REF. |  |  |  | R | R
5 | SABS 1200 L | SECTION 5 : MEDIUM PRESSURE PIPELINES
5.1 | SABS 1200 L | uPVC PIPES
5.1.1 | 8.2.1 | Supply, lay, bed and test pipes complete with couplings, uPVC Class 16 Pipes to SABS 966-1:
5.1.1.1 |  | 110mm Ø uPVC (rising main) | m | 6200
5.1.1.2 |  | 110mm Ø uPVC (gravity main) | m | 2100
5.1.2 | 8.2.2 | Extra over item 5.1.1 for supply, lay, joint, bed, test and disinfect specials incl cut pipes to length where required PVC class 16 complete with couplings
5.1.3 |  | uPVC Pipe Bends (CL 16)
5.1.3.1 |  | 90° bends | No | 35
5.1.3.2 |  | 45° bends | No | 47
5.1.3.3 |  | 22.5° bends | No | 24
5.1.3.4 |  | 11.25° bends | No | 116
5.1.4 |  | uPVC Equal Tees (CL 16)
5.1.4.1 |  | 110mm x 110mm x 110mm | No | 7
5.1.4.2 | 8.2.3 | Extra-over item 5.1.1 for Supplying, Fixing and Bedding of Valves
5.1.4.2.1 |  | 250 mm Ø Isolation Valve assembly complete | No | 2
5.1.4.2.2 |  | 160mm Ø Isolation Valve assembly complete | No | 6
5.1.4.2.3 |  | 110mm Ø Isolation Valve assembly complete | No | 6
5.1.4.2.4 |  | 75mm Ø Isolation Valve assembly complete | No | 7
5.1.4.2.5 |  | 50mm Ø Isolation Valve assembly complete | No | 19
5.1.4.2.6 |  | 110mm Ø Pressure Reducing Valve assembly complete | No | 12
5.1.4.2.7 |  | 110mm ø Scour Valve assembly complete | No | 18
5.1.4.2.8 |  | 110mm ø Non-Return Valve assembly complete | No | 17
5.1.4.2.9 |  | 110mm ø Air Valve assembly complete | No | 22
5.1.5 | 8.2.11 | Anchor/Thrust Blocks and Pedestals as shown on DWG 2512-LIB-C-D-009 | m3 | 10
5.1.6 | 8.2.13 | Valve Chambers as shown on DWG 2512-LIB-C-D-006 | No | 69
5.1.7 | 8.2.13 | Pipe Markers as shown on DWG 2512-LIB-C-D-007 | No | 56
5.2 |  | Zone Meter Complete and Standpipes
5.2.1 |  | Supply and install 110mm Water Meter assemblies complete with chamber. Rate to be inclusive of all pipework, strainer and specials. | No | 11
5.2.2 |  | Supply and install standpipe complete, as per DWG 2512-LIB-C-D-002, including HDPE saddle, tap and galvanised riser pipe, concrete work including shuttering, elbows, nipples, stopcock valve etc. | No | 86
5.3 | SABS 1200 L | HDPE PIPES
Pipes of this material and diameter will undergo compression fitting connections, The rate shall include supply, handeling, connecting as well as cutting and waste fo jointing of ebows, pipes, drilling saddle holes and installing tee pieces. Each roll will be priced with one compression fitting coupling
5.3.1 | 8.2.1 | Supply, Lay, and Bed HDPE Pipes Complete with Couplings in areas with no reticulation or with reticulation where replacement is required:
5.3.1.1 |  | 50mm Ø PN10 HDPE | m | 11000
5.3.1.2 |  | 75mm Ø PN10 HDPE | m | 300
5.2.2 |  | Extra-over Item 5.3.1.1 for Supplying, Fixing, and Bedding of HDPE Specials Complete with Couplings:
Compression Tees (PN12.5)
5.2.2.1 |  | 25mm Ø All equal Tee | No
5.2.2.2 |  | 50mm Ø All equal Tee | No | 110
Compression Bends (PN12.5)
5.2.2.2 |  | 25mm Ø x 90° Bend | No | #REF!
5.2.2.3 |  | 50mm Ø x 90° Bend | No | 120
5.2.3 |  | Allow for investigation and repairs to the existing services including pipes and to make them function properly again | Prov Sum | 1 | 50000
5.2.4 |  | Contractor's mark up on above Items 5.2.3 | %
SECTION 5 TOTAL CARRIED FORWARD TO SUMMARY
OR TAMBO DISTRICT MUNICIPALITY
0 |  |  |  | 0
0 |  |  | SECTION 6: SMALL WORKS (BOREHOLE KIOSK)
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO. | REF. |  |  |  | R | R
6 |  | SECTION 6: SMALL WORKS (No9 x BOREHOLE KIOSKS )
Works will include the new and refurbishments at existing and new borehole kiosks)
6.1 | SABS 1200 C | SITE CLEARANCE
6.1.1 | 8.2.1 | Clear and Grub:
6.1.1.1 | 8.2.1 | Clear and grub pump house site and dispose of surplus material approved waste dump site. | m2 | 45
6.1.2 |  | Remove Topsoil
6.1.2.1 | 8.3.1( c ) | Remove topsoil to a depth of 150mm, stockpile and maintain for duration of contract, for later use, using mechanical excavation methods only.
6.1.2.1.1 |  | For small works | m2 | 45
6.2 | SABS 1200 DA | EARTHWORKS (SMALL WORKS)
6.2.1 |  | Restricted Excavation
6.2.1.1 |  | Restricted excavation in earth not exceeding 1 m depth
6.2.1.2 |  | For foundations | m³ | 24.3
6.2.1.3 |  | Extra-over for excavation in:
6.2.1.3.1 |  | Intermediate material | m³ | 2.43
6.2.1.3.2 |  | Hard rock | m³ | 2.43
6.2.2 |  | Earthfilling
6.2.2.1 |  | Backfilling with material from the excavations compacted to density of at least 98% Mod. AASHTO density
6.2.2.1.1 |  | Under floors, pavings, etc. | m³ | 36
6.2.2.1.2 |  | Backfilling to trenches, foundations, etc | m³ | 5
6.2.2.2 |  | Filling with 150 mm thick G7 material imported from commercial source compacted to 95% Mod. AASHTO maximum density.
6.2.2.2.1 |  | Under floors and foundations | m³ | 36
6.2.3 |  | Soil Poisoning
6.2.3.1 |  | With insecticides under floors, etc. | m² | 45
6.2.4 |  | Finishings
6.2.4.1 | SABS 1200 DA | Spread topsoil from stockpile to a depth of 100 mm | m² | 14
6.3 | SABS 1200 GB | CONCRETE (ORDINARY BUILDINGS)
6.3.1 |  | Unreinforced Concrete
6.3.1.1 |  | 15 Mpa/19mm Concrete (Provisional) | m3 | 9
6.3.2 |  | Reinforced Concrete
6.3.2.1 |  | 25 MPa/19mm Concrete for:
6.3.2.1.1 |  | Foundations and footings | m³ | 20
6.3.2.1.2 |  | Surface beds, ramps, steps, aprons, e.t.c | m³ | 18
6.3.2.2 |  | 30 MPa/19mm Concrete for:
6.3.2.2.1 |  | Roof slabs | m³ | 18
6.3.3 |  | Concrete Tests
6.3.3.1 |  | Making and testing of a set of three 150 x 150 x 150 mm concrete specimens | No. | 9
6.3.4 |  | Concrete Finishes
6.3.4.1 |  | Unformed surface finishes
6.3.4.1.1 |  | Smooth finish with steel float to surface beds, etc. | m² | 45
6.3.5 |  | Reinforcement
6.3.5.1 |  | Ref. 245 welded mesh reinforcement in concrete surface beds, slabs, aprons, e.t.c. | m² | 100
6.3.5.2 |  | HT mild steel reinforcement to structural concrete members in bars of all diameters in ring beams, strip footings, etc. | kg | 400
TOTAL CARRIED FORWARD
BROUGHT FORWARD
6.3.6 |  | Joints
6.3.6.1 |  | Expansion joints
6.3.6.1.1 |  | Expansion joints with 10mm polystyrene including 10x10mm polysulphide bead between vertical brick and/or concrete surfaces | m | 45
6.3.6.2 |  | Construction Joints
6.3.6.2.1 |  | Construction joint between the walls and roof slab, with 2-ply malthoid layer | m | 45
6.4 |  | MASONRY
6.4.1 |  | Brickwork in Foundations
6.4.1.1 |  | NFX brickwork (14MPa nominal compressive strength) in Class I mortar
6.4.1.1.1 |  | One-brick walls | m² | 45
6.4.2 |  | Brickwork in Superstructure
6.4.2.1 |  | "Corobrik Firelight Travertine FBX" face bricks pointed with recessed horizontal and vertical joints in Class 1 mortar
6.4.2.1.1 |  | One-brick walls | m² | 400
6.4.3 |  | Damp-proofing of Walls and Floors
6.4.3.1 |  | One layer of 375 micron "Consol Plastics Brikgrip DPC" embossed damp proof course
6.4.3.1.1 |  | In walls | m | 90
6.4.3.2 |  | One layer of 250 micron "Consol Plastics Gunplas USB Green" waterproof sheeting
6.4.3.2.1 |  | Under surface beds | m² | 108
6.4.5 |  | Doors, Frames, e.t.c
6.4.5.1 |  | Manufacturing and installation of 2134 mm x 1100mm "Type C" transformer room door and frame, including hinges and locksets. | No | 9
6.4.6 |  | Ventilation
8.4.6.1 |  | Louvres 700mmx150mm | No | 18
6.5 |  | FENCING
6.5.1 |  | Perimeter Fencing
6.5.1.1 |  | Supply and installation of High Security 2.4 m high clearvu fence with 76x12 Aperture or similar approved fence with 500 mm antibarrow and shark tooth spikes (both galvanised & marine fusion bond coated-acid modified), at all borehole Kiosks | m | 306
6.5.2 |  | Gates
6.5.2.1 |  | Supply and install 3 m x 2,4 m heavy duty, Galvanized Mild Steel, double leaf vehicular gate including locks at all borehole kiosks | No | 9
6.5.3 |  | Guard House
6.5.3.1 |  | Provide a security guard house complete with conservancy tank, including furniture at all borehole Kiosks as per DWG 2512-LIB-C-D-003 / 2512-LIB-C-D-001 | Prov Sum | 1 | 80000
6.5.3.2 |  | Contractors mark-up on item 6.5.3.1 above | %
SECTION 6 TOTAL CARRIED FORWARD TO SUMMARY