## 1
PART 1: PRELIMINARY AND GENERAL
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
SANS
| 1200 A | GENERAL
1.1 | 8.3 | FIXED-CHARGED ITEMS
1.1.1 | 8.3.1 | Contractual requirements | Sum | 1
| 8.3.2 | Establishment of facilities on site
1.1.2 | 8.3.2.1 | Facilities for the Engineer
1.1.2.1 |  | a) Furnished Offices & ablution facilities | Sum | 1
1.1.2.2 |  | b) Nameboards (2 No.) | Sum | 1
1.1.2.3 |  | c) Carports | No | 2
1.1.2.4 |  | d) Equipment | Sum | 1
1.1.2.5 |  | e) Telephone, Fax, etc | Sum | 1
1.1.2.6 |  | f) Survey Assistants and Materials | Sum | 1
1.1.3 | 8.3.2.2 | Facilities for the Contractor | Sum | 1
1.1.4 | 8.3.3 | Other fixed-charged obligations | Sum | 1
1.1.5 | 8.3.4 | Removal of site establishment | Sum | 1
1.2 | 8.4 | TIME RELATED ITEMS
1.2.1 | 8.4.1 | Contractual requirements | Sum | 1
| 8.4.2 | Operation and maintenance of facilities on site
1.2.2 | 8.4.2.1 | Facilities for the Engineer
1.2.2.2 |  | a) Furnished Offices & ablution facilities | Sum | 1
1.2.2.3 |  | b) Nameboards (2 No.) | Sum | 1
1.2.2.4 |  | c) Carports | No | 2
1.2.2.5 |  | d) Equipment | Sum | 1
1.2.2.6 |  | e) Telephone, Fax, etc | Sum | 1
1.2.2.7 |  | f) Survey Assistants and Materials | Sum | 1
1.2.3 | 8.4.2.2 | Facilities for the Contractor | Sum | 1
1.2.4 | 8.4.3 | Supervision for duration of construction | Sum | 1
1.2.5 | 8.4.4 | Company and head office overhead costs for duration of contract | Sum | 1
1.2.6 | 8.4.5 | Other time-related obligations | Sum | 1
1.2.7 | 8.4.3 | Management of the Designated Group (local labour resources, local suppliers and subcontractors, Refer to Contract Data) | Sum | 1
CARRIED FORWARD
PART 1: PRELIMINARY AND GENERAL
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
1.3 | 8.5 | SUMS STATED PROVISIONALLY BY THE ENGINEER
a) Provisional Sums for work to be executed by the Contractor
1.3.1 |  | Allowance for the construction of miscellaneous items as directed by the Engineer | PS | 1 | 500000 | 500000
1.3.2 |  | Allowance for the construction of cofferdam at the abstraction works | PS | 1 | 8000000 | 8000000
b) 1) Provisional Sums for work to be executed by the Employer or a Nominated Sub-Contractor
1.3.3 |  | i) Additional tests ordered by the Engineer | PS | 1 | 400000 | 400000
ii) Logistics for
1.3.4 |  | - Project Steering Committee Meeting | PS | 1 | 500000 | 500000
1.3.5 |  | iii) Blasting monitoring specialist | PS | 1 | 200000 | 200000
1.3.6 |  | iv) Appointment of Community Liaison Officer | PS | 1 | 270000 | 270000
1.3.7 |  | v) Permanent Signage | PS | 1 | 100000 | 100000
1.3.8 |  | vi) In service and Graduate Training | PS | 1 | 4000000 | 4000000
1.3.9 |  | b) 2) Overheads, charges and profit on b) 1) above | %
1.4. | 8.8 | TEMPORARY WORKS
1.4.1 | 8.8.1 | Main access road to works (upgrade & maintain) | Sum | 1
| 8.8.3 | Protection of all existing structures & works
1.4.2 |  | a) Fencing of construction site | Sum | 1
| PSA 8.8.4 | Existing services (protection)
1.4.3 |  | a) Excavation by hand in soft material to expose | m3 | 30
1.4.4 | PSA 8.8.6 | Special Water Control | Sum | 1
1.4.5 | PSA8.8.6.1 | Dealing with Surface runoff | Sum | 1
1.4.6 | PSA8.8.6.4 | Dealing with Sub-surface groundwater flow | Sum | 1
1.4.7 | PSA8.8.6.5 | Dealing with Sub-surface water table | Sum | 1
1.4.8 | PSA8.8.7 | River Diversion | Sum | 1 |  | 0
CARRIED FORWARD | [5 empty] | 13970000
PART 1: PRELIMINARY AND GENERAL
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD | [5 empty] | 13970000
1.5. | PSHSS | HEALTH AND SAFETY
1.5.1 | PSHSS 6.1.2 | Preparation of the contractor's site-specific Health and Safety Plan | PS | 1 | 3500 | 3500
1.5.2 | CR 5(1)l | Principal contractor's initial obligations in respect of the Occupational Health and Safety Act and Construction Regulations | PS | 1 | 50000 | 50000
1.5.3 | OHSA 8 | Principal contractor's time related obligations in respect of Occupational Health and Safety Act and the Construction Regulations | Month | 30 | 10000 | 300000
1.5.4 | GSR 2, PSHSS 7.7 | Provision of SABS approved Personal Protective Equipment | PS | 1 | 255000 | 255000
1.5.5 | CR 8(5); PSHSS 6.1.5 | Provision of two (2) full-time SACPCMP registered Construction Health and Safety Officers for the duration of the Contract | Month | 30 | 60000 | 1800000
1.5.6 | PSHSS 6.1.5 | Provision of two (2) full-time Health and Safety Administrators for the duration of the Contract | Month | 30 | 17000 | 510000
1.5.7 | CR 7(1)(g); PSHSS 7.2 | Cost of medical certificates and medical surveillance | PS | 1 | 800000 | 800000
1.5.8 | CR 7(1)(g); PSHSS 7.2 | OH&S Legal Compliance Training | Sum | 1 | 430000 | 430000
1.5.9 | GSR 3; PSHSS 7.6 | Provision of First Aid Boxes to GSR requirements | PS | 1 | 20000 | 20000
1.5.10 | DMR 18; PSHSS 7.13 | Lifting Equipment Inspection by AIA | Sum | 1 | 50000 | 50000
1.5.11 | PSHSS 7.13 | Fall Protection | Sum | 1 | 175000 | 175000
1.5.12 | NIHL 6 | Noise monitoring | Sum | 1 | 50000 | 50000
CARRIED FORWARD | [5 empty] | 18413500
PART 1: PRELIMINARY AND GENERAL
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD | [5 empty] | 18413500
1.5.13 | GSR 2B; PSHSS 7.8 | Mandatory, Warning and Informative Signage | Sum | 1 | 20000 | 20000
1.5.14 | CR 12; PHSS 7.14 | Temporary Works Designs, Inspections and Approval | Sum | 1 | 50000 | 50000
1.5.15 | CR 7(1)(c)(e) | Submission of a Health and Safety File | Sum | 1 | 10000 | 10000
1.5.16 | HBAR; PSHSS 7.29 | Compliance to Health-Related Epidemics, Pandemics and Biological Hazards | Sum | 1 | 50000 | 50000
1.5.17 | PSHSS 7.25 | Compliance to Ergonomics Regulations | Sum | 1 | 50000 | 50000
1.5.18 | PAR | Compliance to Physical Agent Regulations 2025 | Sum | 1 | 50000 | 50000
1.5.19 |  | Other - Provisional | Sum | 1 | 100000 | 100000
1.6. |  | ENVIRONMENTAL REQUIREMENTS
1.6.1 |  | Contractor's initial obligations in respect of the compliance to Environmental Specifications | Sum | 1
1.6.2 |  | Contractor's time related obligations in respect of the compliance to the Environmental Specifications | Sum | 1
CARRIED FORWARD TO SUMMARY | [5 empty] | 18743500

## 2
PART 2: SITE CLEARING, EXCAVATION AND EARTHWORKS
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
| SANS | SITE CLEARANCE
1200 C
2.1. | 8.2.1 | Clear and grub
2.1.1 |  | a) Contractor's Camp Area | ha | 1
2.1.2 |  | b) Dam site area | ha | 2
2.1.3 |  | c) Topsoil stockpile area | ha | 2
2.1.4 |  | d) Temporary stockpile area adjacent to quarry/borrow area | ha | 0.5
2.1.5 | 8.2.3 | Remove and grub all trees and tree stumps irrespective of girth | ha | 2
| PSC 8.2.7 | Dismantle and remove pipelines, electricity transmission lines, cables, etc.
a) Pipework including couplings, valves etc outside dam of river diversion
2.1.6 |  | 1) 900 mm dia steel pipe | m | 78
2.1.7 |  | 2) 900 mm dia steel Couplings | No | 1
2.1.8 |  | 3) 900 mm dia Specials (bends) | No | 3
| PSC 8.2.8 | Demolish and remove structures/buildings and dismantle steelwork, etc.
2.1.9 |  | a) Headwall on downstream side of river diversion pipes | No | 1
2.1.10 | 8.2.10 | Remove topsoil to a nominal depth of 150 mm and stockpile | m³ | 2000
| 1200D | EARTHWORKS
PSD
2.2. | 8.3.2 | Bulk Excavation
2.2.1 |  | a) Excavate in all materials for construction of Hardfill dam | m³ | 23500
2.2.2 |  | b) Excavate in all materials for diversion pipe on US and DS side of dam | m³ | 365
c) Extra-over for:
2.2.3 |  | 1) Hard-rock excavation | m³ | 1000
| 8.3.3 | Restricted Excavation
2.2.4 |  | a) Excavate in all material for construction of hardfill dam | m³ | 24070
b) Extra-over for:
2.2.5 |  | 1) Hard-rock excavation | m³ | 22800
| 8.3.9 | Extra Over for Backfill of Fill materials against structures
2.2.6 |  | a) Random backfill from stockpile on d/s side of dam | m³ | 22550
CARRIED FORWARD
PART 2: SITE CLEARING, EXCAVATION AND EARTHWORKS
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
| 8.3.10 | Topsoiling
2.2.7 |  | a) Contractor's Camp Area, 150 mm depth | m² | 10000
2.2.8 |  | b) Downstream backfill of dam, 150 mm depth | m² | 3300
2.2.9 |  | c) Topsoil stockpile area, 150 mm depth | m² | 20000
2.2.10 |  | d) Temporary stockpile area adjacent to quarry/borrow area, 150 mm depth | m² | 5000
| 8.3.11 | Grassing or other Vegetation Cover
2.2.11 |  | a) Contractor's Camp Area | m² | 10000
2.2.12 |  | b) Downstream backfill of dam | m² | 3300
2.2.13 |  | c) Topsoil stockpile area | m² | 20000
2.2.14 |  | d) Temporary stockpile area adjacent to quarry/borrow area | m² | 5000
| PSD 8.3.14 | Foundation preparation
2.2.15 |  | Foundation preparation below dam footprint including plinth block (#) | m² | 11200
| PSD 8.3.15 | Treatment of Joints
2.2.16 |  | a) Cement mortar | m³ | 250
2.2.17 |  | b) Cement grout | m³ | 250
2.2.18 |  | c) Dental concrete | m³ | 150
| SANS | SMALL EARTH DAMS
1200 DE
2.3. | 8.3.6 | Toe drain, Complete Construction
2.3.1 |  | a) Complete construction of drain d/s of right abutment as indicated on drawings | m | 30
| SANS | SEWERS
1200 LD
2.4. | 8.2.1 | Supply, Lay, Joint, Bed and test pipeline
2.4.1 |  | a) 160 mm dia UPCV drainage pipe Class 6, complete with bedding class C at drain d/s of right abutment | m | 200
| SANS | BEDDING
1200 LB
2.5. |  | Supply only of Bedding by Importations
| 8.2.2.1 | From other necessary excavations
2.5.1 |  | a) Selected Fill material - Class C | m³ | 120
| 8.2.2.2 | From borrow pits
2.5.2 |  | a) Selected granular material - Class C | m³ | 120
CARRIED FORWARD
PART 2: SITE CLEARING, EXCAVATION AND EARTHWORKS
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
| COTO | CHAPTER 12 GEOTECHNICAL
2.6. | C12.2.13 | Establishment on site for drilling of rockbolts, dowels, soil nails or mechanical anchors
2.6.1 |  | a) Establishment for drilling of rockbolts on right abutment | LS | 1
| C12.2.14 | Move to and set up at each rockbolt, soil nail or mechanical anchor position
2.6.2 |  | a) Set up at rockbolt positions at right abutment | No | 200
| C12.2.15 | Install, grout and protect soil nails or rock bolts
2.6.3 |  | a) Rock bolts, 12 m long TB500 25 mm galvanised bars, 114 mm dia hole | No | 100
2.6.4 |  | b) Self-drilling anchor, 12 m long Titan 40/16 with 90 mm dia sacrificial bit | No | 100
| C12.2.16 | Extra over for tensioning soil nails or rockbolts
2.6.5 |  | a) Rock bolts, 12 m long TB500 25 mm galvanised bars, 114 mm dia hole | No | 10
2.6.6 |  | b) Self-drilling anchor, 12 m long Titan 40/16 with 90 mm dia sacrificial bit | No | 10
| C12.5.1 | Establishment on site
2.7.1 |  | Establishment on site for right abutment shotcrete | LS | 1
| C12.5.2 | Surface preparation for shotcrete
2.7.2 |  | Surface preparation for shotcrete | m² | 470
| C12.5.3 | Supply and installation of reinforcement
2.7.3 | C12.5.3.2 | Welded steel mesh fabric, Ref 395 | m² | 470
| C12.5.4 | Shotcrete
2.7.4 | C12.5.4.1 | Flash/base coat, 75 mm thick | m² | 470
2.7.5 | C12.5.4.2 | Intermediate coat (75 mm thick) | m² | 470
| C12.5.7 | Geopipe collectors and weepholes
2.7.6 | C12.5.7.1 | Perforated HDPE drain pipe wrapped in 110 mm BIDIM A4 sock, 12 m long | m | 1230
| C12.5.8 | Geocomposite/geosynthetic drain as specified
2.7.7 | C12.5.7.1 | Band drains, Netlon DN3 strips 100 mm wide @1.75 m spacing | m | 350
| C12.8.4 | Moving to and setting up equipment for installing each drain position
2.7.8 |  | 110 mm dia drilled at 5 deg from horizontal, 12 m long | No | 110
| C12.8.6 | Drill holes from horizontal drains to required depth
2.7.9 |  | 110 mm dia drilled at 5 deg from horizontal, 12 m long | m | 1320
CARRIED FORWARD TO SUMMARY

## A
PART A: DIVERSION WORKS
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
SANS
| 1200 D | EARTHWORKS
PSD
A.1. | 8.3.2 | Bulk Excavation
A.1.1 |  | a) Excavate in all materials for removal of diversion embankment | m³ | 4600
| SANS | EARTHWORKS (PIPE TRENCHES)
1200 DB
PSDB
A.2. | 8.3.2 | Excavate in all materials for trenches, backfill, compact and dispose of surplus material
900 mm dia in trench
A.2.1 |  | a) Excavation length exceeding 0 m, but not 1 m in depth | m | 10
A.2.2 |  | b) Excavation length exceeding 1 m, but not 2 m in depth | m | 6
A.2.3 |  | a) Excavation length exceeding 2 m, but not 3 m in depth | m | 16
A.2.4 |  | b) Excavation length exceeding 3 m, but not 4 m in depth | m | 11
A.2.5 |  | c) Excavation length exceeding 4 m, but not 5 m in depth | m | 9
A.2.6 |  | d) Excavation length exceeding 5 m, but not 6 m in depth | m | 6
A.2.7 |  | e) Excavation length exceeding 6 m, but not 7 m in depth | m | 24
| 8.3.3 | Extra over
A.2.8 |  | Soft rock excavation | m³ | 50
| SANS | SMALL EARTH DAMS
1200 DE
A.3. | 8.3.5 | Forming Embankment
A.3.1 |  | a) Selected Impervious material from borrow area | m³ | 1250
A.3.2 |  | b) Gravel capping from commercial source | m³ | 75
A.3.3 | PSDE 8.3.5 | c) Rockfill from quarry | m³ | 3250
CARRIED FORWARD
PART A: DIVERSION WORKS
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
SANS
| 1200 H | STRUCTURAL STEELWORK
A.4. | 8.3.1 | Supply and Fabrication
A.4.1 |  | a) Trash rack, according to dwg 7474-042 | No | 1
A.5. | 8.3.2 | Delivery to site
A.5.1 |  | a) Trash rack, according to dwg 7474-042 | No | 1
A.6. | 8.3.3 | Erection on site
A.6.1 |  | a) Trash rack, according to dwg 7474-042 | No | 1
A.7. | SANS | BEDDING OF PIPES
1200 LB
A.7.1 | 8.2.1 | Provision of bedding from Trench Excavation
A.7.2 |  | a) Selected Fill material - Bedding Class C | m³ | 90
Supply only of bedding by Importation
| 8.2.2.2 | From borrow pits
|  | a) Selected granular material - Class C | m³ | 50
| SANS | SEWERS
1200 LD
A.8. | 8.2.5 | Inspection Chambers
A.8.1 |  | a) Head wall at diversion intake (LI) | No | 1
A.8.2 |  | b) Head wall at diversion outlet (LI) | No | 1
A.8.19
A.8.20 | SANS | MEDIUM-PRESSURE PIPELINES
1200 L
A.9. |  | Straight pipes - All pipes and specials to be mild steel, 350W Copon, unless otherwise indicated
A.9.1 | 8.2.5 | a) 900 mm dia pipe, 9 m length | No | 6
A.9.2 |  | b) 900 mm dia pipe, 8.875 m length | No | 1
A.9.3 |  | c) 900 mm dia pipe, 2.620 m length | No | 1
A.9.4 |  | d) 900 mm dia pipe, 5.110 m length with restraining flange | No | 1
A.9.5 |  | e) 900 mm dia pipe, 0.25 m length with restraining flange | No | 1
A.9.6 |  | f) 900 mm dia pipe, 2.675 m length with restraining flange | No | 1
CARRIED FORWARD
PART A: DIVERSION WORKS
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
Valves and specials
A.9.7 | 8.2.5 | a) 900 mm dia 40 degree medium radius bend | No | 1
A.9.8 |  | b) 900 mm dia 45 degree medium radius bend | No | 1
A.9.9 |  | c) 900 mm dia Arpol couplings, Stainless steel | No | 1
A.9.10 |  | d) 900 mm dia Medium radius 75 degree bend | No | 1
A.9.11 |  | e) 450 mm dia blank flange | No | 1
A.9.12 |  | f) 900 mm dia blank flange | No | 1
| SANS | GABIONS AND PITCHING
1200 DK
A.10. | 8.2.4 | Geotextile
A.10.1 |  | a) Non-woven NW6 geotextile (LI) | m² | 890
|  | To be transferred to Item 1.4.8 (PSA 8.8.7) | Sum
NOT RE-MEASURABLE

## 3
PART 3: FOUNDATION DRILLING AND GROUTING
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
| PPS 9 | DRILLING AND GROUTING
3.1. | PPS 9.14.1 | Setting up equipment for drilling grout and drainage holes
3.1.1 |  | a) Percussion Drilling Rig for grouting | No | 200
3.1.2 |  | b) Percussion Drilling Rig for foundation drainage | No | 200
3.1.3 |  | c) Percussion Drilling Rig for dam drainage at spillway | No | 20
3.1.4 |  | d) Rotary core Drilling Rigs for inspection | No | 2
3.1.5 |  | e) Percussion Drilling Rigs for grouting through hardfill in dam | No | 5
3.1.6 |  | f) Percussion Drilling Rigs for drainage through hardfill in dam | No | 6
3.2. | PPS 9.14.2 | Drilling of grout and drainage holes
3.2.1 |  | a) Percussion Drilling for grouting, 0-25 m, 0-30 deg | m | 1500
3.2.2 |  | b) Percussion Drilling for grouting, 25-50 m, 0-30 deg | m | 1000
3.2.3 |  | c) Percussion Drilling for drainage, 0-25 m, 0-30 deg | m | 1650
3.2.4 |  | d) Percussion Drilling for dam drainage at spillway, 0-25 m, 0-30 deg | m | 560
3.2.5 |  | e) Rotary core drilling inspection, 0-25 m,0-30 deg | m | 50
3.2.6 |  | f) Percussion drilling for drainage through hardfill in dam, 25-50 m,0-30 deg | m | 130
3.3. | PPS 9.14.3 | Re-drilling of grouted holes
3.3.1 |  | a) Re-drilling for grouting, 0-30 deg | m | 45
3.4. | PPS 9.14.4 | Water pressure tests
3.4.1 |  | a) Abbreviated water pressure tests | No | 307.5
3.4.2 |  | b) Full water pressure tests | No | 102.5
3.5. | PPS 9.14.7 | Curtain grouting
3.5.1 |  | Pre stage Curtain Grouting | No | 200
3.5.2 |  | 1st Stage Curtain Grouting | No | 200
3.5.3 |  | 2nd Stage Curtain Grouting | No | 70
3.5.4 |  | 3rd Stage Curtain Grouting | No | 60
3.5.5 |  | 4th Stage Curtain Grouting | No | 50
3.5.6 |  | 5th Stage Curtain Grouting | No | 30
3.5.7 |  | 6th Stage Curtain Grouting | No | 15
CARRIED FORWARD
PART 3: FOUNDATION DRILLING AND GROUTING
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
3.6. | PPS 9.14.8 | Grouting materials
3.6.1 |  | a) CEM 1 cement | t | 32
3.6.2 |  | b) Bentonite | t | 0.96
3.7.1 | PPS 9.14.9 | Grouting additives | PS | 1 | 250000 | 250000
3.8. | PPS 9.14.10 | Casings
3.8.1 |  | a) Casings for percussion drilling through soil | m | 50
3.8.2 |  | b) EO for permanent casings | m | 30
3.9. | PPS 9.14.11 | Recovery of cores
3.9.1 |  | a) Core recovery | m | 50
3.9.2 |  | b) Core boxes | No | 10
3.10. | PPS 9.14.14 | Sleeve Pipes
3.10.1 |  | a) 80 mm dia PVC sleeve pipe cast into plinth | m | 120
3.10.2 |  | b) 80 mm dia PVC sleeve cast into intake tower base | m | 25
CARRIED FORWARD TO SUMMARY | [5 empty] | 250000

## 4
PART 4: HARDFILL DAM WITH CONCRETE UPSTREAM FACING
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
| SANS | CONCRETE (STRUCTURAL)
1200G
4.1. | PSG | Scheduled Formwork
| 8.2.1 | Rough
4.1.1 |  | a) Upstream vertical steps of hardfill dam, inclusive of anchorage into Hardfill | m² | 4900
4.1.2 |  | b) Downstream vertical steps of hardfill below backfill, inclusive of anchorage into Hardfill | m² | 1250
4.1.3 |  | c) Sides of joints in crest | m² | 35
4.1.4 |  | d) Sides of joints in upstream reinforced concrete facing | m² | 200
4.1.5 |  | e) Sides of joints in plinth block | m² | 100
4.1.6 |  | f) Sides of joints in levelling concrete | m² | 425
4.2. | 8.2.2 | Smooth
4.2.1 |  | a) Upstream and downstream crest concrete including kicker | m² | 520
4.2.2 |  | b) Vertical exposed faces of spillway steps D/S | m² | 970
4.2.3 |  | c) Vertical exposed upstream and downstream face of NOC | m² | 2900
4.2.4 |  | d) Sloped face of plinth block | m² | 1210
4.2.5 |  | e) Upstream end of plinth | m² | 165
4.2.6 |  | f) Downstream face of longitudinal gallery | m² | 970
4.2.7 |  | g) Downstream vertical face of hardfill dam above backfill, inclusive of anchorage into Hardfill | m² | 2910
4.3. | 8.2.5 | Narrow Widths
4.3.1 |  | a) Grooves in GEVR steps, 250 mm wide on each step according to drawings | m | 1680
4.3.2 |  | b) Gallery drain side , 300 mm wide | m | 325
4.4. | PSG 8.2.7 | Sliding Formwork
4.4.1 |  | a) Upstream reinforced concrete slab | m² | 7130
| 8.3 | Scheduled Reinforcement Items
4.5. | 8.3.1 | Steel bars
4.5.1 |  | High tensile steel bars
4.5.2 |  | a) Plinth block reinforcement | t | 450
4.5.3 |  | b) NOC Crest Concrete reinforcement | t | 711
4.5.4 |  | c) Lacing bars for dowel connection at spillway sidewall | t | 2
4.5.5 |  | d) Upstream Slab Reinforcement | t | 444
CARRIED FORWARD
PART 4: HARDFILL DAM WITH CONCRETE UPSTREAM FACING
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
4.6. | PSG 8.3.4 | Anchor rods (dowels)
4.6.1 |  | a) 25 mm dia galvanized dowels at plinth | t | 16
4.6.2 |  | b) 25 mm dia Dowels at spillway/sidewall connection | t | 1
4.6.3 |  | c) 25 mm dia Dowels at hardfill/Ogee connection | t | 4
4.6.4 |  | d) 25 mm dia Dowels at crest capping | t | 3
4.7. | PSG 8.3.5 | Spillway Facing Tie-Rod
4.7.1 |  | a) 16 mm diameter high tensile threaded bar in downstream spillway as on drawings | No | 2850
Scheduled Concrete Items
4.8. | PSG 8.4.1 | Prescribed Mix Concrete
4.8.1 |  | a) No-fines concrete below face slab | m³ | 965
4.8.2 |  | b) 20 mm thick mortar bed (1:5 Cement sand) | m² | 7110
4.9. | 8.4.3 | Strength Concrete
4.9.1 |  | a) Mass concrete levelling concrete 20 MPa/19 mm | m³ | 3155
4.9.2 |  | b) Reinforced concrete for plinth block 30 MPa/19 mm | m³ | 2960
4.9.3 |  | c) Reinforced concrete for crest 30 MPa/19 mm | m³ | 355
4.9.4 |  | d) Mass concrete infilling 20 MPa/19 mm downstream of gallery access and between dam and access | m³ | 310
4.9.5 |  | e) Spillway downstream steps Grade 35 MPa/19 mm | m³ | 620
4.9.6 |  | f) Mass concrete d/s of spillway gallery Grade 20 MPa/19 mm | m³ | 60
4.9.7 |  | f) Mass concrete in longitudinal gallery floor Grade 20 Mpa/19 mm | m³ | 245
4.9.8 |  | h) Mass concrete around diversion pipe Grade 20 Mpa/19 mm | m³ | 150
4.9.9 |  | i) Mass concrete for waterstop anchorage Grade 20 Mpa/19 mm | m³ | 20
CARRIED FORWARD
PART 4: HARDFILL DAM WITH CONCRETE UPSTREAM FACING
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
4.10. | 8.4.4 | Unformed Surface Finishes
4.10.1 |  | a) Steel-Floated Finish to plinth | m² | 935
4.10.2 |  | b) Steel Floated Finish to crest concrete | m² | 1630
4.10.3 |  | c) Steel-Floated Finish to Spillway downstream steps | m² | 470
4.10.4 |  | d) Steel-Floated Finish to Spillway Coping | m² | 155
4.10.5 |  | e) Steel-Floated Finish to horizontal upstream and downstream steps | m² | 5800
4.10.6 |  | f) Steel-floated finish to levelling concrete top | m² | 5950
4.10.7 |  | g) Steel floated finish to longitudinal gallery floor and drain | m² | 805
4.10.8 |  | h) Steel floated finish to top of river diversion encasement | m² | 100
4.11. | PSG 8.5 | Joints
4.11.1 |  | a) Contraction joints at crest, 0.3 m deep | m | 140
4.11.2 |  | b) Polyurethane joint sealer 10 x 20 mm at crest | m | 140
4.11.3 |  | c) "0-32" Hydrofoil uPVC Centre Bulb waterstop from SIKA or equal approved at u/s NOC vertical crest and slab connection | m | 270
4.11.4 |  | d) "0-32" Hydrofoil uPVC Centre Bulb waterstop from SIKA or equal approved at u/s slab vertical joints | m | 740
4.11.5 |  | e) "DR-29" Hydrofoil uPVC Rearguard waterstop from SIKA or equal approved at u/s slab vertical joints | m | 740
4.11.6 |  | f) "0-32" Hydrofoil uPVC Centre Bulb waterstop from SIKA or equal approved at u/s spillway and sloped slab connection | m | 40
4.11.7 |  | g) "0-32" Hydrofoil uPVC Centre Bulb waterstop form SIKA or equal approved at plinth block and upstream face connection | m | 320
4.11.8 |  | h) Polyurethane joint sealer 10 x 20 mm at vertical upstream NOC and sloped slab connection | m | 270
4.11.9 |  | i) "DR-29" Hydrofoil uPVC Rearguard waterstop from SIKA or equal approved at plinth block and u/s slab connection | m | 320
4.11.10 |  | i) 10 mm thick jointex at u/s NOC and sloped slab connection | m | 220
CARRIED FORWARD
PART 4: HARDFILL DAM WITH CONCRETE UPSTREAM FACING
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
4.12. | PSG 8.6 | Manufacture and Erect Precast Elements
4.12.1 |  | a) Side posts for crest balustrade | No | 3060
4.12.2 |  | b) Precast Cap beam for balustrade | No | 280
4.12.3 |  | c) 900 x 900 mm Precast Drainage Culvert | m³ | 11
4.12.4 |  | d) 2800 x 1500 x 300mm deep Precast Roof elements for gallery | m³ | 235
4.12.5 |  | e) Ventilation shaft, 900 mm dia ID at longitudinal gallery | m³ | 5
4.13. | PSG 8.9 | Building pipes into Concrete Work
4.13.1 |  | a) 110 mm PVC T piece cast into concrete at gallery | No | 170
4.13.2 |  | b) 90 mm HDPE Drainage pipes cast into NOC coping | No | 90
4.13.3 |  | c) 900 mm dia river diversion pipe encased in concrete | No | 1
4.14. | PSG 8.10 | Concreting of face slabs
4.14.1 |  | Reinforced concrete for US face slab, Class 30 Mpa/19mm | m³ | 2150
4.15. | PSG 8.11 | Filling of Diversion pipe
4.15.1 |  | Filling of diversion pipe with 20 MPa cementious grout | m³ | 35
| PPS 5.5 | DOWEL BARS
4.17. | PPS 5.5.1 | Set up for drilling and grouting of holes
4.17.1 |  | a) 62 mm dia hole, vertical dowels at plinth | No | 830
4.17.2 |  | b) 50 mm dia hole, vertical dowels between ogee and hardfill | No | 170
4.17.3 |  | c) 50 mm dia hole, vertical dowels at crest capping | No | 405
4.18. | PPS 5.5.2 | Drilling of dowel holes
4.18.1 |  | a) 62 mm dia hole, vertical dowels at plinth | m | 3320
4.18.2 |  | b) 50 mm dia, vertical dowels between ogee and hardfill | m | 510
4.18.3 |  | c) 50 mm dia hole, vertical dowels at crest capping | m | 610
4.19. | PPS 5.5.3 | Anchorage of dowel bars into drilled hole
4.19.1 |  | a) 25 mm dia dowels at plinth | m | 3320
4.19.2 |  | b) 25 mm dia dowels between ogee and hardfill | m | 510
4.19.3 |  | c) 25 mm dia dowels at crest capping | m | 610
CARRIED FORWARD
PART 4: HARDFILL DAM WITH CONCRETE UPSTREAM FACING
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
| SANS | SEWERS PIPEWORK
1200LD
PSLD
4.21. | 8.2.1 | Supply, lay joint, bed and test pipeline
4.21.1 |  | a) 160 mm Drainex pipe laid in no-fines concrete drain below upstream facing | m | 3000
4.21.2 |  | b) 90 mm HDPE, PE 100, PN8 pipe cast into crest coping as in dwgs | m | 40
4.21.3 |  | c) 110 mm PVC pipe Class 6 inside gallery fastened to gallery wall with holderbats | m | 360
4.21.4 |  | d) 75 mm PVC drainage pipe in downstream drain | m | 35
4.22. | 8.2.2 | Extra over for specials
4.22.1 |  | a) 110 mm PVC T-section cast into concrete at plinth | No | 170
4.22.2 |  | b) 160 mm UPVC T-section in no-fines | No | 35
4.22.3 |  | c) 110 mm PVC cap | No | 170
4.22.4 |  | d) Long radius bend for drainex pipe in no-fines drain | No | 170
| PPS 10 | HARDFILL DAM
4.24. | PPS 10.11.1 | Hardfill Concrete
4.24.1 |  | a) Grade 5/40 Hardfill for dam body | m³ | 134000
4.24.2 |  | b) Grade 5/40 Hardfill for downstream access road | m³ | 120
4.25.1 | PPS 10.11.2 | Hardfill Mixing Platform | Sum | 1
4.26. | PPS 10.11.3 | Variations in Cementitious content
4.26.1 |  | a) Variation in Cement Type II VL 42.5N | ton | 938
4.27. | PPS 10.11.4 | Extra over PPS10.11.3 for GEVR and GE-Hardfill
4.27.1 |  | a) GEVR/GE-hardfill at downstream face | m³ | 3500
4.27.2 |  | b) GEVR/GE-hardfill at Upstream face | m³ | 4900
4.27.3 |  | c) GEVR/GE-hardfill at Longitudinal and access gallery | m³ | 460
4.27.4 |  | d) GEVR/GE-hardfill at sides of foundation | m³ | 1000
4.28. | PPS 10.11.5 | Bedding Mortar
4.28.1 |  | a) Bedding mortar at gallery level | m² | 4500
CARRIED FORWARD
PART 4: HARDFILL DAM WITH CONCRETE UPSTREAM FACING
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
4.29.1 | PPS 10.11.6 | Filler concrete (Grade 20/40) | m³ | 100
4.30.1 | PPS 10.11.7 | Full Scale Trial | PS | 1 | 1500000 | 1500000
4.31.1 | PPS 10.11.8 | In-situ Shear Testing of Hardfill layers | No | 9
4.32. | PPS 10.11.9 | PVC Waterstops
4.32.1 |  | a) 250 mm PVC water stops at downstream face of spillway | m | 110
4.33 | PPS 10.11.10 | Crack inducers in upstream face
|  | a) 2 mm thick, 200 mm wide galvanized steel plate | m | 200
4.34. | PPS 10.11.11 | Crack inducers in downstream face
4.34.1 |  | a) 2 mm thick, 200 mm wide galvanized steel plate | m | 200
4.35. | PPS 10.11.12 | Crack directors
4.35.1 |  | a) 1.5 mm thick, 250 mm high HDPE sheeting, 2 m wide installed in every 4th layer | m | 4100
4.36. | PPS 10.11.13 | Set ups for 150 mm core drilling in hardfill
4.36.1 |  | a) 150 mm core drilling at NOC and spillway | No | 6
4.37.1 | PPS 10.11.14 | Standby for 150 mm core drilling Rig | hr | 100
4.38. | PPS 10.11.15 | Drilling and Recovery of 150 mm core in hardfill
4.38.1 |  | a) 150 mm core drilling at NOC and spillway | m | 150
4.39. | PPS 10.11.16 | Water Pressure testing in the 150 mm core holes in hardfill
4.39.1 |  | a) 150 mm holes at 5m stages with packers | No | 36
4.40.1 | PPS 10.11.17 | Grouting of 150 mm core holes in hardfill | No | 6
CARRIED FORWARD TO SUMMARY | [5 empty] | 1500000

## 5
PART 5: INTAKE TOWER, ACCESS GALLERY, INCLUDING PIPEWORK
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
| SANS | CONCRETE (STRUCTURAL)
1200G
| PSG | Scheduled Formwork
5.1. | 8.2.1 | Rough
5.1.1 |  | a) Inside faces of access gallery | m² | 270
5.1.2 |  | b) Sump sides | m² | 1.5
| 8.2.2 | Smooth
5.1.3 |  | a) Vertical exposed faces of intake tower walls inside and outside | m² | 715
5.1.4 |  | b) Vertical exposed faces of intake base inside and outside | m² | 460
5.1.5 |  | c) Valve control room walls inside and outside | m² | 140
5.1.6 |  | d) Valve access inside and outside | m² | 200
5.1.7 |  | e) Concrete stairs inside access | m² | 15
5.1.8 |  | f) Curved for gallery access | m² | 20
| 8.2.6 | Box out holes/Form Voids
5.1.9 |  | a) Large, other than circular, Box out for 900 x 600 mm louvre | No | 4
| 8.3 | Scheduled Reinforcement Items
5.2. | 8.3.1 | Steel bars
High tensile steel bars
5.2.1 |  | a) Reinforcement for intake tower base | t | 56
5.2.2 |  | b) Reinforcement for intake tower walls | t | 30
5.2.3 |  | c) Reinforcement for valve room and access | t | 15
5.3. | PSG 8.3.4 | Anchor rods (dowels)
5.3.1 |  | a) Y32 Galvanised Dowels with hooked end, 6 m deep into rock intake tower, vertical | t | 6.5
| 8.4 | Scheduled Concrete Items
5.4. | 8.4.3 | Strength Concrete
5.4.1 |  | a) Mass concrete 20 MPa/19 mm for intake tower base | m³ | 465
5.4.2 |  | b) Reinforced concrete 30 MPa/19 mm for intake tower wall | m³ | 200
5.4.3 |  | c) Reinforced concrete 30 MPa/19 mm for downstream valve room and access | m³ | 100
5.4.4 |  | d) Mass concrete 20 Mpa/19 mm gallery access floor, including stairs | m³ | 80
CARRIED FORWARD
PART 5: INTAKE TOWER, ACCESS GALLERY, INCLUDING PIPEWORK
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
5.5. | 8.4.4 | Unformed Surface Finishes
5.5.1 |  | a) Steel-Floated Finish for intake tower base and roof | m² | 150
5.5.2 |  | b) Steel-Floated Finish for valve control room floor and roof | m² | 175
5.5.3 |  | c) Steel-Floated Finish gallery access floor and roof | m² | 300
5.5.4 |  | d) Steel-Floated Finish for access stairs | m² | 30
5.5.5 |  | e) Steel-Floated Finish for infilling behind gallery access | m² | 45
5.6. | PSG 8.5 | Joints
5.6.1 |  | a) "0-32" Hydrofoil uPVC Centre Bulb waterstop from SIKA or equal approved at intake tower and upstream facing | m | 30
5.7. | PSG 8.6 | Manufacture and Erect Precast Elements
5.7.1 |  | a) Precast valve chamber removable roof slabs | m³ | 2
5.7.2 |  | b) Precast gallery access roof | m³ | 40
5.7.3 |  | c) Precast valve chamber access roof | m³ | 12
5.8. | PSG 8.9 | Building pipes into Concrete Work
5.8.1 |  | a) 600 mm Steel pipe cast into intake tower walls | No | 4
5.8.2 |  | b) 600 mm Steel pipe cast into valve chamber walls | No | 2
| PPS 5.5 | DOWEL BARS
5.9. | PPS 5.5.1 | Set up for drilling and grouting of holes
5.9.1 |  | a) 76mm dia, vertical dowels at intake tower | No | 135
| PPS 5.5.2 | Drilling of dowel holes
5.9.2 |  | a) 76mm dia, vertical dowels at intake tower | m | 810
| PPS 5.5.2 | Anchorage of dowel bars into drilled hole
5.9.3 |  | a) 32mm dia dowels at intake tower, galvanized | m | 810
| 1200 L | MEDIUM-PRESSURE PIPELINES
5.10. | 8.2.1 | Supply, Lay and bed pipes complete with couplings
5.10.1 |  | a) 300 mm dia pipe UPVC pipe, class 9 for gallery drainage | m | 60
CARRIED FORWARD
PART 5: INTAKE TOWER, ACCESS GALLERY, INCLUDING PIPEWORK
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
5.11. | 8.2.5 | Supply and Place Pipes, Valves and Specials (short runs)
Straight pipes - All pipes and specials to be mild steel, flanged and 350W Copon, unless otherwise indicated
5.11.1 |  | a) 600 mm dia pipe, 1.160 m length with puddle flange | No | 3
5.11.2 |  | b) 600 mm dia pipe, 0.825 m length | No | 3
5.11.3 |  | c) 600 mm dia pipe, 3.69 m length | No | 2
5.11.4 |  | d) 600 mm dia pipe, 7.60 m length | No | 1
5.11.5 |  | e) 600 mm dia pipe, 3.11 m length with 2 No puddle flanges | No | 1
5.11.6 |  | f) 600 mm dia pipe, 1.265 m length | No | 1
5.11.7 |  | g) 600 mm dia pipe, 0.775 m length | No | 1
5.11.8 |  | h) 600 mm dia pipe, 9.0 m length | No | 6
5.11.9 |  | i) 600 mm dia pipe, 1.085 m length | No | 1
5.11.10 |  | j) 600 mm dia pipe, 3.29 m length with puddle flange | No | 1
5.11.11 |  | k) 600 mm dia pipe, 3.07 m length with puddle flange | No | 1
5.11.12 |  | l) 600 mm dia pipe, 5.0 m length with puddle flange | No | 1
5.11.13 |  | m) 900 mm dia pipe, 9 m length | No | 4
5.11.14 |  | n) 600 mm dia pipe, 6.0 m length wrapped | No | 1
5.11.15 |  | o) 150 mm dia pipe, 9.0 m length | No | 1
5.12. | 8.2.5 | Valves and specials
5.12.1 |  | 600-150 mm dia stub 200 mm length, welded onto 600 mm dia flange | No | 1
5.12.2 |  | 600 mm dia, 90 degrees sweep tee | No | 4
5.12.3 |  | 600 mm dia Arpol Coupling or similar, stainless steel | No | 8
5.12.4 |  | 600 mm dia Trash racks as indicated on drawings, Stainless steel | No | 4
5.12.5 |  | 600 mm dia Butterfly Valve | No | 6
5.12.6 |  | 600 mm dia Medium radius T junction | No | 1
5.12.7 |  | 900 mm dia Blank flange with 100 mm N11 Machining from flange OD, with 200 mm dia stub pipe, 250 mm long | No | 2
5.12.8 |  | 300mm dia, Swing check valve | No | 1
5.12.9 |  | 600 mm dia blank flange | No | 1
CARRIED FORWARD
PART 5: INTAKE TOWER, ACCESS GALLERY, INCLUDING PIPEWORK
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
| 1200 DB | PIPE TRENCHES
5.13. | 8.3.2 | Excavate in all materials for trenches, backfill, compact and dispose of surplus material
200 mm dia in trench
5.13.1 |  | a) Excavation length not exceeding 1 m in depth | m | 10
5.13.2 |  | b) Excavation length exceeding 1 m, but not 2 m in depth | m | 20
5.13.3 |  | c) Excavation length exceeding 2 m, but not 3 m in depth | m | 5
5.13.4 |  | d) Excavation length exceeding 3 m, but not 4 m in depth | m | 5
5.13.5 |  | e) Excavation length exceeding 4 m, but not 5 m in depth | m | 10
| 1200 LB | BEDDING OF PIPES
5.14. |  | Provision of bedding from trench Excavation
5.14.1 |  | a) Selected Fill material - Bedding Class C for pipe to spillway | m³ | 30
5.14.2 |  | b) Selected Fill material - Bedding Class C for pipe to end sill | m³ | 350
Supply only of Bedding by Importation
| 8.2.2.2 | From borrow pits
5.14.3 |  | a) Selected granular material - Bedding Class C to spillway | m³ | 40
5.14.4 |  | b) Selected granular material - Bedding Class C to end sill | m³ | 50
| 1200 H | STRUCTURAL STEELWORK
5.15. | 8.3.1 | Supply and Fabrication
5.15.1 |  | a) Steel security door, according to drawings | No | 1
5.15.2 |  | b) Steel Louvre windows, according to drawings | No | 4
5.15.3 |  | c) Cast-in 50 x 50 x 4 mm Angles including fish tail anchors for all pipes | t | 2
5.15.4 |  | d) Pipe support strapping at vertical and horizontal pipes according to drawings | t | 2
CARRIED FORWARD
PART 5: INTAKE TOWER, ACCESS GALLERY, INCLUDING PIPEWORK
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
| 8.3.2 | Delivery to site
| 8.3.2.1 | Normal delivery
5.15.6 |  | a) Steel security door, according to drawings | No | 1
5.15.7 |  | b) Steel Louvre windows, according to drawings | No | 4
5.15.8 |  | c) Cast-in 50 x 50 x 4 mm Angles including fish tail anchors for all pipes | t | 2
5.15.9 |  | d) Pipe support strapping at vertical and horisontal pipes according to drawings | t | 2
| 8.3.3 | Erection on site
5.15.10 |  | a) Steel security door, according to drawings | No | 1
5.15.11 |  | b) Steel Louvre windows, according to drawings | No | 4
5.15.12 |  | c) Cast-in 50 x 50 x 4 mm Angles including fish tail anchors for all pipes | t | 2
5.15.13 |  | d) Pipe support strapping at vertical and horisontal pipes according to drawings | t | 2
5.16. | 8.3.7 | Handrails
5.16.1 |  | a) Handrail (three tier), hot dip galvanised mild steel, according to drawings in inlet tower | m | 30
5.16.2 |  | b) Handrail (three tier), hot dip galvanised mild steel, according to drawings in valve chamber | m | 5
5.17. | 8.3.8 | Ladders, Complete and Installed
5.17.1 |  | a) Ladder, galvanized steel, valve house + tower as indicated on drawings | m | 40
5.18. | 8.3.9 | Flooring, Complete and Installed
5.18.1 |  | a) 50 x 5 mm stainless steel grating as per drawings, including beams in intake tower | m² | 60
5.18.2 |  | b) 50 x 5 mm stainless steel grating as per drawings in valve chamber including vertical pillar and beams | m² | 15
5.19. |  | Supply, install test and commission overhead crane
5.19.1 |  | a) 1 ton overhead crane in intake tower, inclusive of installation etc | PS | 1 | 900000 | 900000
5.19.2 |  | b) Overheads, charges and profit on (a) above | %
CARRIED FORWARD TO SUMMARY | [5 empty] | 900000

## 6
PART 6: CONCRETE WORKS - OGEE SPILLWAY AND STILLING BASIN
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
| SANS | CONCRETE (STRUCTURAL)
1200G
| PSG | Scheduled Formwork
6.1. | 8.2.1 | Rough
6.1.1 |  | a) Covered faces of stilling basin sidewall and training walls | m² | 310
6.1.2 |  | b) Covered faces of sill d/s of stilling basin | m² | 75
6.2. | 8.2.2 | Smooth
6.2.1 |  | a) Spillway side walls | m² | 600
6.2.2 |  | b) Exposed faces of stilling basin walls | m² | 500
6.2.3 |  | c) Stilling basin flow dividers | m² | 35
6.2.4 |  | d) Stilling basin splitter | m² | 110
6.2.5 |  | e) Stilling basin end sill | m² | 150
6.2.6 |  | f) Exposed faces of spillway U/S | m² | 120
6.2.7 |  | g) Sloping curved face to spillway ogee | m² | 230
6.2.8 |  | h) Exposed faces of sill d/s of stilling basin | m² | 80
6.3. | PSG 8.2.7 | Special formed construction joints
6.3.1 |  | a) Below stilling basin flow dividers | m² | 30
6.3.2 |  | b) Connection between spillway sidewall and hardfill NOC | m² | 125
| 8.3 | Scheduled Reinforcement Items
| 8.3.1 | Steel bars
6.4. |  | High tensile steel bars
6.4.1 |  | a) Spillway side walls | t | 29
6.4.2 |  | b) Stilling basin walls | t | 53
6.4.3 |  | c) Stilling basin apron and end sill and splitters | t | 85
6.4.4 |  | d) Stilling basin flow dividers | t | 2
6.4.5 |  | e) Spillway Ogee crest | t | 69
6.5 | 8.3.1 | Low tensile steel bars
6.5.1 |  | a) Spillway side walls | t | 0.3
6.6 | PSG 8.3.4 | Anchor rods (dowels)
6.6.1 |  | a) Y16 Galvanised dowels from flow dividers into spillway body | t | 0.25
6.6.2 |  | b) Y32 Galvanised Dowels with hooked end, 4 m deep into rock, vertical at spillway apron and retaining walls | t | 10
6.6.3 |  | c) Y25 Dowels drilled into hardfill from sidewalls | t | 1.5
CARRIED FORWARD
PART 6: CONCRETE WORKS - OGEE SPILLWAY AND STILLING BASIN
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
6.7. | 8.4 | Scheduled Concrete Items
| PSG 8.4.1 | Prescribed Mix Concrete
6.7.1 |  | a) No-fines concrete drain underneath stilling basin | m³ | 100
6.7.2 |  | b) 20 mm thick mortar bed (1:5 Cement Sand) | m² | 640
6.8. | 8.4.3 | Strength Concrete
6.8.1 |  | a) Reinforced concrete for spillway side walls 30 MPa/19 mm | m³ | 240
6.8.2 |  | b) Reinforced concrete for stilling basin walls 30 MPa/19 mm | m³ | 435
6.8.3 |  | c) Reinforced concrete for stilling basin apron including splitters 35 MPa/19 mm | m³ | 565
6.8.4 |  | d) Reinforced concrete for stilling basin dividers Class 35 MPa/19 mm | m³ | 10
6.8.5 |  | e) Reinforced concrete for Ogee crest 30 MPa/19 mm | m³ | 570
6.8.6 |  | f) Mass concrete infill at dowels for stilling basin Class 20 MPa/19 mm | m³ | 20
6.8.7 | 8.4.3(a) | Extra Over Item 4.9.5, 6.8.2, 6.8.3 and 6.8.4 for the replacement of 10% of the cement content with silica fume | m³ | 500
6.9. | 8.4.2 | Unformed surface Finishes
6.9.1 |  | a) Steel-floated finish to top of spillway side walls | m² | 45
6.9.2 |  | b) Steel-floated finish to stilling basin apron and end sill | m² | 550
6.9.3 |  | c) Steel-floated finish to top of stilling basin walls | m² | 150
6.9.4 |  | d) Steel-floated finish to stilling basin flow dividers | m² | 8
6.9.5 |  | e) Steel-floated finish to stilling basin splitters | m² | 6
6.9.6 |  | f) Steel-floated finish to upstream slab of spillway | m² | 85
| PSG 8.5 | Joints
6.10.1 |  | a) Waterbars : 250 mm wide hydrofoil UPVC centre bulb waterstop | m | 150
6.10.2 |  | b) Waterbars : 250 mm wide hydrofoil UPVC rearguard type "S" waterstop | m | 150
6.10.3 |  | c) Shear Keys to details on the drawings | m | 150
6.10.4 |  | d) M10 Chemical anchors | No | 40
CARRIED FORWARD
PART 6: CONCRETE WORKS - OGEE SPILLWAY AND STILLING BASIN
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
6.11 | PSG 8.9 | Building pipes into concrete work
6.11.1 |  | a) 600 mm dia steel pipe cast into stilling basin wall | No | 1
6.11.2 |  | b) 150 mm dia steel pipe cast into stilling basin wall | No | 2
6.11.3 |  | c) 76 mm dia PVC weephole pipes cast into stilling basin wall | No | 10
6.11.4 |  | d) 100 mm dia PVC drainage pipes cast into stilling basin wall | No | 30
| PPS 5.5 | DOWEL BARS
6.12 | PPS 5.5.1 | Set up for drilling and grouting of holes
6.12.1 |  | a) 50 mm dia, vertical dowels at flow divider and hardfill dam | No | 50
6.12.2 |  | b) 50 mm dia, 10 deg dowels at flow divider and hardfill dam | No | 50
6.12.3 |  | c) 76 mm dia, vertical below stilling basin | No | 128
6.12.4 |  | d) 50 mm dia, 10 deg, between spillway side wall and hardfill | No | 60
6.12.5 |  | e) 50 mm dia, vertical, between spillway side wall and hardfill | No | 10
6.12.6 |  | f) 76 mm dia, vertical retaining walls | No | 48
6.13 | PPS 5.5.2 | Drilling of dowel holes
6.13.1 |  | a) 50 mm dia, vertical dowels at flow divider and hardfill dam | m | 50
6.13.2 |  | b) 50 mm dia, 10 deg dowels at flow divider and hardfill dam | m | 50
6.13.3 |  | c) 76 mm dia, vertical below stilling basin | m | 520
6.13.4 |  | d) 50 mm dia, 10 deg, between spillway side wall and hardfill | m | 200
6.13.5 |  | e) 50 mm dia, vertical, between spillway side wall and hardfill | m | 180
6.13.6 |  | f) 76 mm dia, vertical retaining walls | m | 195
CARRIED FORWARD
PART 6: CONCRETE WORKS - OGEE SPILLWAY AND STILLING BASIN
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
6.14. | PPS 5.5.3 | Anchorage of dowel bars into drilled holes
6.14.1 |  | a) 50 mm dia, vertical dowels at flow divider and hardfill dam | m | 50
6.14.2 |  | b) 50 mm dia, 10 deg dowels at flow divider and hardfill dam | m | 50
6.14.3 |  | c) 50 mm dia, vertical below stilling basin | m | 520
6.14.4 |  | d) 50 mm dia, vertical at sill downstream of stilling basin | m | 200
6.14.5 |  | e) 50 mm dia, 10 deg, between spillway side wall and hardfill | m | 180
6.14.6 |  | f) 50 mm dia, vertical, between spillway side wall and hardfill | m | 195
| 1200 LD | SEWERS PIPEWORK
PSLD
6.15. | 8.2.1 | Supply, lay joint, bed and test pipeline
6.15.1 |  | a) 150 mm dia half round PVC Class 9 pipes under stilling basin | m | 235
6.15.2 |  | b) 150 mm dia PVC Class 9 drain pipe in end sill | m | 20
6.15.3 |  | c) 1200 mm dia HDPE pipes for sleeves at dowels | m | 20
| 8.2.2 | Extra over for specials
6.15.4 |  | a) End sill drain pipe caps (HDPE) | No | 7
| 1200 D | EARTHWORKS
6.16. |  | Extra over for backfill or fill material against structures
6.16.1 |  | a) Filter sand for draining behind spillway retaining walls | m³ | 75
| 1200 DK | GABIONS AND PITCHING
PSDK
6.17. | 8.2.4 | Geotextile
6.17.1 |  | a) Non woven NW6 geotextile behind weepholes at stilling basin walls | m² | 5
CARRIED FORWARD TO SUMMARY

## 7
PART 7: RUBBLE MASONRY CONCRETE SPILLWAY SILL
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
| SANS | SITE CLEARANCE
1200 C
7.1. | 8.2.1 | Clear and grub
7.1.1 |  | a) Spillway Sill area | ha | 0.1
7.1.2 | 8.2.3 | Remove and grub all trees and tree stumps irrespective of girth | ha | 0.1
7.1.3 | 8.2.10 | Remove topsoil to a nominal depth of 150 mm and stockpile | m³ | 100
| 1200 D | EARTHWORKS
PSD
7.2. | 8.3.2 | Bulk Excavation
7.2.1 |  | a) Excavate in all materials for construction of end sill | m³ | 1400
b) Extra-over for:
7.2.2 |  | 1) Hard-rock excavation | m³ | 50
7.3. |  | Extra over for backfill or fill material against structures
7.3.1 |  | a) Random backfill on upstream of spillway sill | m³ | 850
7.3.2 |  | b) Random backfill on downstream of spillway sill | m³ | 400
| PPS 7 | RUBBLE MASONRY CONCRETE
7.4. | PPS7.9.2.1 | Foundation Preparation
7.4.1 |  | a) Preparation of competent rock foundation surface | m² | 120
7.4.2 |  | b) Preparation of fill or ground surface | m² | 20
| PPS7.9.2.2 | Mortar Blinding
7.4.3 |  | a) 175 mm deep 1 + 3 Cement + Sand receiving layer | m² | 20
| PPS7.9.2.3 | Rubble Masonry Concrete
7.4.4 |  | a) 1 part Cement to approximately 6 part Sand (9 Mpa) | m³ | 200
b) Area of Structure to be flush/recess pointed
7.4.5 |  | i) Upstream face of spillway sill | m² | 100
7.4.6 |  | ii) Downstream face of spillway sill | m² | 115
7.4.7 |  | iii) Crest of spillway sill | m² | 40
7.4.8 |  | iii) Inside of drainage openings | m² | 25
CARRIED FORWARD
PART 7: RUBBLE MASONRY CONCRETE SPILLWAY SILL
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
BROUGHT FORWARD
| SANS | CONCRETE
1200 G
7.5. | PSG 8.4.1 | Prescribed Mix Concrete
7.5.1 |  | No-fines concrete drain blocks | m³ | 0.3
| 8.6 | Manufacture (or supply) and erect precast elements
7.5.2 |  | Concrete Lintels, 1.2 m long 110 x 75 mm | No | 96
| 8.3 | Scheduled Reinforcement Items
7.6. | 8.3.4 | Anchor rods (dowels)
7.6.1 |  | 25 mm dia galvanized dowels at spillway sill | t | 1.2
| PPS 5.5 | DOWEL BARS
| PPS 5.5.1 | Set up for drilling and grouting of holes
7.6.2 |  | 62 mm dia, vertical dowels at spillway sill | No | 50
| PPS 5.5.2 | Drilling of dowel holes
7.6.3 |  | 62 mm dia, vertical dowels at spillway sill | m | 200
| PPS 5.5.3 | Anchorage of dowel bars into drilled holes
7.6.4 |  | 25 mm dia, vertical dowels at spillway sill | m | 200
| 1200 LD | SEWERS PIPEWORK
PSLD
7.7. | 8.2.1 | Supply, lay joint, bed and test pipeline
7.7.1 |  | 250 mm UPVC Class 9 | m | 5
CARRIED FORWARD TO SUMMARY

## 8
PART 8: INSTRUMENTATION
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
| PPS29 | DAM MONITORING INSTRUMENTATION
8.1. | 29.9.1 | Survey Prism Targets, Survey Monuments and Fixed points
8.1.1 |  | a) Survey Prism Targets | No | 4
8.1.2 |  | b) Survey Monuments | No | 2
8.2.1 | 29.9.2 | Geodetic Survey Instruments | No | 1
8.3.1 | 29.9.3 | Electrical Piezometers | No | 10
8.4. | 29.9.4 | Direct Temperature Measurement Instruments
8.4.1 |  | a) Thermocouples | No | 22
8.5.1 | 29.9.5 | Strain gauges | No | 24
8.6. | 29.6.6 | Supply and installation of instrument cabling
8.6.1 |  | a) Cabling from piezometers to read out unit | m | 1000
8.6.2 |  | b) Cabling from strain gauges to read out unit | m | 1700
8.6.3 |  | c) Cabling from thermocouples to read out unit | m | 1700
8.7.1 | 29.9.7 | Flow Measuring Weirs | No | 3
8.8.1 | 29.9.8 | Water Level Staff Gauges | No | 1
8.9.1 | 29.9.10 | Automated Data Acquisition System | Sum | 1
8.10.1 | 29.9.11 | Instruments Reading during construction | Sum | 1
8.11.1 | 29.9.12 | Supervision of installation of instrumentation and equipment and testing | Sum | 1
8.12.1 | 29.9.13 | Operation and Maintenance training | Sum | 1
CARRIED FORWARD TO SUMMARY

## 9
PART 9: DAYWORKS
ITEM | PAYMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
NO | REFERS
9.1. | PPS 8 | DAYWORKS
9.1.1 | PPS 8.4.2.1 | Provide for gross remuneration of all labour authorised by the Engineer to be employed on dayworks | PS | 1 | 300000 | 300000
9.1.2 | PPS 8.4.2.2 | Provide for the Contractor's allowance over and above item 9.1.1 to cover all costs incurred in providing labour for dayworks | %
9.1.3 | PPS 8.4.2.3 | Provide for the cost of the Contractor's plant authorised by the Engineer to be employed on dayworks. Such costs to be paid at hire rates, as quoted in the Tender Forms | PS | 1 | 300000 | 300000
9.1.4 | PPS 8.4.2.4 | Provide for the Contractor's allowance over and above item 9.1.3 to cover all costs incurred in providing plant for dayworks | %
9.1.5 | PPS 8.4.2.5 | Provide for the cost of materials at rates quoted approved by the Engineer, if no rate is supplied) for supplying on site materials authorised by the Engineer for use on dayworks | PS | 1 | 500000 | 500000
9.1.6 | PPS 8.4.2.6 | Provide for the Contractor's allowance over and above item 9.1.5 to cover all costs incurred in supplying material for dayworks | %
CARRIED FORWARD TO SUMMARY | [5 empty] | 1100000

## Summary
CONSTRUCTION OF NTSONYINI NGQONGWENI OFF-CHANNEL STORAGE DAM – CONTRACT 2
SUMMARY OF SCHEDULE
PART 1: PRELIMINARY AND GENERAL |  | 18743500
PART 2: SITE CLEARING, EXCAVATION AND EARTHWORKS
PART 3: FOUNDATION DRILLING AND GROUTING |  | 250000
PART 4: HARDFILL DAM WITH CONCRETE UPSTREAM FACING |  | 1500000
PART 5: INTAKE TOWER, ACCESS GALLERY, INCLUDING PIPEWORK |  | 900000
PART 6: CONCRETE WORKS - OGEE SPILLWAY AND STILLING BASIN
PART 7: RUBBLE MASONRY CONCRETE SPILLWAY SILL
PART 8: INSTRUMENTATION
PART 9: DAYWORKS |  | 1100000
SUB TOTAL 1 |  | 22493500
Add 10% for Escalation |  | 2249350
SUB TOTAL 2 |  | 24742850
Add 5% for Contingencies |  | 1237142.5
SUB TOTAL 3 |  | 25979992.5
Contract Skills Development Goal (CSDG) @ 0.25% of SUB TOTAL 3 |  | 64949.98
SUB TOTAL 4 |  | 26044942.48
ADD 15% V.A.T. of SUB TOTAL 4 |  | 3896998.875
GRAND TOTAL CARRIED FORWARD |  | 29941941.355
| Total as per PSA 8.2.5 |  | % of Sub-Total 1
SANS 1200A Items 8.3: Fixed Charge and Value Related Items | 0 |  | 0%
SANS 1200A Items 8.4: Time Related Items | 0 |  | 0%